## Sheet1
Production Site | Detector Name | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err | Avg Pressure | P/P0 | Avg Temperature | T/T0 | T/P | Gain | Corrected Current | Corrected Gain | Abs Current | Avg Pressure | Gain | Gain corr pressure | Gain corr temp | Gain press corr 2 | P^2 | Gain Psq corr
|  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.) | (mBar) |  | (K) | (K) |  | (A.U.) | (A) |  | (A) | (mBar) | (A.U.) | (exponential fit) |  |  | (bar^2)
PAKISTAN | GE11-X-S-PAKISTAN-0001 | 660 |  |  | 1408.45 | 4.8553 | -5.0379e-10 | 3.2686e-12 | 6264.9131 | 69.7388 | [5 empty] | 6264.9131 |  |  | 5.0379e-10 |  | 6264.9131
PAKISTAN | GE11-X-S-PAKISTAN-0002 | 660 | 0 | 3049.2 | 1442.85 | 4.9154 | -6.2649e-10 | 3.8917e-12 | 7139.6113 | 78.0242 | 946 | 0.98092 | 295.45 | 0.99445 | 0.31232 | 7139.6113 | -6.3513e-10 | 7951.464 | 6.2649e-10 | 946 | 7139.6113 | 607.2229 |  | 5.8457e+35 | 894916 | 5.8457e+35
FRASCATI | GE11-X-S-FRASCATI-0001 | 660 | 0 | 0 | 1165.3333 | 4.4202 | -5.884e-10 | 4.2841e-12 | 8044.113 | 93.8025 | 947 | 0.98196 | 295.75 | 0.99546 | 0.3123 | 8044.113 | -5.9648e-10 | 9245.9837 | 5.884e-10 | 947 | 8044.113 | 684.1359 | 6.592e+35 | 6.5864e+35 | 896809
FRASCATI | GE11-X-S-FRASCATI-0002 | 660 | 3234 | 3102 | 1.6 | 0.28284 | 3.9595e-11 | 3.2025e-12 | 564.5956 | 46.0481 | 1005.3945 | 1.0425 | 301.0981 | 1.0135 | 0.29948 | 564.5956 | 3.8491e-11 | 434555.5888 | 3.9595e-11 | 1005.3945 | 564.5956 | 47.961 | 4.6182e+34 | 4.6275e+34 | 1010818.1189
CERN | GE11-X-S-CERN-0001 | 660 | 3047 | 3104.585 | 1173.15 | 4.429 | -2.0061e-10 | 1.7518e-11 | 2574.0271 | 225.9843 | [5 empty] | 2574.0271 |  |  | 2.0061e-10 |  | 2574.0271 |  | 0
CERN | GE11-X-S-CERN-0002 | 660 | 3679.8 | 3074.28 | 1707.7667 | 5.346 | -8.6251e-10 | 6.9513e-11 | 7782.3431 | 630.9916 | 968 | 1.0037 | 295.25 | 0.99377 | 0.30501 | 7782.3431 | -8.5395e-10 | 9032.4931 | 8.6251e-10 | 968 | 7782.3431 | 661.5805 | 6.3751e+35 | 6.3745e+35 | 937024
CERN | GE11-X-S-CERN-0003 | 660 | 3465.8 | 3053.16 | 3149.5 | 7.2484 | -8.6127e-10 | 3.6011e-12 | 4504.6267 | 43.3408 | 970 | 1.0058 | 295.1437 | 0.99342 | 0.30427 | 4504.6267 | -8.5066e-10 | 4878.875 | 8.6127e-10 | 970 | 4504.6267 | 382.9246 | 3.69e+35 | 3.6898e+35 | 940900
CERN | GE11-X-S-CERN-0004 | 660 | 3492 | 2933.7 | 2960.0333 | 7.0268 | -1.1765e-09 | 6.8552e-11 | 6522.6852 | 384.2677 | 970.625 | 1.0065 | 295.725 | 0.99537 | 0.30467 | 6522.6852 | -1.1635e-09 | 7100.3705 | 1.1765e-09 | 970.625 | 6522.6852 | 554.4666 | 5.3426e+35 | 5.3429e+35 | 942112.8906
CERN | GE11-X-S-CERN-0005 | 660 | 3487.6 | 3061.08 | 3215.9 | 7.3247 | -1.891e-09 | 7.4771e-12 | 10179.9248 | 97.0395 | 969 | 1.0048 | 295.45 | 0.99445 | 0.3049 | 10179.9248 | -1.8716e-09 | 10512.8173 | 1.891e-09 | 969 | 10179.9248 | 865.3822 | 8.3387e+35 | 8.3385e+35 | 938961
CERN | GE11-X-S-CERN-0006 | 660 | 0 | 3049.2 | 1532.6667 | 5.0589 | -4.9031e-10 | 2.9111e-12 | 5260.425 | 56.525 | 977 | 1.0131 | 295.65 | 0.99512 | 0.30261 | 5260.425 | -4.8163e-10 | 5676.3296 | 4.9031e-10 | 977 | 5260.425 | 447.109 | 4.3082e+35 | 4.3095e+35 | 954529
CERN | GE11-X-S-CERN-0030 | 660 | 3678.4 | 3055.8 | 1369.15 | 4.79 | -3.8241e-10 | 3.4382e-11 | 4149.5871 | 374.9405 | 964 | 0.99959 | 295.45 | 0.99445 | 0.30648 | 4149.5871 | -3.8044e-10 | 5019.2787 | 3.8241e-10 | 964 | 4149.5871 | 352.7875 | 3.3994e+35 | 3.3987e+35 | 929296
BARI | GE11-X-S-BARI-0001 | 660 | 3050 | 3300 | 1276.45 | 4.6214 | -1.9607e-10 | 1.7627e-11 | 2343.8159 | 211.7724 | 1017.5333 | 1.0551 | 296.2944 | 0.99729 | 0.29119 | 2343.8159 | -1.8533e-10 | 2622.6674 | 1.9607e-10 | 1017.5333 | 2343.8159 | 199.0557 | 1.9179e+35 | 1.9214e+35 | 1035374.0844
BARI | GE11-X-S-BARI-0002 | 660 | 3047.8 | 3300.5 | 1412.3833 | 4.8582 | -2.7495e-10 | 1.8336e-12 | 3092.4934 | 34.5995 | 1008.5 | 1.0457 | 295.1125 | 0.99331 | 0.29263 | 3092.4934 | -2.6117e-10 | 3340.2107 | 2.7495e-10 | 1008.5 | 3092.4934 | 262.684 | 2.5313e+35 | 2.5348e+35 | 1017072.25
BARI | GE11-X-S-BARI-0003 | 660 | 3046 | 3302.25 | 1157.8 | 4.3987 | -2.1058e-10 | 1.4344e-12 | 2843.6012 | 32.3231 | 1012.2714 | 1.0496 | 294.6929 | 0.9919 | 0.29112 | 2843.6012 | -1.99e-10 | 3104.6791 | 2.1058e-10 | 1012.2714 | 2843.6012 | 241.5253 | 2.3275e+35 | 2.3309e+35 | 1024693.4451
BARI | GE11-X-S-BARI-0004 | 660 | 3048 | 3300.75 | 1410.4833 | 4.8542 | -2.8317e-10 | 1.7515e-12 | 3138.9026 | 34.2144 | 1006.4714 | 1.0436 | 294.5786 | 0.99151 | 0.29268 | 3138.9026 | -2.6903e-10 | 3445.4107 | 2.8317e-10 | 1006.4714 | 3138.9026 | 266.6364 | 2.5696e+35 | 2.5727e+35 | 1012984.7365
BARI | GE11-X-S-BARI-0005 | 660 | 3044.8 | 3300 | 1092.65 | 4.287 | -3.669e-10 | 2.71e-12 | 5534.8428 | 65.2365 | 991.1875 | 1.0278 | 296.0375 | 0.99642 | 0.29867 | 5534.8428 | -3.5571e-10 | 5880.5667 | 3.669e-10 | 991.1875 | 5534.8428 | 470.3002 | 4.5314e+35 | 4.5354e+35 | 982452.6602
BARI | GE11-X-S-BARI-0006 | 660 | 3046 | 3056.263 | 1437.55 | 4.9034 | -2.4668e-10 | 1.3639e-12 | 2564.2507 | 26.9557 | 1013.6667 | 1.0511 | 295.63 | 0.99505 | 0.29164 | 2564.2507 | -2.3353e-10 | 2934.3826 | 2.4668e-10 | 1013.6667 | 2564.2507 | 217.7925 | 2.0986e+35 | 2.102e+35 | 1027520.1111
BARI | GE11-X-S-BARI-0007 | 660 | 3050 | 3102 | 1609.4 | 5.1936 | -4.0238e-10 | 2.5761e-12 | 4026.472 | 44.2083 | 996.4867 | 1.0333 | 297.1567 | 1.0002 | 0.2982 | 4026.472 | -3.895e-10 | 4371.6299 | 4.0238e-10 | 996.4867 | 4026.472 | 342.0973 | 3.2957e+35 | 3.2997e+35 | 992985.6768
BARI | GE11-X-S-BARI-0008 | 660 | 3048 | 3102 | 1507.75 | 5.0185 | -2.4001e-10 | 2.1672e-11 | 2348.0868 | 213.0594 | 1013.6154 | 1.051 | 294.7167 | 0.99198 | 0.29076 | 2348.0868 | -2.2652e-10 | 2713.827 | 2.4001e-10 | 1013.6154 | 2348.0868 | 199.433 | 1.9219e+35 | 1.9248e+35 | 1027416.1479
BARI | GE11-X-S-BARI-0009 | 660 | 3028 | 3102 | 896.1 | 3.8708 | -1.6106e-10 | 1.4081e-11 | 2186.2519 | 192.1787 | 1003 | 1.04 | 295.3583 | 0.99414 | 0.29447 | 2186.2519 | -1.5395e-10 | 3103.3476 | 1.6106e-10 | 1003 | 2186.2519 | 185.7251 | 1.7896e+35 | 1.7918e+35 | 1006009
BARI | GE11-X-S-BARI-0010 | 660 | 3011 | 3102 | 882.9 | 3.8432 | -1.5302e-10 | 1.5385e-11 | 1712.2661 | 172.8365 | 1005.7143 | 1.0428 | 296.5143 | 0.99803 | 0.29483 | 1712.2661 | -1.4645e-10 | 2996.1889 | 1.5302e-10 | 1005.7143 | 1712.2661 | 145.4518 | 1.4014e+35 | 1.4034e+35 | 1011461.2245
BARI | GE11-X-S-BARI-0011 | 660 | 3045 | 3102 | 1290.25 | 4.66 | -2.5218e-10 | 2.137e-11 | 3017.5129 | 257.1544 | 1009.8462 | 1.0471 | 295.7192 | 0.99535 | 0.29284 | 3017.5129 | -2.3971e-10 | 3355.9203 | 2.5218e-10 | 1009.8462 | 3017.5129 | 256.3084 | 2.4697e+35 | 2.4734e+35 | 1019789.2544
BARI | GE11-X-S-BARI-0012 | 660 | 3047 | 3104.585 | 1173.15 | 4.429 | -2.0061e-10 | 1.7518e-11 | 2574.0271 | 225.9843 | 1011 | 1.0483 | 296.2062 | 0.99699 | 0.29298 | 2574.0271 | -1.9079e-10 | -2937.6529 | 2.0061e-10 | 1011 | 2574.0271 | 218.6338 | 2.1065e+35 | 2.1099e+35 | 1022121
BARI | GE11-X-S-BARI-0013 | 660 | 3025 | 3075.6 | 1019.5833 | 4.1323 | -1.9689e-10 | 6.6414e-11 | 3425.9163 | 971.4577 | 1003.5625 | 1.0406 | 296.35 | 0.99748 | 0.2953 | 3425.9163 | -1.8873e-10 | -3343.648 | 1.9689e-10 | 1003.5625 | 3425.9163 | 291.0331 | 2.804e+35 | 2.8079e+35 | 1007137.6914
[18 empty] | S.No. | G_Norm
1
[18 empty] | 2 | -9.0261e-05
[18 empty] | 3 | -0.00010159
[18 empty] | 4 | -6.7157e-06
[18 empty] | 5 | 0.028513
[18 empty] | 6 | -9.6148e-05
[18 empty] | 7 | -5.5538e-05
[18 empty] | 8 | -8.0367e-05
[18 empty] | 9 | -0.00012564
[18 empty] | 10 | -6.4392e-05 |  | 0 | 1
[18 empty] | 11 | -5.148e-05 |  | 30 | 1
[18 empty] | 12 | -2.7546e-05
[18 empty] | 13 | -3.6671e-05
[18 empty] | 14 | -3.3594e-05
[18 empty] | 15 | -3.7296e-05
[18 empty] | 16 | -6.678e-05
[18 empty] | 17 | -3.0252e-05
[18 empty] | 18 | -4.8322e-05
[18 empty] | 19 | -2.7703e-05
[18 empty] | 20 | -2.6067e-05
[18 empty] | 21 | -2.036e-05
[18 empty] | 22 | -3.5734e-05
[18 empty] | 23 | -3.0447e-05
[18 empty] | 24 | -4.0825e-05

## Sheet2
1 | 7139.6113 | 7951.464
2 | 8044.113 | 9245.9837
3 | 564.5956 | 434555.5888
4 | 2574.0271
5 | 7782.3431 | 9032.4931
6 | 4504.6267 | 4878.875
7 | 6522.6852 | 7100.3705
8 | 10179.9248 | 10512.8173
9 | 5260.425 | 5676.3296
10 | 4149.5871 | 5019.2787
11 | 2343.8159 | 2622.6674
12 | 3092.4934 | 3340.2107
13 | 2843.6012 | 3104.6791
14 | 3138.9026 | 3445.4107
15 | 5534.8428 | 5880.5667
16 | 2564.2507 | 2934.3826
17 | 4026.472 | 4371.6299
18 | 2348.0868 | 2713.827
19 | 2186.2519 | 3103.3476
20 | 1712.2661 | 2996.1889
21 | 3017.5129 | 3355.9203