## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range |  | 700 |  | 961 | 22.3 | 872 | 29.5296 | 92602 | 304.3058 | -8.0331e-12 | 5.2308e-13 | -1.9705e-09 | 1.3019e-11
Fine Gain: | 4 |  |  |  |  | 690 |  |  |  | 525 | 22.9129 | 88193 | 296.9731 | -1.8622e-12 | 3.983e-13 | -1.3919e-09 | 9.5257e-12
Diff Time (ns): | 500 |  |  |  |  | 680 |  |  |  | 322 | 17.9444 | 83385 | 288.7646 | -1.1323e-12 | 3.9863e-13 | -9.3147e-10 | 5.9937e-12
Int Time (ns): | 500 |  |  |  |  | 670 |  |  |  | 274 | 16.5529 | 80551 | 283.8151 | -6.6052e-12 | 2.989e-13 | -6.4897e-10 | 4.2283e-12
Detector Settings | [5 empty] | 660 |  |  |  | 227 | 15.0665 | 77584 | 278.539 | -5.3535e-12 | 3.2245e-13 | -4.5092e-10 | 2.9936e-12
[6 empty] | 650 |  |  |  | 173 | 13.1529 | 75624 | 274.9982 | -4.7953e-12 | 2.9145e-13 | -3.1031e-10 | 2.0725e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  |  | 640 |  |  |  | 144 | 12 | 73695 | 271.4682 | -2.4852e-12 | 2.784e-13 | -2.1535e-10 | 1.447e-12
Position (ieta,iphi): | Enter Value |  |  |  |  | 630 |  |  |  | 96 | 9.798 | 71732 | 267.8283 | -1.429e-12 | 2.5634e-13 | -1.4942e-10 | 1.0551e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  |  | 620 |  |  |  | 87 | 9.3274 | 68882 | 262.4538 | -8.2537e-13 | 2.5314e-13 | -1.0255e-10 | 7.0511e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  |  | 610 |  |  |  | 75 | 8.6603 | 62412 | 249.8239 | -3.206e-13 | 2.4507e-13 | -7.2168e-11 | 5.6825e-13
Flow Rate (L/hr): | 5 |  |  |  |  | 600 |  |  |  | 49 | 7 | 49068 | 221.513 | 2.2965e-13 | 2.6942e-13 | -5.0362e-11 | 4.2099e-13
HV Circuit R_Equiv (MOhm): | [5 empty] | 590 |  |  |  | 28 | 5.2915 | 30396 | 174.3445 | 5.7867e-13 | 2.6538e-13 | -3.545e-11 | 3.2688e-13
Total HV Divider R (MOhm): | [5 empty] | 580 |  |  |  | 16 | 4 | 20913 | 144.6133 | 1.4688e-12 | 2.6195e-13 | -2.3688e-11 | 2.8438e-13
R_Drift (MOhm): | [5 empty] | 570 |  |  |  | 17 | 4.1231 | 8535 | 92.3851 | 1.2608e-12 | 2.475e-13 | -1.698e-11 | 2.8033e-13
R_GEM1 (MOhm): | [5 empty] | 560 |  |  |  | 3 | 1.7321 | 1326 | 36.4143 | 1.5518e-12 | 2.3741e-13 | -1.1663e-11 | 2.8267e-13
R_Transfer1 (MOhm): | [5 empty] | 550 |  |  |  | 4 | 2 | 14 | 3.7417 | 2.0259e-12 | 2.2306e-13 | -7.8717e-12 | 2.3224e-13
R_GEM2 (MOhm):
R_Transfer2 (MOhm): | [5 empty] | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): |  |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): |  |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 0 | 0 | 1528.8333 | 5.0956 | -1.9625e-09 | 1.303e-11 | 23158.4419 | 259.3754
Width (ns): | 400 |  |  | 690 | 0 | 0 | 1461.1333 | 4.9643 | -1.3901e-09 | 9.534e-12 | 16403.3316 | 185.8728
Picoammeter Settings |  |  |  | 680 | 0 | 0 | 1384.3833 | 4.822 | -9.3034e-10 | 6.0069e-12 | 10978.4752 | 121.7806
|  |  |  | 670 | 0 | 0 | 1337.95 | 4.7383 | -6.4236e-10 | 4.2389e-12 | 7580.2129 | 84.7165
Make & Model: | kiethley 6487 |  |  | 660 | 0 | 0 | 1289.2833 | 4.6491 | -4.4556e-10 | 3.0109e-12 | 5257.8715 | 59.2582
Triax Red: | signal |  |  | 650 | 0 | 0 | 1257.5167 | 4.5885 | -3.0551e-10 | 2.0929e-12 | 3605.2121 | 40.834
Triax Black: | shielding |  |  | 640 | 0 | 0 | 1225.85 | 4.5289 | -2.1287e-10 | 1.4735e-12 | 2511.9312 | 28.5606
Triax Green: | gnd |  |  | 630 | 0 | 0 | 1193.9333 | 4.4668 | -1.4799e-10 | 1.0858e-12 | 1746.4079 | 20.3058
Scalar Settings |  |  |  | 620 | 0 | 0 | 1146.5833 | 4.377 | -1.0172e-10 | 7.4917e-13 | 1200.3645 | 13.978
|  |  |  | 610 | 0 | 0 | 1038.95 | 4.1662 | -7.1848e-11 | 6.1885e-13 | 847.8417 | 10.5742
|  |  |  | 600 | 0 | 0 | 816.9833 | 3.6937 | -5.0592e-11 | 4.9982e-13 | 597.0094 | 7.9866
Make & Model: | CAEN N1145 |  |  | 590 | 0 | 0 | 506.1333 | 2.9071 | -3.6028e-11 | 4.2104e-13 | 425.1551 | 6.2763
Acquisition Time (s): | 60 |  |  | 580 | 0 | 0 | 348.2833 | 2.4111 | -2.5157e-11 | 3.8664e-13 | 296.8613 | 5.2903
Source Settings |  |  |  | 570 | 0 | 0 | 141.9667 | 1.5413 | -1.8241e-11 | 3.7396e-13 | 215.254 | 4.8211
|  |  |  | 560 | 0 | 0 | 22.05 | 0.60759 | -1.3215e-11 | 3.6914e-13 | 155.9434 | 4.5776
Source: | Ag X-Ray |  |  | 550 | 0 | 0 | 0.16667 | 0.070711 | -9.8976e-12 | 3.2201e-13 | 116.7966 | 3.9432
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,23158.4419050341,259.375423421481
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,16403.3315659041,185.872822174248
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 961 | [5 empty] | 680,10978.4752088057,121.780633021543
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,7580.21291651328,84.7165392215599
|  |  |  | Expo_fit_1_param_1 | 3.1687e-07 | [5 empty] | 660,5257.87151547998,59.2582419185342
|  |  |  | Expo_fit_1_param_2 | 0.035663 | [5 empty] | 650,3605.2120679849,40.8340043031682
640,2511.93118672432,28.5605968285266
630,1746.40793762705,20.3057503644797
620,1200.36447315222,13.9779781929528
610,847.841691647134,10.5741674018923
600,597.009443171259,7.98661935773719
590,425.15508396269,6.27633578034018
580,296.861310695909,5.29026432657364
570,215.253962961884,4.82111168282883
560,155.943418539645,4.57755708161348
550,116.796570355308,3.94322053066173

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On