## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3901.2 | 700 | 10:20 | 967 | 22.3 | 586 | 24.2074 | 182827 | 427.5827 | -3.5368e-12 | 1.8528e-12 | -4.0594e-09 | 2.9865e-11
Fine Gain: | Enter value |  |  |  | 3846.4 | 690 |  | 967 | 22.3 | 482 | 21.9545 | 90776 | 301.2906 | 4.1348e-12 | 1.4889e-12 | -2.5357e-09 | 1.9151e-11
Diff Time (ns): | Enter value |  |  |  | 3791.4 | 680 |  | 967 | 22.3 | 452 | 21.2603 | 70538 | 265.5899 | -9.868e-13 | 1.2478e-12 | -1.677e-09 | 1.294e-11
Int Time (ns): | Enter value |  |  |  | 3735.6 | 670 |  | 967 | 22.3 | 407 | 20.1742 | 65489 | 255.9082 | 2.7262e-12 | 2.291e-12 | -1.0944e-09 | 9.5525e-12
Detector Settings |  |  |  |  | 3679.6 | 660 |  | 967 | 22.3 | 352 | 18.7617 | 61973 | 248.9438 | 3.314e-12 | 1.1382e-12 | -7.4736e-10 | 6.2356e-12
[5 empty] | 3624.6 | 650 |  | 967 | 22.3 | 347 | 18.6279 | 58797 | 242.4809 | 5.4206e-12 | 1.1066e-12 | -5.1485e-10 | 4.1677e-12
Serial Number: | Enter value |  |  |  | 3568.4 | 640 |  | 967 | 22.3 | 324 | 18 | 57922 | 240.6699 | 4.0427e-12 | 1.2211e-12 | -3.431e-10 | 2.7137e-12
Position (ieta,iphi): | Enter value |  |  |  | 3511.6 | 630 |  | 967 | 22.3 | 253 | 15.906 | 56223 | 237.1139 | 4.6919e-12 | 1.2153e-12 | -2.3528e-10 | 2.139e-12
Gas (X/Y/Z): | Enter value |  |  |  | 3458.8 | 620 |  | 966 | 22.3 | 215 | 14.6629 | 54986 | 234.4909 | 4.0507e-12 | 1.2667e-12 | -1.6456e-10 | 1.6369e-12
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3402.8 | 610 |  | 967 | 22.3 | 191 | 13.8203 | 53119 | 230.4756 | 3.9711e-12 | 1.1854e-12 | -1.1611e-10 | 1.6733e-12
Flow Rate (L/hr): | Enter value |  |  |  | 3345.8 | 600 |  | 697 | 22.3 | 137 | 11.7047 | 51068 | 225.9823 | 5.233e-12 | 1.1511e-12 | -7.8126e-11 | 1.2682e-12
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3291.8 | 590 |  | 966 | 22.3 | 124 | 11.1355 | 46769 | 216.2614 | 2.6432e-12 | 1.0911e-12 | -5.3334e-11 | 1.1507e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 3233.6 | 580 |  | 966 | 22.3 | 97 | 9.8489 | 39452 | 198.6253 | 2.9615e-12 | 1.7908e-12 | -3.6197e-11 | 9.5924e-13
R_Drift (MOhm): | Enter value |  |  |  | 3179.8 | 570 |  | 966 | 22.3 | 83 | 9.1104 | 23570 | 153.5252 | 2.8945e-12 | 9.364e-13 | -2.3259e-11 | 9.7373e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3123.8 | 560 |  | 966 | 22.3 | 78 | 8.8318 | 16294 | 127.648 | 4.3417e-12 | 9.0992e-13 | -1.6091e-11 | 1.0116e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 3068 | 550 |  | 966 | 22.3 | 69 | 8.3066 | 6358 | 79.7371 | 4.2098e-12 | 9.2431e-13 | -9.0165e-12 | 9.8486e-13
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Width (ns): | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Picoammeter Settings |  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Make & Model: | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Triax Red: | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Triax Black: | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Triax Green: | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Scalar Settings |  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Make & Model: | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Acquisition Time (s): | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Source Settings |  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
Source: | Enter value |  |  | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | #REF! |  | P0 | 964.4 |  |  | #REF!
Filter Status: | Enter value |  |  | Err temperature (C) | #REF! |  | T0 | 297.1 |  |  | #REF!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | #REF! | [5 empty] | #REF!
|  |  |  | Err pressure (mbar) | #REF! | [5 empty] | #REF!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #REF!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On