## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3902.8 | 700 | 10:00 | 971 | 21.9 | 621 | 24.9199 | 338596 | 581.89 | -8.05e-14 | 7.3341e-12 | -9.55e-09 | 5.35e-10
Fine Gain: | Enter value |  |  |  | 3847.4 | 690 |  | 971 | 21.9 | 440 | 20.9762 | 282220 | 531.2438 | 2.29e-12 | 8.4e-12 | -6.77e-09 | 5.56e-10
Diff Time (ns): | Enter value |  |  |  | 3793.2 | 680 |  | 971 | 22.3 | 382 | 19.5448 | 270475 | 520.0721 | 2.16e-12 | 7.81e-12 | -4.69e-09 | 2.58e-10
Int Time (ns): | Enter value |  |  |  | 3736.6 | 670 |  | 971 | 22.3 | 324 | 18 | 269402 | 519.0395 | 3.47e-12 | 8.22e-12 | -3.16e-09 | 1.65e-10
Detector Settings |  |  |  |  | 3682.6 | 660 |  | 971 | 22.3 | 237 | 15.3948 | 270946 | 520.5247 | 7.24e-12 | 7.94e-12 | -2.2e-09 | 1.17e-10
[5 empty] | 3628.6 | 650 |  | 971 | 22.4 | 193 | 13.8924 | 257233 | 507.1814 | 4.86e-12 | 4.84e-12 | -1.52e-09 | 1.43e-10
Serial Number: | Enter value |  |  |  | 3571.6 | 640 |  | 971 | 22.3 | 147 | 12.1244 | 248438 | 498.4355 | 4.58e-12 | 6.51e-12 | -1.05e-09 | 5.94e-11
Position (ieta,iphi): | Enter value |  |  |  | 3513.8 | 630 |  | 971 | 22.4 | 132 | 11.4891 | 234330 | 484.0764 | 5.67e-12 | 4.75e-12 | -7.19e-10 | 3.47e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3459.8 | 620 |  | 971 | 22.3 | 112 | 10.583 | 218532 | 467.4741 | 4.64e-12 | 5.2e-12 | -5.05e-10 | 2.75e-11
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3402.8 | 610 |  | 971 | 22.3 | 86 | 9.2736 | 202124 | 449.582 | 4.25e-12 | 6.18e-12 | -3.49e-10 | 1.88e-11
Flow Rate (L/hr): | Enter value |  |  |  | 3349.8 | 600 |  | 971 | 22.3 | 70 | 8.3666 | 176990 | 420.7018 | 4.04e-12 | 4.91e-12 | -2.41e-10 | 2.98e-11
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3293.8 | 590 |  | 971 | 22.3 | 55 | 7.4162 | 115507 | 339.8632 | 5.2e-12 | 5.56e-12 | -1.71e-10 | 9.8e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 3239.8 | 580 |  | 971 | 22.3 | 43 | 6.5574 | 75510 | 274.7908 | 4.38e-12 | 4.04e-12 | -1.21e-10 | 7.32e-12
R_Drift (MOhm): | Enter value |  |  |  | 3182.8 | 570 |  | 971 | 22.3 | 31 | 5.5678 | 39828 | 199.5695 | 5.87e-12 | 3.83e-12 | -8.45e-11 | 6.67e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 3127 | 560 |  | 971 | 22.3 | 38 | 6.1644 | 8909 | 94.3875 | 5.28e-12 | 4.21e-12 | -5.88e-11 | 5.64e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 3071 | 550 |  | 971 | 22.3 | 62 | 7.874 | 437 | 20.9045 | 5.52e-12 | 5.28e-12 | -4e-11 | 4.68e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 691.2931 | 3854.2554 | #VALUE! | #VALUE! | #VALUE! | -9.5499e-09 | 5.3505e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 681.4175 | 3799.5444 | #VALUE! | #VALUE! | #VALUE! | -6.7723e-09 | 5.5606e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 671.5419 | 3746.0186 | #VALUE! | #VALUE! | #VALUE! | -4.6922e-09 | 2.5812e-10 | #VALUE! | #VALUE!
|  |  |  | 661.6663 | 3690.1226 | #VALUE! | #VALUE! | #VALUE! | -3.1635e-09 | 1.652e-10 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 651.7906 | 3636.7943 | #VALUE! | #VALUE! | #VALUE! | -2.2072e-09 | 1.1727e-10 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 641.915 | 3583.466 | #VALUE! | #VALUE! | #VALUE! | -1.5249e-09 | 1.4308e-10 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 632.0394 | 3527.175 | #VALUE! | #VALUE! | #VALUE! | -1.0546e-09 | 5.9756e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 622.1638 | 3470.0939 | #VALUE! | #VALUE! | #VALUE! | -7.2467e-10 | 3.5024e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 612.2882 | 3416.7656 | #VALUE! | #VALUE! | #VALUE! | -5.0964e-10 | 2.7987e-11 | #VALUE! | #VALUE!
|  |  |  | 602.4126 | 3360.4746 | #VALUE! | #VALUE! | #VALUE! | -3.5325e-10 | 1.979e-11 | #VALUE! | #VALUE!
|  |  |  | 592.537 | 3308.1338 | #VALUE! | #VALUE! | #VALUE! | -2.4504e-10 | 3.0202e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 582.6613 | 3252.8303 | #VALUE! | #VALUE! | #VALUE! | -1.762e-10 | 1.1267e-11 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 572.7857 | 3199.502 | #VALUE! | #VALUE! | #VALUE! | -1.2538e-10 | 8.3609e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 562.9101 | 3143.211 | #VALUE! | #VALUE! | #VALUE! | -9.037e-11 | 7.6914e-12 | #VALUE! | #VALUE!
|  |  |  | 553.0345 | 3088.1051 | #VALUE! | #VALUE! | #VALUE! | -6.408e-11 | 7.038e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 543.1589 | 3032.8016 | #VALUE! | #VALUE! | #VALUE! | -4.552e-11 | 7.0556e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.4125 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0.14087 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 971 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On