## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3879.6 | 700 | 9:38 | 973 | 22.3 | 238 | 15.4272 | 262928 | 512.765 | 2.24e-12 | 6.2204e-13 | -4.49e-09 | 1.8e-11
Fine Gain: | Enter value |  |  |  | 3824.4 | 690 |  | 973 | 22.3 | 214 | 14.6287 | 224220 | 473.5187 | 3.41e-12 | 5.53e-13 | -3.06e-09 | 1.26e-11
Diff Time (ns): | Enter value |  |  |  | 3769.4 | 680 |  | 973 | 22.3 | 225 | 15 | 206247 | 454.1442 | 2.48e-12 | 4.65e-13 | -2.08e-09 | 9.51e-12
Int Time (ns): | Enter value |  |  |  | 3714.6 | 670 |  | 973 | 22.3 | 178 | 13.3417 | 192619 | 438.8838 | 2.71e-12 | 4.64e-13 | -1.43e-09 | 6.17e-12
Detector Settings |  |  |  |  | 3658.6 | 660 |  | 973 | 22.3 | 158 | 12.5698 | 182242 | 426.8981 | 3.75e-12 | 4.39e-13 | -9.71e-10 | 4.34e-12
[5 empty] | 3603.6 | 650 |  | 973 | 22.3 | 114 | 10.6771 | 173663 | 416.7289 | 4.55e-12 | 3.87e-13 | -6.8e-10 | 2.86e-12
Serial Number: | Enter value |  |  |  | 3548.6 | 640 |  | 973 | 22.3 | 69 | 8.3066 | 168250 | 410.1829 | 3e-12 | 3.87e-13 | -4.69e-10 | 1.9e-12
Position (ieta,iphi): | Enter value |  |  |  | 3493.6 | 630 |  | 973 | 22.3 | 70 | 8.3666 | 162752 | 403.4253 | 3.81e-12 | 4.74e-13 | -3.27e-10 | 1.43e-12
Gas (X/Y/Z): | Enter value |  |  |  | 3437.6 | 620 |  | 973 | 22.3 | 48 | 6.9282 | 155116 | 393.8477 | 3.26e-12 | 6.12e-13 | -2.3e-10 | 1.12e-12
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3382.8 | 610 |  | 973 | 22.3 | 39 | 6.245 | 140607 | 374.976 | 4.11e-12 | 3.98e-13 | -1.59e-10 | 8.19e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3327.8 | 600 |  | 972 | 22.3 | 33 | 5.7446 | 114005 | 337.6463 | 3.86e-12 | 3.95e-13 | -1.12e-10 | 6.17e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3272.8 | 590 |  | 973 | 22.3 | 10 | 3.1623 | 67509 | 259.8249 | 4.31e-12 | 3.82e-13 | -7.77e-11 | 5.21e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3218 | 580 |  | 973 | 22.3 | 20 | 4.4721 | 44427 | 210.7771 | 4.45e-12 | 3.96e-13 | -5.41e-11 | 4.02e-13
R_Drift (MOhm): | Enter value |  |  |  | 3161.8 | 570 |  | 973 | 22.3 | 8 | 2.8284 | 17584 | 132.6047 | 3.33e-12 | 5.11e-13 | -3.81e-11 | 3.92e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3106.8 | 560 |  | 973 | 22.3 | 6 | 2.4495 | 2597 | 50.9608 | 3.7e-12 | 3.91e-13 | -2.65e-11 | 3.64e-13
R_Transfer1 (MOhm): | Enter value |  |  |  | 3050.5 | 550 |  | 973 | 22.3 | 2 | 1.4142 |  | 0 | 3.1e-12 | 3.46e-13 | -1.79e-11 | 3.72e-13
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 690.0041 | 3824.1996 | #VALUE! | #VALUE! | #VALUE! | -4.4922e-09 | 1.8011e-11 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 680.1469 | 3769.7879 | #VALUE! | #VALUE! | #VALUE! | -3.0634e-09 | 1.2612e-11 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 670.2897 | 3715.5733 | #VALUE! | #VALUE! | #VALUE! | -2.0825e-09 | 9.5214e-12 | #VALUE! | #VALUE!
|  |  |  | 660.4325 | 3661.5558 | #VALUE! | #VALUE! | #VALUE! | -1.4327e-09 | 6.1874e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 650.5752 | 3606.3555 | #VALUE! | #VALUE! | #VALUE! | -9.7475e-10 | 4.3621e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 640.718 | 3552.1409 | #VALUE! | #VALUE! | #VALUE! | -6.8455e-10 | 2.8861e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 630.8608 | 3497.9263 | #VALUE! | #VALUE! | #VALUE! | -4.72e-10 | 1.939e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 621.0036 | 3443.7117 | #VALUE! | #VALUE! | #VALUE! | -3.3081e-10 | 1.5065e-12 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 611.1464 | 3388.5113 | #VALUE! | #VALUE! | #VALUE! | -2.3326e-10 | 1.2763e-12 | #VALUE! | #VALUE!
|  |  |  | 601.2892 | 3334.4939 | #VALUE! | #VALUE! | #VALUE! | -1.6311e-10 | 9.1058e-13 | #VALUE! | #VALUE!
|  |  |  | 591.432 | 3280.2793 | #VALUE! | #VALUE! | #VALUE! | -1.1586e-10 | 7.3261e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 581.5748 | 3226.0647 | #VALUE! | #VALUE! | #VALUE! | -8.201e-11 | 6.4604e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 571.7176 | 3172.0472 | #VALUE! | #VALUE! | #VALUE! | -5.855e-11 | 5.6429e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 561.8604 | 3116.6497 | #VALUE! | #VALUE! | #VALUE! | -4.143e-11 | 6.4404e-13 | #VALUE! | #VALUE!
|  |  |  | 552.0032 | 3062.4351 | #VALUE! | #VALUE! | #VALUE! | -3.02e-11 | 5.3421e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 542.146 | 3006.9391 | #VALUE! | #VALUE! | #VALUE! | -2.1e-11 | 5.0804e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 972.9375 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0.24206 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On