## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3486 | 700 | 9:38 | 986.41 | 25.39 | 1018 | 31.9061 | 1439211 | 1199.6712 | 1.33e-12 | 8.16e-12 | -2.02e-08 | #DIV/0!
Fine Gain: | Enter value |  |  |  | 3436.2 | 690 | 9:45 | 986.37 | 25.39 | 849 | 29.1376 | 1382389 | 1175.7504 | 1.1e-12 | 9.86e-12 | -1.45e-08 | #DIV/0!
Diff Time (ns): | Enter value |  |  |  | 3386.4 | 680 | 9:50 | 986.4 | 25.39 | 720 | 26.8328 | 1380103 | 1174.7779 | 1.35e-12 | 8.42e-12 | -9.27e-09 | #DIV/0!
Int Time (ns): | Enter value |  |  |  | 3336.6 | 670 | 10:02 | 986.4 | 25.41 | 627 | 25.04 | 1366693 | 1169.0565 | 1.92e-12 | 8.67e-12 | -6.37e-09 | #DIV/0!
Detector Settings |  |  |  |  | 3286.8 | 660 | 10:14 | 986.41 | 25.41 | 535 | 23.1301 | 1383847 | 1176.3703 | 1.92e-12 | 6.42e-12 | -4.93e-09 | #DIV/0!
[5 empty] | 3237 | 650 | 10:19 | 986.4 | 25.41 | 524 | 22.891 | 1407764 | 1186.4923 | 2.04e-12 | 5.27e-12 | -3.08e-09 | #DIV/0!
Serial Number: | Enter value |  |  |  | 3187.2 | 640 | 10:25 | 986.4 | 25.41 | 480 | 21.9089 | 1336112 | 1155.9031 | 1.87e-12 | 5.38e-12 | -2.19e-09 | #DIV/0!
Position (ieta,iphi): | Enter value |  |  |  | 3137.4 | 630 | 10:32 | 986.41 | 25.41 | 419 | 20.4695 | 1349974 | 1161.8838 | 1.99e-12 | 9.23e-12 | -1.53e-09 | #DIV/0!
Gas (X/Y/Z): | Enter value |  |  |  | 3087.6 | 620 | 10:39 | 986.4 | 25.43 | 363 | 19.0526 | 1270279 | 1127.0665 | 1.96e-12 | 9.25e-12 | -1.12e-09 | #DIV/0!
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3037.8 | 610 | 10:46 | 986.4 | 25.43 | 319 | 17.8606 | 868143 | 931.7419 | 2.64e-12 | 3.6e-12 | -8.06e-10 | #DIV/0!
Flow Rate (L/hr): | Enter value |  |  |  | 2988 | 600 | 10:59 | 986.41 | 25.43 | 305 | 17.4642 | 524951 | 724.535 | 2.51e-12 | 2.73e-12 | -6.16e-10 | #DIV/0!
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 2938.2 | 590 | 11:14 | 986.4 | 25.43 | 293 | 17.1172 | 348848 | 590.6336 | 2.24e-12 | 2.46e-12 | -4.14e-10 | #DIV/0!
Total HV Divider R (MOhm): | Enter value |  |  |  | 2888.4 | 580 | 11:20 | 986.37 | 25.43 | 283 | 16.8226 | 166094 | 407.5463 | 2.17e-12 | 2.79e-12 | -3.12e-10 | #DIV/0!
R_Drift (MOhm): | Enter value |  |  |  | 2838.6 | 570 | 11:26 | 986.41 | 25.43 | 257 | 16.0312 | 38999 | 197.4816 | 2.32e-12 | 3.95e-12 | -2.15e-10 | #DIV/0!
R_GEM1 (MOhm): | Enter value |  |  |  | 2788.8 | 560 | 11:36 | 986.4 | 25.43 | 226 | 15.0333 | 1530 | 39.1152 | 2.38e-12 | 2.93e-12 | -1.56e-10 | #DIV/0!
R_Transfer1 (MOhm): | Enter value |  |  |  | 2739 | 550 | 11:42 | 986.41 | 25.43 | 183 | 13.5277 | 6673 | 81.6884 | 2.4e-12 | 1.67e-12 | -1.13e-10 | #DIV/0!
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 687.7653 | 3425.071 | #VALUE! | #VALUE! | #VALUE! | -2.0201e-08 | #DIV/0! | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 677.94 | 3376.1414 | #VALUE! | #VALUE! | #VALUE! | -1.4501e-08 | #DIV/0! | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 668.1148 | 3327.2119 | #VALUE! | #VALUE! | #VALUE! | -9.2713e-09 | #DIV/0! | #VALUE! | #VALUE!
|  |  |  | 658.2896 | 3278.2823 | #VALUE! | #VALUE! | #VALUE! | -6.3719e-09 | #DIV/0! | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 648.4644 | 3229.3527 | #VALUE! | #VALUE! | #VALUE! | -4.9319e-09 | #DIV/0! | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 638.6392 | 3180.4231 | #VALUE! | #VALUE! | #VALUE! | -3.082e-09 | #DIV/0! | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 628.814 | 3131.4935 | #VALUE! | #VALUE! | #VALUE! | -2.1919e-09 | #DIV/0! | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 618.9887 | 3082.5639 | #VALUE! | #VALUE! | #VALUE! | -1.532e-09 | #DIV/0! | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 609.1635 | 3033.6343 | #VALUE! | #VALUE! | #VALUE! | -1.122e-09 | #DIV/0! | #VALUE! | #VALUE!
|  |  |  | 599.3383 | 2984.7048 | #VALUE! | #VALUE! | #VALUE! | -8.0864e-10 | #DIV/0! | #VALUE! | #VALUE!
|  |  |  | 589.5131 | 2935.7752 | #VALUE! | #VALUE! | #VALUE! | -6.1851e-10 | #DIV/0! | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 579.6879 | 2886.8456 | #VALUE! | #VALUE! | #VALUE! | -4.1624e-10 | #DIV/0! | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 569.8626 | 2837.916 | #VALUE! | #VALUE! | #VALUE! | -3.1417e-10 | #DIV/0! | #VALUE! | #VALUE!
Source Settings |  |  |  | 560.0374 | 2788.9864 | #VALUE! | #VALUE! | #VALUE! | -2.1732e-10 | #DIV/0! | #VALUE! | #VALUE!
|  |  |  | 550.2122 | 2740.0568 | #VALUE! | #VALUE! | #VALUE! | -1.5838e-10 | #DIV/0! | #VALUE! | #VALUE!
Source: | Enter value |  |  | 540.387 | 2691.1272 | #VALUE! | #VALUE! | #VALUE! | -1.154e-10 | #DIV/0! | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 298.5662 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0.01536 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 986.4 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0.012247 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On