## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3879.4 | 700 |  | 974 | 22.6 | 331 | 18.1934 | 152941 | 391.0767 | 1.5564e-12 | 1.7031e-13 | -1.0111e-09 | 5.9685e-12
Fine Gain: | Enter value |  |  |  | 3843.4 | 690 |  |  |  | 272 | 16.4924 | 148220 | 384.9935 | 1.5473e-12 | 1.6967e-13 | -7.7456e-10 | 4.5527e-12
Diff Time (ns): | Enter value |  |  |  | 3789.4 | 680 |  |  |  | 256 | 16 | 138936 | 372.7412 | 2.1771e-12 | 1.0718e-13 | -5.6677e-10 | 3.2546e-12
Int Time (ns): | Enter value |  |  |  | 3734.4 | 670 |  |  |  | 214 | 14.6287 | 127316 | 356.8137 | 2.4136e-12 | 9.8909e-14 | -4.0935e-10 | 2.7229e-12
Detector Settings |  |  |  |  | 3679.4 | 660 |  |  |  | 209 | 14.4568 | 117925 | 343.4021 | 2.9206e-12 | 1.1901e-13 | -4.1591e-10 | 2.336e-12
[5 empty] | 3624.4 | 650 |  |  |  | 137 | 11.7047 | 106838 | 326.8608 | 3.2526e-12 | 9.1195e-14 | -2.8947e-10 | 1.7036e-12
Serial Number: | Enter value |  |  |  | 3569.4 | 640 |  |  |  | 113 | 10.6301 | 101996 | 319.3681 | 2.9991e-12 | 8.4114e-14 | -2.0533e-10 | 1.141e-12
Position (ieta,iphi): | Enter value |  |  |  | 3511.6 | 630 |  |  |  | 87 | 9.3274 | 97187 | 311.7483 | 3.4618e-12 | 7.7993e-14 | -1.4208e-10 | 8.05e-13
Gas (X/Y/Z): | Enter value |  |  |  | 3459.6 | 620 |  |  |  | 53 | 7.2801 | 88589 | 297.639 | 3.5618e-12 | 7.7623e-14 | -1.0224e-10 | 6.137e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3399.4 | 610 |  |  |  | 40 | 6.3246 | 61631 | 248.2559 | 3.8949e-12 | 1.8267e-13 | -6.9442e-11 | 4.2255e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3343.6 | 600 |  |  |  | 38 | 6.1644 | 40628 | 201.5639 | 4.6748e-12 | 1.1881e-12 | -4.8279e-11 | 2.7658e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3287.6 | 590 |  |  |  | 26 | 5.099 | 27736 | 166.5413 | 3.5436e-12 | 6.4296e-14 | -3.3559e-11 | 2.3476e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3234.8 | 580 |  |  |  | 25 | 5 | 11065 | 105.1903 | 3.8301e-12 | 6.8688e-14 | -2.3464e-11 | 1.5507e-13
R_Drift (MOhm): | Enter value |  |  |  | 3179.8 | 570 |  |  |  | 21 | 4.5826 | 1478 | 38.4448 | 4.2189e-12 | 7.1188e-14 | -1.5556e-11 | 1.2978e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3121.8 | 560 |  |  |  | 15 | 3.873 | 35 | 5.9161 | 3.9915e-12 | 7.4679e-14 | -1.0241e-11 | 1.119e-13
R_Transfer1 (MOhm): | Enter value |  |  |  | 3069.8 | 550 |  |  |  | 12 | 3.4641 | 22 | 4.6904 | 3.9563e-12 | 6.9327e-14 | -6.2732e-12 | 8.5094e-14
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 689.9512 | 3823.7097 | #VALUE! | #VALUE! | #VALUE! | -1.0127e-09 | 5.9709e-12 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 680.0948 | 3788.2265 | #VALUE! | #VALUE! | #VALUE! | -7.7611e-10 | 4.5559e-12 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 670.2383 | 3735.0016 | #VALUE! | #VALUE! | #VALUE! | -5.6895e-10 | 3.2564e-12 | #VALUE! | #VALUE!
|  |  |  | 660.3819 | 3680.7912 | #VALUE! | #VALUE! | #VALUE! | -4.1176e-10 | 2.7247e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 650.5254 | 3626.5807 | #VALUE! | #VALUE! | #VALUE! | -4.1883e-10 | 2.3391e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 640.669 | 3572.3703 | #VALUE! | #VALUE! | #VALUE! | -2.9273e-10 | 1.706e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 630.8125 | 3518.1598 | #VALUE! | #VALUE! | #VALUE! | -2.0833e-10 | 1.1441e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 620.9561 | 3461.1896 | #VALUE! | #VALUE! | #VALUE! | -1.4554e-10 | 8.0877e-13 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 611.0997 | 3409.9361 | #VALUE! | #VALUE! | #VALUE! | -1.058e-10 | 6.1859e-13 | #VALUE! | #VALUE!
|  |  |  | 601.2432 | 3350.6002 | #VALUE! | #VALUE! | #VALUE! | -7.3337e-11 | 4.6035e-13 | #VALUE! | #VALUE!
|  |  |  | 591.3868 | 3295.6013 | #VALUE! | #VALUE! | #VALUE! | -5.2954e-11 | 1.2198e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 581.5303 | 3240.4052 | #VALUE! | #VALUE! | #VALUE! | -3.7103e-11 | 2.4341e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 571.6739 | 3188.3631 | #VALUE! | #VALUE! | #VALUE! | -2.7294e-11 | 1.6961e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 561.8174 | 3134.1527 | #VALUE! | #VALUE! | #VALUE! | -1.9775e-11 | 1.4802e-13 | #VALUE! | #VALUE!
|  |  |  | 551.961 | 3076.9853 | #VALUE! | #VALUE! | #VALUE! | -1.4232e-11 | 1.3453e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 542.1045 | 3025.7318 | #VALUE! | #VALUE! | #VALUE! | -1.023e-11 | 1.0976e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.75 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 974 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On