## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3896.8 | 700 |  | 974 | 22.6 | 295 | 17.1756 | 96123 | 310.0371 | 2.7239e-12 | 1.7992e-13 | -1.3571e-09 | 8.676e-12
Fine Gain: | Enter value |  |  |  | 3841.8 | 690 |  |  |  | 296 | 17.2047 | 94669 | 307.6833 | 2.2749e-12 | 2.3115e-13 | -9.4751e-10 | 5.6316e-12
Diff Time (ns): | Enter value |  |  |  | 3786.4 | 680 |  |  |  | 227 | 15.0665 | 90967 | 301.6074 | 2.6091e-12 | 2.0346e-13 | -6.6338e-10 | 4.0435e-12
Int Time (ns): | Enter value |  |  |  | 3730.8 | 670 |  |  |  | 210 | 14.4914 | 85747 | 292.8259 | 2.8854e-12 | 1.1828e-13 | -4.5913e-10 | 2.9268e-12
Detector Settings |  |  |  |  | 3675.2 | 660 |  |  |  | 177 | 13.3041 | 83092 | 288.2568 | 3.356e-12 | 8.8065e-14 | -3.1796e-10 | 1.9143e-12
[5 empty] | 3619.8 | 650 |  |  |  | 137 | 11.7047 | 81013 | 284.6278 | 3.5322e-12 | 1.0656e-13 | -2.246e-10 | 1.4623e-12
Serial Number: | Enter value |  |  |  | 3564.6 | 640 |  |  |  | 108 | 10.3923 | 79502 | 281.961 | 3.7596e-12 | 8.6557e-14 | -1.5525e-10 | 1.0083e-12
Position (ieta,iphi): | Enter value |  |  |  | 3508.8 | 630 |  |  |  | 86 | 9.2736 | 76177 | 276.0018 | 3.8676e-12 | 8.4815e-14 | -1.0816e-10 | 6.875e-13
Gas (X/Y/Z): | Enter value |  |  |  | 3453.6 | 620 |  |  |  | 67 | 8.1854 | 68393 | 261.5206 | 3.9984e-12 | 7.1599e-14 | -7.5639e-11 | 4.8397e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3398 | 610 |  |  |  | 36 | 6 | 48169 | 219.4744 | 4.1121e-12 | 2.5388e-13 | -5.2208e-11 | 3.8572e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3342.6 | 600 |  |  |  | 30 | 5.4772 | 32496 | 180.2665 | 4.2814e-12 | 9.3041e-14 | -3.5534e-11 | 2.4796e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3286.8 | 590 |  |  |  | 22 | 4.6904 | 21958 | 148.1823 | 3.9313e-12 | 7.7578e-14 | -2.4025e-11 | 1.7557e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3231.4 | 580 |  |  |  | 24 | 4.899 | 8682 | 93.1773 | 4.3042e-12 | 7.4047e-14 | -1.5865e-11 | 1.5216e-13
R_Drift (MOhm): | Enter value |  |  |  | 3175.8 | 570 |  |  |  | 4 | 2 | 1013 | 31.8277 | 4.4304e-12 | 7.6827e-14 | -9.7259e-12 | 1.1485e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3120.4 | 560 |  |  |  | 5 | 2.2361 | 15 | 3.873 | 4.4986e-12 | 8.2421e-14 | -5.7048e-12 | 9.1734e-14
R_Transfer1 (MOhm): | Enter value |  |  |  | 3065 | 550 |  |  |  | 5 | 2.2361 | 6 | 2.4495 | 5.0238e-12 | 1.4659e-13 | -2.5875e-12 | 1.9007e-13
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 689.9512 | 3840.8599 | #VALUE! | #VALUE! | #VALUE! | -1.3598e-09 | 8.6778e-12 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 680.0948 | 3786.6494 | #VALUE! | #VALUE! | #VALUE! | -9.4979e-10 | 5.6364e-12 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 670.2383 | 3732.0447 | #VALUE! | #VALUE! | #VALUE! | -6.6598e-10 | 4.0486e-12 | #VALUE! | #VALUE!
|  |  |  | 660.3819 | 3677.2429 | #VALUE! | #VALUE! | #VALUE! | -4.6202e-10 | 2.9292e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 650.5254 | 3622.441 | #VALUE! | #VALUE! | #VALUE! | -3.2132e-10 | 1.9163e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 640.669 | 3567.8363 | #VALUE! | #VALUE! | #VALUE! | -2.2813e-10 | 1.4662e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 630.8125 | 3513.4287 | #VALUE! | #VALUE! | #VALUE! | -1.5901e-10 | 1.012e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 620.9561 | 3458.4298 | #VALUE! | #VALUE! | #VALUE! | -1.1203e-10 | 6.9271e-13 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 611.0997 | 3404.0222 | #VALUE! | #VALUE! | #VALUE! | -7.9638e-11 | 4.8924e-13 | #VALUE! | #VALUE!
|  |  |  | 601.2432 | 3349.2203 | #VALUE! | #VALUE! | #VALUE! | -5.632e-11 | 4.6178e-13 | #VALUE! | #VALUE!
|  |  |  | 591.3868 | 3294.6156 | #VALUE! | #VALUE! | #VALUE! | -3.9815e-11 | 2.6484e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 581.5303 | 3239.6167 | #VALUE! | #VALUE! | #VALUE! | -2.7957e-11 | 1.9195e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 571.6739 | 3185.012 | #VALUE! | #VALUE! | #VALUE! | -2.0169e-11 | 1.6922e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 561.8174 | 3130.2101 | #VALUE! | #VALUE! | #VALUE! | -1.4156e-11 | 1.3818e-13 | #VALUE! | #VALUE!
|  |  |  | 551.961 | 3075.6054 | #VALUE! | #VALUE! | #VALUE! | -1.0203e-11 | 1.2332e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 542.1045 | 3021.0007 | #VALUE! | #VALUE! | #VALUE! | -7.6113e-12 | 2.4003e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.75 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 974 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On