## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3896.2 | 700 |  | 974 | 22.3 | 366 | 19.1311 | 100555 | 317.1041 | 3.3344e-12 | 1.8848e-13 | -1.2422e-09 | 8.6788e-12
Fine Gain: | Enter value |  |  |  | 3841.2 | 690 |  |  |  | 254 | 15.9374 | 99249 | 315.0381 | 3.3003e-12 | 2.1672e-13 | -8.4879e-10 | 4.8867e-12
Diff Time (ns): | Enter value |  |  |  | 3785.8 | 680 |  |  |  | 253 | 15.906 | 94441 | 307.3125 | 3.6323e-12 | 1.7904e-13 | -5.9232e-10 | 3.6546e-12
Int Time (ns): | Enter value |  |  |  | 3738.2 | 670 |  |  |  | 201 | 14.1774 | 90981 | 301.6306 | 3.7949e-12 | 1.3185e-13 | -4.0774e-10 | 2.4799e-12
Detector Settings |  |  |  |  | 3674.6 | 660 |  |  |  | 157 | 12.53 | 89373 | 298.9532 | 3.8983e-12 | 1.1238e-13 | -2.8067e-10 | 1.6413e-12
[5 empty] | 3619.2 | 650 |  |  |  | 110 | 10.4881 | 87117 | 295.1559 | 4.2883e-12 | 1.1307e-13 | -1.9513e-10 | 1.0949e-12
Serial Number: | Enter value |  |  |  | 3564 | 640 |  |  |  | 98 | 9.8995 | 83211 | 288.4632 | 4.5577e-12 | 1.0277e-13 | -1.3781e-10 | 8.3445e-13
Position (ieta,iphi): | Enter value |  |  |  | 3508.4 | 630 |  |  |  | 51 | 7.1414 | 77242 | 277.9245 | 3.7858e-12 | 9.8541e-14 | -9.5473e-11 | 6.0359e-13
Gas (X/Y/Z): | Enter value |  |  |  | 3453.2 | 620 |  |  |  | 48 | 6.9282 | 65509 | 255.9473 | 4.1871e-12 | 1.0582e-13 | -6.7437e-11 | 4.4339e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3397.6 | 610 |  |  |  | 31 | 5.5678 | 38115 | 195.2306 | 4.1211e-12 | 7.3932e-14 | -4.526e-11 | 4.0344e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3342.2 | 600 |  |  |  | 24 | 4.899 | 27622 | 166.1987 | 4.3281e-12 | 8.0629e-14 | -3.1345e-11 | 2.0833e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3286.4 | 590 |  |  |  | 11 | 3.3166 | 13321 | 115.4166 | 4.0075e-12 | 8.5539e-14 | -2.0964e-11 | 1.7402e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3231 | 580 |  |  |  | 6 | 2.4495 | 2413 | 49.1223 | 4.3428e-12 | 6.7485e-14 | -1.3292e-11 | 1.1964e-13
R_Drift (MOhm): | Enter value |  |  |  | 3175.6 | 570 |  |  |  | 3 | 1.7321 | 46 | 6.7823 | 4.3303e-12 | 6.496e-14 | -8.1627e-12 | 1.0256e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3120.2 | 560 |  |  |  | 1 | 1 | 5 | 2.2361 | 4.494e-12 | 6.4371e-14 | -4.8226e-12 | 8.0761e-14
R_Transfer1 (MOhm): | Enter value |  |  |  | 3064.8 | 550 |  |  |  | 1 | 1 | 2 | 1.4142 | 4.0995e-12 | 6.622e-14 | -2.6978e-12 | 1.3205e-13
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 689.2514 | 3836.373 | #VALUE! | #VALUE! | #VALUE! | -1.2455e-09 | 8.6809e-12 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 679.4049 | 3782.2176 | #VALUE! | #VALUE! | #VALUE! | -8.5209e-10 | 4.8915e-12 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 669.5585 | 3727.6682 | #VALUE! | #VALUE! | #VALUE! | -5.9596e-10 | 3.6589e-12 | #VALUE! | #VALUE!
|  |  |  | 659.712 | 3680.7992 | #VALUE! | #VALUE! | #VALUE! | -4.1154e-10 | 2.4834e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 649.8656 | 3618.1757 | #VALUE! | #VALUE! | #VALUE! | -2.8457e-10 | 1.6452e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 640.0191 | 3563.6264 | #VALUE! | #VALUE! | #VALUE! | -1.9941e-10 | 1.1007e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 630.1727 | 3509.274 | #VALUE! | #VALUE! | #VALUE! | -1.4236e-10 | 8.4076e-13 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 620.3262 | 3454.5278 | #VALUE! | #VALUE! | #VALUE! | -9.9259e-11 | 6.1158e-13 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 610.4798 | 3400.1754 | #VALUE! | #VALUE! | #VALUE! | -7.1624e-11 | 4.5584e-13 | #VALUE! | #VALUE!
|  |  |  | 600.6333 | 3345.4291 | #VALUE! | #VALUE! | #VALUE! | -4.9381e-11 | 4.1016e-13 | #VALUE! | #VALUE!
|  |  |  | 590.7869 | 3290.8798 | #VALUE! | #VALUE! | #VALUE! | -3.5673e-11 | 2.2338e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 580.9404 | 3235.9366 | #VALUE! | #VALUE! | #VALUE! | -2.4971e-11 | 1.939e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 571.094 | 3181.3873 | #VALUE! | #VALUE! | #VALUE! | -1.7635e-11 | 1.3736e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 561.2475 | 3126.838 | #VALUE! | #VALUE! | #VALUE! | -1.2493e-11 | 1.214e-13 | #VALUE! | #VALUE!
|  |  |  | 551.4011 | 3072.2887 | #VALUE! | #VALUE! | #VALUE! | -9.3166e-12 | 1.0328e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 541.5546 | 3017.7394 | #VALUE! | #VALUE! | #VALUE! | -6.7973e-12 | 1.4772e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 974 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On