## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3892 | 700 |  | 969 | 22.3 | 301 | 17.3494 | 93156 | 305.2147 | 1.7042e-12 | 4.5673e-13 | -1.4927e-09 | 1.0085e-11
Fine Gain: | Enter value |  |  |  | 3837.4 | 690 |  |  |  | 267 | 16.3401 | 92286 | 303.7861 | 2.6932e-12 | 2.5795e-13 | -1.0621e-09 | 6.5709e-12
Diff Time (ns): | Enter value |  |  |  | 3781.8 | 680 |  |  |  | 303 | 17.4069 | 91179 | 301.9586 | 2.9593e-12 | 2.0669e-13 | -7.4822e-10 | 4.6094e-12
Int Time (ns): | Enter value |  |  |  | 3726.4 | 670 |  |  |  | 276 | 16.6132 | 86027 | 293.3036 | 2.683e-12 | 1.1252e-12 | -5.2285e-10 | 3.3939e-12
Detector Settings |  |  |  |  | 3670.8 | 660 |  |  |  | 211 | 14.5258 | 83274 | 288.5723 | 3.6596e-12 | 9.3097e-13 | -3.6697e-10 | 2.459e-12
[5 empty] | 3616 | 650 |  |  |  | 179 | 13.3791 | 81662 | 285.7656 | 3.6562e-12 | 1.688e-13 | -2.6041e-10 | 1.6774e-12
Serial Number: | Enter value |  |  |  | 3560.4 | 640 |  |  |  | 143 | 11.9583 | 79323 | 281.6434 | 3.9859e-12 | 8.6767e-14 | -1.8487e-10 | 1.0905e-12
Position (ieta,iphi): | Enter value |  |  |  | 3504.4 | 630 |  |  |  | 130 | 11.4018 | 76631 | 276.823 | 4.0563e-12 | 8.7327e-14 | -1.2949e-10 | 8.2005e-13
Gas (X/Y/Z): | Enter value |  |  |  | 3449.6 | 620 |  |  |  | 70 | 8.3666 | 71538 | 267.4659 | 4.1609e-12 | 1.0889e-13 | -9.0827e-11 | 6.3907e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3394.2 | 610 |  |  |  | 62 | 7.874 | 61730 | 248.4552 | 4.1848e-12 | 1.0921e-13 | -6.3581e-11 | 4.3859e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3338.4 | 600 |  |  |  | 55 | 7.4162 | 36730 | 191.6507 | 4.2792e-12 | 9.5801e-14 | -4.4411e-11 | 3.2321e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3283 | 590 |  |  |  | 30 | 5.4772 | 27480 | 165.7709 | 4.5623e-12 | 7.4686e-14 | -3.0789e-11 | 2.2705e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3228.4 | 580 |  |  |  | 23 | 4.7958 | 15507 | 124.5271 | 4.1871e-12 | 7.3479e-14 | -2.0876e-11 | 1.86e-13
R_Drift (MOhm): | Enter value |  |  |  | 3172.8 | 570 |  |  |  | 17 | 4.1231 | 4000 | 63.2456 | 4.2894e-12 | 5.741e-14 | -1.4163e-11 | 1.2337e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3117.2 | 560 |  |  |  | 9 | 3 | 266 | 16.3095 | 3.9688e-12 | 6.8834e-14 | -9.2427e-12 | 1.0225e-13
R_Transfer1 (MOhm): | Enter value |  |  |  | 3061.5 | 550 |  |  |  | 8 | 2.8284 | 191 | 13.8203 | 3.9699e-12 | 5.6502e-14 | -5.1637e-12 | 8.6282e-14
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 692.8079 | 3852.0117 | #VALUE! | #VALUE! | #VALUE! | -1.4944e-09 | 1.0095e-11 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 682.9106 | 3797.9727 | #VALUE! | #VALUE! | #VALUE! | -1.0648e-09 | 6.5759e-12 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 673.0134 | 3742.944 | #VALUE! | #VALUE! | #VALUE! | -7.5118e-10 | 4.614e-12 | #VALUE! | #VALUE!
|  |  |  | 663.1161 | 3688.1132 | #VALUE! | #VALUE! | #VALUE! | -5.2553e-10 | 3.5756e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 653.2188 | 3633.0844 | #VALUE! | #VALUE! | #VALUE! | -3.7062e-10 | 2.6293e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 643.3216 | 3578.8475 | #VALUE! | #VALUE! | #VALUE! | -2.6406e-10 | 1.6859e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 633.4243 | 3523.8187 | #VALUE! | #VALUE! | #VALUE! | -1.8885e-10 | 1.0939e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 623.5271 | 3468.3941 | #VALUE! | #VALUE! | #VALUE! | -1.3354e-10 | 8.2469e-13 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 613.6298 | 3414.1571 | #VALUE! | #VALUE! | #VALUE! | -9.4988e-11 | 6.4828e-13 | #VALUE! | #VALUE!
|  |  |  | 603.7326 | 3359.3263 | #VALUE! | #VALUE! | #VALUE! | -6.7765e-11 | 4.5198e-13 | #VALUE! | #VALUE!
|  |  |  | 593.8353 | 3304.0997 | #VALUE! | #VALUE! | #VALUE! | -4.869e-11 | 3.3711e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 583.9381 | 3249.2689 | #VALUE! | #VALUE! | #VALUE! | -3.5351e-11 | 2.3902e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 574.0408 | 3195.2299 | #VALUE! | #VALUE! | #VALUE! | -2.5063e-11 | 1.9998e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 564.1435 | 3140.2011 | #VALUE! | #VALUE! | #VALUE! | -1.8453e-11 | 1.3607e-13 | #VALUE! | #VALUE!
|  |  |  | 554.2463 | 3085.1724 | #VALUE! | #VALUE! | #VALUE! | -1.3212e-11 | 1.2326e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 544.349 | 3030.0447 | #VALUE! | #VALUE! | #VALUE! | -9.1336e-12 | 1.0314e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 969 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On