## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3900 | 700 |  | 972 | 22.3 | 484 | 22 | 91252 | 302.0795 | -4.5964e-12 | 6.2945e-13 | -1.9791e-09 | 1.4108e-11
Fine Gain: | Enter value |  |  |  | 3844 | 690 |  |  |  | 378 | 19.4422 | 84909 | 291.3915 | -3.6209e-12 | 3.8573e-13 | -1.3847e-09 | 1.0338e-11
Diff Time (ns): | Enter value |  |  |  | 3789 | 680 |  |  |  | 289 | 17 | 81706 | 285.8426 | -3.1821e-12 | 2.853e-13 | -9.604e-10 | 6.8074e-12
Int Time (ns): | Enter value |  |  |  | 3733 | 670 |  |  |  | 271 | 16.4621 | 73369 | 270.8671 | -2.5091e-12 | 2.5498e-13 | -6.6074e-10 | 4.9814e-12
Detector Settings |  |  |  |  | 3678 | 660 |  |  |  | 223 | 14.9332 | 67278 | 259.38 | -1.3745e-12 | 2.0116e-13 | -4.5529e-10 | 3.3844e-12
[5 empty] | 3622.4 | 650 |  |  |  | 189 | 13.7477 | 65503 | 255.9355 | -1.6416e-12 | 1.7362e-13 | -3.1711e-10 | 2.1386e-12
Serial Number: | Enter value |  |  |  | 3567.2 | 640 |  |  |  | 168 | 12.9615 | 64249 | 253.4739 | -1.4757e-12 | 1.6781e-13 | -2.2357e-10 | 1.5822e-12
Position (ieta,iphi): | Enter value |  |  |  | 3511.2 | 630 |  |  |  | 149 | 12.2066 | 62506 | 250.012 | -2.1566e-12 | 1.475e-13 | -1.5634e-10 | 1.1119e-12
Gas (X/Y/Z): | Enter value |  |  |  | 3455.4 | 620 |  |  |  | 93 | 9.6437 | 59969 | 244.8857 | -1.1516e-12 | 1.4873e-13 | -1.0878e-10 | 7.9462e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3400.2 | 610 |  |  |  | 65 | 8.0623 | 56819 | 238.3674 | -8.4469e-13 | 1.5601e-13 | -7.7508e-11 | 5.7531e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3344.2 | 600 |  |  |  | 52 | 7.2111 | 50488 | 224.6953 | -7.9581e-13 | 2.1812e-13 | -5.5069e-11 | 3.8478e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3289.2 | 590 |  |  |  | 24 | 4.899 | 32409 | 180.025 | -1.1528e-12 | 1.5476e-13 | -3.9702e-11 | 3.0132e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3233.2 | 580 |  |  |  | 26 | 5.099 | 22794 | 150.9768 | -7.8785e-13 | 1.3609e-13 | -2.7957e-11 | 2.1737e-13
R_Drift (MOhm): | Enter value |  |  |  | 3178.2 | 570 |  |  |  | 15 | 3.873 | 14142 | 118.9201 | 9.2541e-13 | 1.4547e-13 | -1.8292e-11 | 1.9907e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3122.4 | 560 |  |  |  | 3 | 1.7321 | 4353 | 65.9773 | 9.3337e-13 | 1.3978e-13 | -1.3256e-11 | 1.7432e-13
R_Transfer1 (MOhm): | Enter value |  |  |  | 3067.2 | 550 |  |  |  | 3 | 1.7321 | 351 | 18.735 | 1.2767e-12 | 1.3562e-13 | -9.2871e-12 | 1.5423e-13
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 690.6696 | 3848.0162 | #VALUE! | #VALUE! | #VALUE! | -1.9745e-09 | 1.4122e-11 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 680.8029 | 3792.7626 | #VALUE! | #VALUE! | #VALUE! | -1.381e-09 | 1.0345e-11 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 670.9361 | 3738.4957 | #VALUE! | #VALUE! | #VALUE! | -9.5721e-10 | 6.8133e-12 | #VALUE! | #VALUE!
|  |  |  | 661.0694 | 3683.2421 | #VALUE! | #VALUE! | #VALUE! | -6.5824e-10 | 4.988e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 651.2027 | 3628.9752 | #VALUE! | #VALUE! | #VALUE! | -4.5392e-10 | 3.3904e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 641.336 | 3574.1163 | #VALUE! | #VALUE! | #VALUE! | -3.1547e-10 | 2.1456e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 631.4693 | 3519.6521 | #VALUE! | #VALUE! | #VALUE! | -2.221e-10 | 1.5911e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 621.6026 | 3464.3985 | #VALUE! | #VALUE! | #VALUE! | -1.5419e-10 | 1.1217e-12 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 611.7359 | 3409.3423 | #VALUE! | #VALUE! | #VALUE! | -1.0763e-10 | 8.0842e-13 | #VALUE! | #VALUE!
|  |  |  | 601.8692 | 3354.8781 | #VALUE! | #VALUE! | #VALUE! | -7.6664e-11 | 5.9609e-13 | #VALUE! | #VALUE!
|  |  |  | 592.0025 | 3299.6245 | #VALUE! | #VALUE! | #VALUE! | -5.4273e-11 | 4.423e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 582.1358 | 3245.3576 | #VALUE! | #VALUE! | #VALUE! | -3.8549e-11 | 3.3874e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 572.2691 | 3190.1041 | #VALUE! | #VALUE! | #VALUE! | -2.7169e-11 | 2.5646e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 562.4024 | 3135.8372 | #VALUE! | #VALUE! | #VALUE! | -1.9218e-11 | 2.4656e-13 | #VALUE! | #VALUE!
|  |  |  | 552.5357 | 3080.7809 | #VALUE! | #VALUE! | #VALUE! | -1.4189e-11 | 2.2344e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 542.6689 | 3026.3167 | #VALUE! | #VALUE! | #VALUE! | -1.0564e-11 | 2.0538e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 972 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On