## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3899.8 | 700 |  | 961 | 22.3 | 305 | 17.4642 | 115200 | 339.4113 | -6.7894e-12 | 4.977e-13 | -2.0725e-09 | 1.2661e-11
Fine Gain: | Enter value |  |  |  | 3845 | 690 |  |  |  | 336 | 18.3303 | 111928 | 334.5564 | 1.3722e-12 | 2.8057e-13 | -1.4308e-09 | 7.8743e-12
Diff Time (ns): | Enter value |  |  |  | 3789.6 | 680 |  |  |  | 306 | 17.4929 | 111856 | 334.4488 | 2.5318e-12 | 1.8727e-13 | -9.9555e-10 | 5.8617e-12
Int Time (ns): | Enter value |  |  |  | 3733.6 | 670 |  |  |  | 296 | 17.2047 | 104705 | 323.5815 | 3.6505e-12 | 1.195e-13 | -6.6793e-10 | 4.1675e-12
Detector Settings |  |  |  |  | 3679.6 | 660 |  |  |  | 221 | 14.8661 | 98100 | 313.2092 | 3.7426e-12 | 4.3453e-13 | -4.6835e-10 | 2.5697e-12
[5 empty] | 3623 | 650 |  |  |  | 166 | 12.8841 | 95563 | 309.1327 | 3.9051e-12 | 1.3589e-13 | -3.203e-10 | 1.8923e-12
Serial Number: | Enter value |  |  |  | 3568.6 | 640 |  |  |  | 149 | 12.2066 | 93523 | 305.8153 | 4.1405e-12 | 9.8986e-14 | -2.2737e-10 | 1.3789e-12
Position (ieta,iphi): | Enter value |  |  |  | 3512.4 | 630 |  |  |  | 105 | 10.247 | 89729 | 299.548 | 4.6157e-12 | 1.0282e-13 | -1.5496e-10 | 8.7087e-13
Gas (X/Y/Z): | Enter value |  |  |  | 3457.4 | 620 |  |  |  | 83 | 9.1104 | 83111 | 288.2898 | 4.5657e-12 | 8.5447e-14 | -1.0912e-10 | 6.1784e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3400.8 | 610 |  |  |  | 55 | 7.4162 | 69930 | 264.4428 | 4.5873e-12 | 9.0841e-14 | -7.5586e-11 | 4.5743e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3345.8 | 600 |  |  |  | 40 | 6.3246 | 41441 | 203.5706 | 4.2894e-12 | 8.8747e-14 | -5.2161e-11 | 3.3272e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3290.8 | 590 |  |  |  | 28 | 5.2915 | 30361 | 174.2441 | 3.987e-12 | 8.5561e-14 | -3.5698e-11 | 2.4178e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3235.2 | 580 |  |  |  | 24 | 4.899 | 14936 | 122.2129 | 4.444e-12 | 9.2855e-14 | -2.396e-11 | 1.8239e-13
R_Drift (MOhm): | Enter value |  |  |  | 3179.6 | 570 |  |  |  | 11 | 3.3166 | 2637 | 51.3517 | 4.2428e-12 | 8.7089e-14 | -1.5955e-11 | 1.3522e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3124.6 | 560 |  |  |  | 8 | 2.8284 | 57 | 7.5498 | 4.1337e-12 | 8.9854e-14 | -1.0142e-11 | 1.1745e-13
R_Transfer1 (MOhm): | Enter value |  |  |  | 3067.6 | 550 |  |  |  | 6 | 2.4495 | 16 | 4 | 4.369e-12 | 8.5043e-14 | -6.3142e-12 | 1.0746e-13
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 698.5753 | 3891.8625 | #VALUE! | #VALUE! | #VALUE! | -2.0657e-09 | 1.2671e-11 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 688.5956 | 3837.1741 | #VALUE! | #VALUE! | #VALUE! | -1.4322e-09 | 7.8793e-12 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 678.616 | 3781.8868 | #VALUE! | #VALUE! | #VALUE! | -9.9808e-10 | 5.8647e-12 | #VALUE! | #VALUE!
|  |  |  | 668.6363 | 3726.0008 | #VALUE! | #VALUE! | #VALUE! | -6.7158e-10 | 4.1692e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 658.6567 | 3672.1107 | #VALUE! | #VALUE! | #VALUE! | -4.7209e-10 | 2.6062e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 648.677 | 3615.6259 | #VALUE! | #VALUE! | #VALUE! | -3.242e-10 | 1.8972e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 638.6974 | 3561.3366 | #VALUE! | #VALUE! | #VALUE! | -2.3151e-10 | 1.3825e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 628.7177 | 3505.251 | #VALUE! | #VALUE! | #VALUE! | -1.5958e-10 | 8.7692e-13 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 618.7381 | 3450.363 | #VALUE! | #VALUE! | #VALUE! | -1.1369e-10 | 6.2372e-13 | #VALUE! | #VALUE!
|  |  |  | 608.7584 | 3393.8782 | #VALUE! | #VALUE! | #VALUE! | -8.0173e-11 | 4.6636e-13 | #VALUE! | #VALUE!
|  |  |  | 598.7788 | 3338.9901 | #VALUE! | #VALUE! | #VALUE! | -5.645e-11 | 3.4435e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 588.7991 | 3284.1021 | #VALUE! | #VALUE! | #VALUE! | -3.9685e-11 | 2.5647e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 578.8195 | 3228.6152 | #VALUE! | #VALUE! | #VALUE! | -2.8404e-11 | 2.0467e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 568.8398 | 3173.1284 | #VALUE! | #VALUE! | #VALUE! | -2.0198e-11 | 1.6084e-13 | #VALUE! | #VALUE!
|  |  |  | 558.8602 | 3118.2403 | #VALUE! | #VALUE! | #VALUE! | -1.4276e-11 | 1.4788e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 548.8806 | 3061.3564 | #VALUE! | #VALUE! | #VALUE! | -1.0683e-11 | 1.3704e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 961 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On