## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3493 | 700 | 17:06 | 987.97 | 22.86 | 279 | 16.7033 | 1586497 | 1259.5622 | -1.67e-12 | 2.01e-12 | -1.89e-08 | 3.9e-10
Fine Gain: | Enter value |  |  |  | 3443.1 | 690 | 17:17 | 988.06 | 22.84 | 284 | 16.8523 | 1556267 | 1247.5043 | -1.5e-12 | 1.96e-12 | -1.28e-08 | 2.8e-10
Diff Time (ns): | Enter value |  |  |  | 3393.2 | 680 | 17:29 | 988.49 | 22.5 | 233 | 15.2643 | 1527797 | 1236.0409 | -1.42e-12 | 1.51e-12 | -8.84e-09 | 1.82e-10
Int Time (ns): | Enter value |  |  |  | 3343.3 | 670 | 17:34 | 988.5 | 22.69 | 211 | 14.5258 | 1502352 | 1225.7047 | -1.27e-12 | 1.4e-12 | -6.27e-09 | 1.37e-10
Detector Settings |  |  |  |  | 3293.4 | 660 | 17:45 | 988.52 | 22.86 | 162 | 12.7279 | 1476258 | 1215.0136 | -1.2e-12 | 1.69e-11 | -4.26e-09 | 9.07e-11
[5 empty] | 3243.5 | 650 | 17:52 | 988.53 | 22.86 | 134 | 11.5758 | 1443436 | 1201.4308 | -1.16e-12 | 1.03e-12 | -2.98e-09 | 6.14e-11
Serial Number: | Enter value |  |  |  | 3193.6 | 640 | 18:15 | 988.55 | 22.86 | 122 | 11.0454 | 1388790 | 1178.4693 | -1.63e-12 | 7.92e-12 | -2.21e-09 | 4.75e-11
Position (ieta,iphi): | Enter value |  |  |  | 3143.7 | 630 | 18:22 | 988.56 | 22.86 | 89 | 9.434 | 1275034 | 1129.174 | -1.01e-12 | 1.07e-12 | -1.48e-09 | 3.02e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3093.8 | 620 | 18:37 | 988.57 | 22.91 | 76 | 8.7178 | 1022387 | 1011.1315 | -1.15e-12 | 8.39e-13 | -1.05e-09 | 2.43e-11
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3043.9 | 610 | 18:44 | 988.57 | 22.96 | 182 | 13.4907 | 554354 | 744.5495 | -4.87e-13 | 1.54e-11 | -7.51e-10 | 1.7e-11
Flow Rate (L/hr): | Enter value |  |  |  | 2994 | 600 | 18:51 | 988.58 | 22.94 | 69 | 8.3066 | 362854 | 602.3736 | -6.66e-13 | 1.75e-11 | -5.29e-10 | 1.08e-11
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 2944.1 | 590 | 18:59 | 988.58 | 23.11 | 47 | 6.8557 | 160618 | 400.7718 | -7.15e-13 | 8.38e-13 | -3.78e-10 | 7.11e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 2894.2 | 580 | 19:05 | 988.58 | 23.14 | 23 | 4.7958 | 25584 | 159.95 | -1.45e-12 | 8.06e-13 | -2.71e-10 | 5.46e-12
R_Drift (MOhm): | Enter value |  |  |  | 2844.3 | 570 | 19:13 | 988.58 | 23.18 | 33 | 5.7446 | 1192 | 34.5254 | -1.43e-12 | 9.03e-13 | -1.96e-10 | 4.08e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 2794.4 | 560 | 19:27 | 988.58 | 22.88 | 21 | 4.5826 | 43 | 6.5574 | -1.48e-12 | 9.82e-13 | -1.42e-10 | 2.68e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 2744.5 | 550 | 19:35 | 988.58 | 22.86 | 17 | 4.1231 | 20 | 4.4721 | -2.06e-12 | 7.88e-12 | -1.05e-10 | 2.21e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 680.5158 | 3395.7739 | #VALUE! | #VALUE! | #VALUE! | -1.8898e-08 | 3.9001e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 670.7942 | 3347.2629 | #VALUE! | #VALUE! | #VALUE! | -1.2799e-08 | 2.8001e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 661.0725 | 3298.7518 | #VALUE! | #VALUE! | #VALUE! | -8.8386e-09 | 1.8201e-10 | #VALUE! | #VALUE!
|  |  |  | 651.3509 | 3250.2407 | #VALUE! | #VALUE! | #VALUE! | -6.2687e-09 | 1.3701e-10 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 641.6292 | 3201.7297 | #VALUE! | #VALUE! | #VALUE! | -4.2588e-09 | 9.2261e-11 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 631.9075 | 3153.2186 | #VALUE! | #VALUE! | #VALUE! | -2.9788e-09 | 6.1409e-11 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 622.1859 | 3104.7076 | #VALUE! | #VALUE! | #VALUE! | -2.2084e-09 | 4.8156e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 612.4642 | 3056.1965 | #VALUE! | #VALUE! | #VALUE! | -1.479e-09 | 3.0219e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 602.7426 | 3007.6855 | #VALUE! | #VALUE! | #VALUE! | -1.0489e-09 | 2.4314e-11 | #VALUE! | #VALUE!
|  |  |  | 593.0209 | 2959.1744 | #VALUE! | #VALUE! | #VALUE! | -7.5051e-10 | 2.2938e-11 | #VALUE! | #VALUE!
|  |  |  | 583.2993 | 2910.6634 | #VALUE! | #VALUE! | #VALUE! | -5.2833e-10 | 2.0564e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 573.5776 | 2862.1523 | #VALUE! | #VALUE! | #VALUE! | -3.7729e-10 | 7.1592e-12 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 563.856 | 2813.6412 | #VALUE! | #VALUE! | #VALUE! | -2.6955e-10 | 5.5192e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 554.1343 | 2765.1302 | #VALUE! | #VALUE! | #VALUE! | -1.9457e-10 | 4.1787e-12 | #VALUE! | #VALUE!
|  |  |  | 544.4127 | 2716.6191 | #VALUE! | #VALUE! | #VALUE! | -1.4052e-10 | 2.8542e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 534.691 | 2668.1081 | #VALUE! | #VALUE! | #VALUE! | -1.0294e-10 | 8.184e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 296.0444 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0.15863 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 988.4875 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0.18161 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On