## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3899 | 700 |  | 961 | 22.3 | 359 | 18.9473 | 98096 | 313.2028 | -8.9995e-12 | 2.6942e-13 | -1.711e-09 | 1.1442e-11
Fine Gain: | Enter value |  |  |  | 3847 | 690 |  |  |  | 314 | 17.72 | 90550 | 300.9153 | -3.0002e-12 | 1.8548e-13 | -1.2038e-09 | 7.4309e-12
Diff Time (ns): | Enter value |  |  |  | 3790 | 680 |  |  |  | 313 | 17.6918 | 88566 | 297.6004 | -2.5295e-12 | 2.4795e-13 | -8.4928e-10 | 5.9054e-12
Int Time (ns): | Enter value |  |  |  | 3735 | 670 |  |  |  | 258 | 16.0624 | 86844 | 294.6931 | -4.2405e-13 | 1.3978e-13 | -5.7962e-10 | 3.9228e-12
Detector Settings |  |  |  |  | 3679 | 660 |  |  |  | 242 | 15.5563 | 81410 | 285.3244 | -4.5475e-15 | 1.1795e-13 | -4.0126e-10 | 2.7043e-12
[5 empty] | 3624 | 650 |  |  |  | 187 | 13.6748 | 78226 | 279.6891 | 1.2358e-12 | 1.171e-13 | -2.8062e-10 | 1.7902e-12
Serial Number: | Enter value |  |  |  | 3567 | 640 |  |  |  | 141 | 11.8743 | 76719 | 276.9819 | 1.4177e-12 | 9.4686e-14 | -1.9327e-10 | 1.1129e-12
Position (ieta,iphi): | Enter value |  |  |  | 3512 | 630 |  |  |  | 112 | 10.583 | 73553 | 271.2066 | 1.1391e-12 | 8.7943e-14 | -1.3257e-10 | 8.4917e-13
Gas (X/Y/Z): | Enter value |  |  |  | 3454 | 620 |  |  |  | 73 | 8.544 | 69845 | 264.282 | 2.8092e-12 | 8.4615e-14 | -9.3333e-11 | 6.2417e-13
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3399 | 610 |  |  |  | 60 | 7.746 | 62075 | 249.1486 | 2.7205e-12 | 7.6902e-14 | -6.4256e-11 | 4.7535e-13
Flow Rate (L/hr): | Enter value |  |  |  | 3343 | 600 |  |  |  | 50 | 7.0711 | 37862 | 194.5816 | 2.492e-12 | 8.1931e-14 | -4.5152e-11 | 3.1944e-13
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3288 | 590 |  |  |  | 31 | 5.5678 | 27524 | 165.9036 | 2.8604e-12 | 8.4545e-14 | -3.0793e-11 | 2.3484e-13
Total HV Divider R (MOhm): | Enter value |  |  |  | 3235 | 580 |  |  |  | 25 | 5 | 16729 | 129.3406 | 3.7164e-12 | 7.1786e-14 | -2.0897e-11 | 1.669e-13
R_Drift (MOhm): | Enter value |  |  |  | 3179 | 570 |  |  |  | 16 | 4 | 4717 | 68.6804 | 2.6921e-12 | 7.636e-14 | -1.4052e-11 | 1.3312e-13
R_GEM1 (MOhm): | Enter value |  |  |  | 3124 | 560 |  |  |  | 12 | 3.4641 | 359 | 18.9473 | 3.339e-12 | 7.8675e-14 | -9.7225e-12 | 1.106e-13
R_Transfer1 (MOhm): | Enter value |  |  |  | 3067 | 550 |  |  |  | 7 | 2.6458 | 17 | 4.1231 | 3.5686e-12 | 7.0611e-14 | -5.3728e-12 | 9.6241e-14
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 698.5753 | 3891.0642 | #VALUE! | #VALUE! | #VALUE! | -1.702e-09 | 1.1445e-11 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 688.5956 | 3839.17 | #VALUE! | #VALUE! | #VALUE! | -1.2008e-09 | 7.4333e-12 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 678.616 | 3782.286 | #VALUE! | #VALUE! | #VALUE! | -8.4675e-10 | 5.9106e-12 | #VALUE! | #VALUE!
|  |  |  | 668.6363 | 3727.398 | #VALUE! | #VALUE! | #VALUE! | -5.792e-10 | 3.9253e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 658.6567 | 3671.5119 | #VALUE! | #VALUE! | #VALUE! | -4.0125e-10 | 2.7069e-12 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 648.677 | 3616.6239 | #VALUE! | #VALUE! | #VALUE! | -2.8185e-10 | 1.794e-12 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 638.6974 | 3559.7399 | #VALUE! | #VALUE! | #VALUE! | -1.9469e-10 | 1.1169e-12 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 628.7177 | 3504.8518 | #VALUE! | #VALUE! | #VALUE! | -1.3371e-10 | 8.5371e-13 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 618.7381 | 3446.9699 | #VALUE! | #VALUE! | #VALUE! | -9.6143e-11 | 6.2988e-13 | #VALUE! | #VALUE!
|  |  |  | 608.7584 | 3392.0818 | #VALUE! | #VALUE! | #VALUE! | -6.6976e-11 | 4.8153e-13 | #VALUE! | #VALUE!
|  |  |  | 598.7788 | 3336.1958 | #VALUE! | #VALUE! | #VALUE! | -4.7644e-11 | 3.2978e-13 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 588.7991 | 3281.3078 | #VALUE! | #VALUE! | #VALUE! | -3.3654e-11 | 2.4959e-13 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 578.8195 | 3228.4156 | #VALUE! | #VALUE! | #VALUE! | -2.4613e-11 | 1.8169e-13 | #VALUE! | #VALUE!
Source Settings |  |  |  | 568.8398 | 3172.5296 | #VALUE! | #VALUE! | #VALUE! | -1.6744e-11 | 1.5346e-13 | #VALUE! | #VALUE!
|  |  |  | 558.8602 | 3117.6416 | #VALUE! | #VALUE! | #VALUE! | -1.3061e-11 | 1.3573e-13 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 548.8806 | 3060.7576 | #VALUE! | #VALUE! | #VALUE! | -8.9415e-12 | 1.1937e-13 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 961 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On