## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3493 | 700 | 17:06 | 983.15 | 23.95 | 412 | 20.2978 | 1528043 | 1236.1404 | -8.17e-12 | 7.31e-12 | -1.59e-08 | 3.49e-10
Fine Gain: | Enter value |  |  |  | 3443.1 | 690 | 17:17 | 983.15 | 23.95 | 399 | 19.975 | 1523037 | 1234.1139 | -8.29e-12 | 1.07e-11 | -1.08e-08 | 2.45e-10
Diff Time (ns): | Enter value |  |  |  | 3393.2 | 680 | 17:29 | 983.15 | 23.95 | 363 | 19.0526 | 1482289 | 1217.4929 | -6.97e-12 | 3.79e-11 | -7.38e-09 | 1.6e-10
Int Time (ns): | Enter value |  |  |  | 3343.3 | 670 | 17:34 | 983.15 | 23.95 | 354 | 18.8149 | 1456855 | 1207.0025 | -5.18e-12 | 9.13e-12 | -5.1e-09 | 1.53e-10
Detector Settings |  |  |  |  | 3293.4 | 660 | 17:45 | 983.15 | 23.95 | 275 | 16.5831 | 1436534 | 1198.555 | -4.19e-12 | 1.48e-12 | -3.52e-09 | 7.28e-11
[5 empty] | 3243.5 | 650 | 17:52 | 983.15 | 23.95 | 264 | 16.2481 | 1404016 | 1184.9118 | -4.07e-12 | 4.7e-12 | -2.45e-09 | 5.35e-11
Serial Number: | Enter value |  |  |  | 3193.6 | 640 | 18:15 | 983.15 | 23.95 | 236 | 15.3623 | 1340874 | 1157.9611 | -4.04e-12 | 1.5e-12 | -1.71e-09 | 3.5e-11
Position (ieta,iphi): | Enter value |  |  |  | 3143.7 | 630 | 18:22 | 983.15 | 23.95 | 205 | 14.3178 | 1194027 | 1092.7154 | -3.61e-12 | 1.81e-12 | -1.21e-09 | 2.43e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3093.8 | 620 | 18:37 | 983.15 | 23.95 | 150 | 12.2474 | 729481 | 854.0966 | -3.23e-12 | 9.1e-12 | -8.5e-10 | 1.81e-11
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3043.9 | 610 | 18:44 | 983.15 | 23.95 | 112 | 10.583 | 472310 | 687.2481 | -2.11e-12 | 6.26e-12 | -5.96e-10 | 1.27e-11
Flow Rate (L/hr): | Enter value |  |  |  | 2994 | 600 | 18:51 | 983.15 | 23.95 | 167 | 12.9228 | 277034 | 526.3402 | -2.64e-12 | 1.19e-12 | -4.25e-10 | 8.85e-12
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 2944.1 | 590 | 18:59 | 983.14 | 23.95 | 163 | 12.7671 | 90735 | 301.2225 | -2.59e-12 | 1.81e-12 | -3.05e-10 | 6.05e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 2894.2 | 580 | 19:05 | 983.14 | 23.95 | 155 | 12.4499 | 13215 | 114.9565 | -2.36e-12 | 1.17e-12 | -2.19e-10 | 8.37e-12
R_Drift (MOhm): | Enter value |  |  |  | 2844.3 | 570 | 19:13 | 983.14 | 23.97 | 143 | 11.9583 | 1591 | 39.8873 | -2.43e-12 | 1.2e-12 | -1.57e-10 | 3.46e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 2794.4 | 560 | 19:27 | 983.14 | 23.97 | 169 | 13 | 267 | 16.3401 | -2.72e-12 | 9.1e-12 | -1.14e-10 | 2.52e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 2744.5 | 550 | 19:35 | 983.14 | 23.97 | 124 | 11.1355 | 123 | 11.0905 | -2.61e-12 | 1.16e-12 | -8.31e-11 | 2.14e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 686.6609 | 3426.4379 | #VALUE! | #VALUE! | #VALUE! | -1.5892e-08 | 3.4908e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 676.8515 | 3377.4888 | #VALUE! | #VALUE! | #VALUE! | -1.0792e-08 | 2.4523e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 667.042 | 3328.5397 | #VALUE! | #VALUE! | #VALUE! | -7.373e-09 | 1.6443e-10 | #VALUE! | #VALUE!
|  |  |  | 657.2326 | 3279.5906 | #VALUE! | #VALUE! | #VALUE! | -5.0948e-09 | 1.5327e-10 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 647.4231 | 3230.6415 | #VALUE! | #VALUE! | #VALUE! | -3.5158e-09 | 7.2815e-11 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 637.6137 | 3181.6923 | #VALUE! | #VALUE! | #VALUE! | -2.4459e-09 | 5.3706e-11 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 627.8043 | 3132.7432 | #VALUE! | #VALUE! | #VALUE! | -1.706e-09 | 3.5032e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 617.9948 | 3083.7941 | #VALUE! | #VALUE! | #VALUE! | -1.2064e-09 | 2.4367e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 608.1854 | 3034.845 | #VALUE! | #VALUE! | #VALUE! | -8.4677e-10 | 2.0259e-11 | #VALUE! | #VALUE!
|  |  |  | 598.3759 | 2985.8959 | #VALUE! | #VALUE! | #VALUE! | -5.9389e-10 | 1.4159e-11 | #VALUE! | #VALUE!
|  |  |  | 588.5665 | 2936.9468 | #VALUE! | #VALUE! | #VALUE! | -4.2236e-10 | 8.9296e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 578.757 | 2887.9977 | #VALUE! | #VALUE! | #VALUE! | -3.0241e-10 | 6.315e-12 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 568.9476 | 2839.0486 | #VALUE! | #VALUE! | #VALUE! | -2.1664e-10 | 8.4514e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 559.1382 | 2790.0994 | #VALUE! | #VALUE! | #VALUE! | -1.5457e-10 | 3.6622e-12 | #VALUE! | #VALUE!
|  |  |  | 549.3287 | 2741.1503 | #VALUE! | #VALUE! | #VALUE! | -1.1128e-10 | 9.4425e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 539.5193 | 2692.2012 | #VALUE! | #VALUE! | #VALUE! | -8.049e-11 | 2.4342e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 297.1037 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0.0078062 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 983.1469 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0.0046351 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On