## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3493 | 700 | 11:15 | 988.7 | 26.48 | 537 | 23.1733 | 1543648 | 1242.4363 | -3.05e-12 | 5.66e-11 | -2.25e-08 | 4.73e-10
Fine Gain: | Enter value |  |  |  | 3443.1 | 690 | 11:20 | 988.77 | 26.48 | 542 | 23.2809 | 1504964 | 1226.7697 | -2.57e-12 | 2.79e-12 | -1.51e-08 | 3.41e-10
Diff Time (ns): | Enter value |  |  |  | 3393.2 | 680 | 11:24 | 988.66 | 26.48 | 380 | 19.4936 | 1476210 | 1214.9938 | -1.28e-12 | 7.16e-12 | -9.91e-09 | 2.04e-10
Int Time (ns): | Enter value |  |  |  | 3343.3 | 670 | 11:30 | 988.91 | 26.48 | 322 | 17.9444 | 1450791 | 1204.4879 | -1.39e-12 | 9.7e-12 | -6.8e-09 | 1.39e-10
Detector Settings |  |  |  |  | 3293.4 | 660 | 11:34 | 988.89 | 26.48 | 316 | 17.7764 | 1426726 | 1194.4564 | -1.81e-12 | 1.69e-12 | -4.68e-09 | 9.18e-11
[5 empty] | 3243.5 | 650 | 11:39 | 988.89 | 26.48 | 240 | 15.4919 | 1398942 | 1182.7688 | -1.34e-12 | 1.78e-12 | -3.26e-09 | 6.71e-11
Serial Number: | Enter value |  |  |  | 3193.6 | 640 | 11:47 | 989.08 | 26.48 | 232 | 15.2315 | 1348387 | 1161.2007 | -8.89e-13 | 1.74e-12 | -2.27e-09 | 4.28e-11
Position (ieta,iphi): | Enter value |  |  |  | 3143.7 | 630 | 11:57 | 989.18 | 26.84 | 209 | 14.4568 | 1241861 | 1114.3882 | -1.04e-12 | 9.99e-12 | -1.59e-09 | 3.61e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3093.8 | 620 | 12:05 | 989.48 | 26.84 | 188 | 13.7113 | 945611 | 972.4253 | -1.33e-12 | 1e-11 | -1.13e-09 | 2.61e-11
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3043.9 | 610 | 12:14 | 989.67 | 26.84 | 142 | 11.9164 | 543973 | 737.5453 | -7.84e-13 | 1.71e-12 | -7.94e-10 | 2.23e-11
Flow Rate (L/hr): | Enter value |  |  |  | 2994 | 600 | 12:19 | 989.67 | 26.84 | 138 | 11.7473 | 350417 | 591.9603 | -7.94e-13 | 1.53e-12 | -5.71e-10 | 1.11e-11
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 2944.1 | 590 | 12:24 | 989.67 | 26.84 | 128 | 11.3137 | 154597 | 393.1882 | -1.32e-12 | 9.48e-12 | -4.07e-10 | 8.95e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 2894.2 | 580 | 12:29 | 989.67 | 26.84 | 116 | 10.7703 | 31750 | 178.1853 | -6.65e-13 | 1.76e-12 | -2.9e-10 | 5.91e-12
R_Drift (MOhm): | Enter value |  |  |  | 2844.3 | 570 | 12:33 | 989.67 | 26.84 | 100 | 10 | 3917 | 62.5859 | -6.55e-13 | 1.77e-12 | -2.09e-10 | 4.57e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 2794.4 | 560 | 12:38 | 989.68 | 26.84 | 91 | 9.5394 | 643 | 25.3574 | -6.06e-13 | 1.53e-12 | -1.51e-10 | 3.46e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 2744.5 | 550 | 12:46 | 989.68 | 26.84 | 93 | 9.6437 | 159 | 12.6095 | -7.91e-13 | 1.89e-12 | -1.1e-10 | 2.6e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 688.6806 | 3436.516 | #VALUE! | #VALUE! | #VALUE! | -2.2497e-08 | 4.7637e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 678.8423 | 3387.4229 | #VALUE! | #VALUE! | #VALUE! | -1.5097e-08 | 3.4101e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 669.004 | 3338.3299 | #VALUE! | #VALUE! | #VALUE! | -9.9087e-09 | 2.0413e-10 | #VALUE! | #VALUE!
|  |  |  | 659.1657 | 3289.2368 | #VALUE! | #VALUE! | #VALUE! | -6.7986e-09 | 1.3934e-10 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 649.3274 | 3240.1437 | #VALUE! | #VALUE! | #VALUE! | -4.6782e-09 | 9.1816e-11 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 639.4891 | 3191.0506 | #VALUE! | #VALUE! | #VALUE! | -3.2587e-09 | 6.7124e-11 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 629.6508 | 3141.9575 | #VALUE! | #VALUE! | #VALUE! | -2.2691e-09 | 4.2835e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 619.8125 | 3092.8644 | #VALUE! | #VALUE! | #VALUE! | -1.589e-09 | 3.7457e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 609.9742 | 3043.7713 | #VALUE! | #VALUE! | #VALUE! | -1.1287e-09 | 2.795e-11 | #VALUE! | #VALUE!
|  |  |  | 600.1359 | 2994.6783 | #VALUE! | #VALUE! | #VALUE! | -7.9322e-10 | 2.2365e-11 | #VALUE! | #VALUE!
|  |  |  | 590.2976 | 2945.5852 | #VALUE! | #VALUE! | #VALUE! | -5.7021e-10 | 1.1205e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 580.4593 | 2896.4921 | #VALUE! | #VALUE! | #VALUE! | -4.0568e-10 | 1.3037e-11 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 570.621 | 2847.399 | #VALUE! | #VALUE! | #VALUE! | -2.8933e-10 | 6.1665e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 560.7827 | 2798.3059 | #VALUE! | #VALUE! | #VALUE! | -2.0834e-10 | 4.9008e-12 | #VALUE! | #VALUE!
|  |  |  | 550.9445 | 2749.2128 | #VALUE! | #VALUE! | #VALUE! | -1.5039e-10 | 3.7832e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 541.1062 | 2700.1197 | #VALUE! | #VALUE! | #VALUE! | -1.0921e-10 | 3.2144e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 299.8325 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0.17859 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 989.2669 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0.40232 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On