## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3897.4 | 700 |  | 970 | 22.3 | 312 | 17.6635 | 102075 | 319.4918 | 1.2724e-11 | 8.0802e-12 | -1.6046e-09 | 1.5171e-10
Fine Gain: | Enter value |  |  |  | 3842.4 | 690 |  | 970 | 22.3 | 317 | 17.8045 | 96216 | 310.187 | 1.3035e-11 | 3.9745e-12 | -1.1128e-09 | 1.0266e-10
Diff Time (ns): | Enter value |  |  |  | 3786.8 | 680 |  | 970 | 22.3 | 255 | 15.9687 | 91314 | 302.1821 | 1.3636e-11 | 3.5548e-12 | -7.7544e-10 | 7.2555e-11
Int Time (ns): | Enter value |  |  |  | 3731.4 | 670 |  | 970 | 22.3 | 261 | 16.1555 | 86951 | 294.8745 | 1.4787e-11 | 2.9289e-12 | -5.2631e-10 | 4.9536e-11
Detector Settings |  |  |  |  | 3676 | 660 |  | 970 | 22.3 | 215 | 14.6629 | 83466 | 288.9048 | 1.4467e-11 | 2.5043e-12 | -3.6147e-10 | 3.3891e-11
[5 empty] | 3620.6 | 650 |  | 970 | 22.3 | 183 | 13.5277 | 81241 | 285.0281 | 1.4382e-11 | 2.5084e-12 | -2.5184e-10 | 2.3532e-11
Serial Number: | Enter value |  |  |  | 3565 | 640 |  | 970 | 22.3 | 190 | 13.784 | 79148 | 281.3325 | 1.459e-11 | 2.4881e-12 | -1.7278e-10 | 1.7872e-11
Position (ieta,iphi): | Enter value |  |  |  | 3509.2 | 630 |  | 970 | 22.3 | 135 | 11.619 | 76772 | 277.0776 | 1.5246e-11 | 2.0499e-12 | -1.1593e-10 | 1.327e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3453.8 | 620 |  | 970 | 22.3 | 88 | 9.3808 | 74382 | 272.7306 | 1.5731e-11 | 2.2655e-12 | -7.6841e-11 | 8.5428e-12
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3398.4 | 610 |  | 970 | 22.3 | 81 | 9 | 69031 | 262.7375 | 1.5076e-11 | 2.1205e-12 | -4.9381e-11 | 6.0735e-12
Flow Rate (L/hr): | Enter value |  |  |  | 3343 | 600 |  | 970 | 22.3 | 40 | 6.3246 | 59209 | 243.329 | 1.5747e-11 | 1.9385e-12 | -3.1218e-11 | 5.0379e-12
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3287.2 | 590 |  | 970 | 22.3 | 42 | 6.4807 | 37350 | 193.2615 | 1.5456e-11 | 2.1096e-12 | -1.7092e-11 | 3.5977e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 3231.8 | 580 |  | 970 | 22.3 | 28 | 5.2915 | 26053 | 161.4094 | 1.5491e-11 | 1.9412e-12 | -8.3105e-12 | 2.8183e-12
R_Drift (MOhm): | Enter value |  |  |  | 3176.2 | 570 |  | 970 | 22.3 | 21 | 4.5826 | 14607 | 120.8594 | 1.5315e-11 | 2.1334e-12 | -1.5916e-12 | 2.6064e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 3121 | 560 |  | 970 | 22.3 | 8 | 2.8284 | 4057 | 63.6946 | 1.5746e-11 | 2.2057e-12 | 3.0547e-12 | 2.3408e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 3065.2 | 550 |  | 970 | 22.3 | 2 | 1.4142 | 350 | 18.7083 | 1.5792e-11 | 1.7822e-12 | 6.8627e-12 | 1.9443e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 692.0936 | 3853.3796 | #VALUE! | #VALUE! | #VALUE! | -1.6173e-09 | 1.5192e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 682.2066 | 3799.0008 | #VALUE! | #VALUE! | #VALUE! | -1.1258e-09 | 1.0274e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 672.3195 | 3744.0288 | #VALUE! | #VALUE! | #VALUE! | -7.8907e-10 | 7.2642e-11 | #VALUE! | #VALUE!
|  |  |  | 662.4325 | 3689.2545 | #VALUE! | #VALUE! | #VALUE! | -5.411e-10 | 4.9623e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 652.5454 | 3634.4802 | #VALUE! | #VALUE! | #VALUE! | -3.7594e-10 | 3.3984e-11 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 642.6584 | 3579.706 | #VALUE! | #VALUE! | #VALUE! | -2.6622e-10 | 2.3665e-11 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 632.7713 | 3524.734 | #VALUE! | #VALUE! | #VALUE! | -1.8737e-10 | 1.8045e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 622.8843 | 3469.5642 | #VALUE! | #VALUE! | #VALUE! | -1.3118e-10 | 1.3427e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 612.9972 | 3414.79 | #VALUE! | #VALUE! | #VALUE! | -9.2571e-11 | 8.8381e-12 | #VALUE! | #VALUE!
|  |  |  | 603.1102 | 3360.0157 | #VALUE! | #VALUE! | #VALUE! | -6.4457e-11 | 6.4331e-12 | #VALUE! | #VALUE!
|  |  |  | 593.2231 | 3305.2414 | #VALUE! | #VALUE! | #VALUE! | -4.6965e-11 | 5.398e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 583.3361 | 3250.0717 | #VALUE! | #VALUE! | #VALUE! | -3.2548e-11 | 4.1706e-12 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 573.449 | 3195.2974 | #VALUE! | #VALUE! | #VALUE! | -2.3801e-11 | 3.4221e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 563.562 | 3140.3254 | #VALUE! | #VALUE! | #VALUE! | -1.6907e-11 | 3.3682e-12 | #VALUE! | #VALUE!
|  |  |  | 553.6749 | 3085.7489 | #VALUE! | #VALUE! | #VALUE! | -1.2691e-11 | 3.2162e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 543.7878 | 3030.5791 | #VALUE! | #VALUE! | #VALUE! | -8.9289e-12 | 2.6375e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 970 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On