## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3493 | 700 | 14:40 | 990.75 | 27.49 | 576 | 24 | 1754019 | 1324.3938 | -6.04e-12 | 1.66e-11 | -3.72e-08 | 7.55e-10
Fine Gain: | Enter value |  |  |  | 3443.1 | 690 | 14:44 | 990.75 | 27.56 | 526 | 22.9347 | 1569242 | 1252.6939 | -4.28e-12 | 4.98e-12 | -2.49e-08 | 5.25e-10
Diff Time (ns): | Enter value |  |  |  | 3393.2 | 680 | 14:48 | 990.75 | 27.26 | 454 | 21.3073 | 1519171 | 1232.5466 | -3.02e-12 | 3.55e-11 | -1.69e-08 | 3.85e-10
Int Time (ns): | Enter value |  |  |  | 3343.3 | 670 | 14:51 | 990.75 | 27.22 | 458 | 21.4009 | 1481842 | 1217.3093 | -3.48e-12 | 1.58e-11 | -1.15e-08 | 2.44e-10
Detector Settings |  |  |  |  | 3293.4 | 660 | 14:55 | 990.75 | 27.56 | 433 | 20.8087 | 1452884 | 1205.3564 | -2.08e-12 | 1.55e-11 | -7.95e-09 | 1.69e-10
[5 empty] | 3243.5 | 650 | 14:59 | 990.75 | 27.46 | 371 | 19.2614 | 1429011 | 1195.4125 | -1.52e-12 | 2.09e-12 | -5.5e-09 | 1.25e-10
Serial Number: | Enter value |  |  |  | 3193.6 | 640 | 15:04 | 990.75 | 27.48 | 328 | 18.1108 | 1398781 | 1182.7007 | -1.59e-12 | 2.28e-12 | -3.86e-09 | 7.82e-11
Position (ieta,iphi): | Enter value |  |  |  | 3143.7 | 630 | 15:09 | 990.75 | 27.56 | 296 | 17.2047 | 1351946 | 1162.7321 | -1.49e-12 | 1.98e-12 | -2.7e-09 | 5.25e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3093.8 | 620 | 15:13 | 990.76 | 27.55 | 245 | 15.6525 | 1265549 | 1124.9662 | -2.06e-13 | 1.98e-12 | -2e-09 | 4.31e-11
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3043.9 | 610 | 15:18 | 990.75 | 27.53 | 259 | 16.0935 | 1062793 | 1030.9185 | -2.19e-13 | 2e-12 | -1.34e-09 | 3.22e-11
Flow Rate (L/hr): | Enter value |  |  |  | 2994 | 600 | 15:23 | 990.75 | 27.2 | 183 | 13.5277 | 594067 | 770.7574 | -3.99e-13 | 1.75e-12 | -9.57e-10 | 1.89e-11
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 2944.1 | 590 | 15:27 | 990.77 | 27.2 | 151 | 12.2882 | 388829 | 623.5615 | -1.2e-15 | 2.95e-12 | -6.78e-10 | 2.65e-11
Total HV Divider R (MOhm): | Enter value |  |  |  | 2894.2 | 580 | 15:30 | 990.84 | 27.2 | 193 | 13.8924 | 199844 | 447.0391 | -4.76e-15 | 2.36e-12 | -4.87e-10 | 1.81e-11
R_Drift (MOhm): | Enter value |  |  |  | 2844.3 | 570 | 15:35 | 990.93 | 27.2 | 116 | 10.7703 | 43985 | 209.726 | -2.24e-13 | 2.61e-12 | -3.47e-10 | 7.93e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 2794.4 | 560 | 15:39 | 990.82 | 27.2 | 84 | 9.1652 | 3350 | 57.8792 | 1.13e-13 | 1.87e-12 | -2.5e-10 | 5.99e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 2744.5 | 550 | 15:44 | 990.78 | 27.2 | 75 | 8.6603 | 286 | 16.9115 | -3.08e-13 | 1.33e-11 | -1.82e-10 | 1.61e-11
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 689.2018 | 3439.1171 | #VALUE! | #VALUE! | #VALUE! | -3.7194e-08 | 7.5518e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 679.3561 | 3389.9868 | #VALUE! | #VALUE! | #VALUE! | -2.4896e-08 | 5.2502e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 669.5103 | 3340.8566 | #VALUE! | #VALUE! | #VALUE! | -1.6897e-08 | 3.8663e-10 | #VALUE! | #VALUE!
|  |  |  | 659.6646 | 3291.7263 | #VALUE! | #VALUE! | #VALUE! | -1.1497e-08 | 2.4451e-10 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 649.8189 | 3242.5961 | #VALUE! | #VALUE! | #VALUE! | -7.9479e-09 | 1.6971e-10 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 639.9731 | 3193.4659 | #VALUE! | #VALUE! | #VALUE! | -5.4985e-09 | 1.2502e-10 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 630.1274 | 3144.3356 | #VALUE! | #VALUE! | #VALUE! | -3.8584e-09 | 7.8233e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 620.2816 | 3095.2054 | #VALUE! | #VALUE! | #VALUE! | -2.6985e-09 | 5.2537e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 610.4359 | 3046.0751 | #VALUE! | #VALUE! | #VALUE! | -1.9998e-09 | 4.3145e-11 | #VALUE! | #VALUE!
|  |  |  | 600.5902 | 2996.9449 | #VALUE! | #VALUE! | #VALUE! | -1.3398e-09 | 3.2262e-11 | #VALUE! | #VALUE!
|  |  |  | 590.7444 | 2947.8146 | #VALUE! | #VALUE! | #VALUE! | -9.566e-10 | 1.8981e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 580.8987 | 2898.6844 | #VALUE! | #VALUE! | #VALUE! | -6.78e-10 | 2.6664e-11 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 571.0529 | 2849.5541 | #VALUE! | #VALUE! | #VALUE! | -4.87e-10 | 1.8253e-11 | #VALUE! | #VALUE!
Source Settings |  |  |  | 561.2072 | 2800.4239 | #VALUE! | #VALUE! | #VALUE! | -3.4678e-10 | 8.3485e-12 | #VALUE! | #VALUE!
|  |  |  | 551.3615 | 2751.2937 | #VALUE! | #VALUE! | #VALUE! | -2.5011e-10 | 6.2751e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 541.5157 | 2702.1634 | #VALUE! | #VALUE! | #VALUE! | -1.8169e-10 | 2.0883e-11 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 300.5169 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0.15983 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 990.775 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0.047958 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On