## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3897 | 700 |  | 960 | 22.5 | 384 | 19.5959 | 101407 | 318.4447 | 1.451e-11 | 6.1648e-12 | -2.1447e-09 | 2.0626e-10
Fine Gain: | Enter value |  |  |  | 3842 | 690 |  | 960 | 22.5 | 360 | 18.9737 | 94523 | 307.4459 | 1.548e-11 | 3.86e-12 | -1.4963e-09 | 1.4262e-10
Diff Time (ns): | Enter value |  |  |  | 3786.6 | 680 |  | 960 | 22.5 | 314 | 17.72 | 89671 | 299.4512 | 1.5776e-11 | 3.3058e-12 | -1.0377e-09 | 1.0343e-10
Int Time (ns): | Enter value |  |  |  | 3731 | 670 |  | 960 | 22.5 | 306 | 17.4929 | 84880 | 291.3417 | 1.6334e-11 | 2.5009e-12 | -7.0427e-10 | 6.3358e-11
Detector Settings |  |  |  |  | 3675.4 | 660 |  | 960 | 22.5 | 280 | 16.7332 | 82210 | 286.7229 | 1.6704e-11 | 2.1186e-12 | -4.8863e-10 | 4.9631e-11
[5 empty] | 3620.2 | 650 |  | 960 | 22.5 | 241 | 15.5242 | 79228 | 281.4747 | 1.7126e-11 | 1.9693e-12 | -3.3444e-10 | 3.3088e-11
Serial Number: | Enter value |  |  |  | 3564.8 | 640 |  | 960 | 22.5 | 203 | 14.2478 | 77502 | 278.3918 | 1.7049e-11 | 1.7697e-12 | -2.2772e-10 | 2.192e-11
Position (ieta,iphi): | Enter value |  |  |  | 3509.4 | 630 |  | 960 | 22.5 | 156 | 12.49 | 76225 | 276.0888 | 1.6634e-11 | 1.6915e-12 | -1.5354e-10 | 1.6239e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3453.6 | 620 |  | 960 | 22.5 | 129 | 11.3578 | 73575 | 271.2471 | 1.7293e-11 | 1.5216e-12 | -1.0044e-10 | 1.1484e-11
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3398.2 | 610 |  | 960 | 22.5 | 79 | 8.8882 | 70292 | 265.1264 | 1.7127e-11 | 1.554e-12 | -6.7017e-11 | 7.6005e-12
Flow Rate (L/hr): | Enter value |  |  |  | 3342.6 | 600 |  | 960 | 22.5 | 85 | 9.2195 | 65440 | 255.8124 | 1.7288e-11 | 1.7663e-12 | -4.0746e-11 | 6.2455e-12
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3287 | 590 |  | 960 | 22.5 | 63 | 7.9373 | 52529 | 229.1921 | 1.7536e-11 | 1.7054e-12 | -2.4504e-11 | 4.1704e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 3231.4 | 580 |  | 960 | 22.5 | 48 | 6.9282 | 33431 | 182.8415 | 1.7318e-11 | 2.0653e-12 | -1.2125e-11 | 3.5946e-12
R_Drift (MOhm): | Enter value |  |  |  | 3176 | 570 |  | 960 | 22.5 | 27 | 5.1962 | 23321 | 152.7121 | 1.7341e-11 | 1.6919e-12 | -3.924e-12 | 2.5119e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 3120.8 | 560 |  | 960 | 22.5 | 30 | 5.4772 | 11844 | 108.8301 | 1.7537e-11 | 1.5015e-12 | 2.0047e-12 | 2.0542e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 3065.2 | 550 |  | 960 | 22.5 | 15 | 3.873 | 2761 | 52.5452 | 6.3228e-12 | 2.0397e-12 | 1.7791e-11 | 1.6191e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 699.7763 | 3895.7547 | #VALUE! | #VALUE! | #VALUE! | -2.1592e-09 | 2.0635e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 689.7795 | 3840.7723 | #VALUE! | #VALUE! | #VALUE! | -1.5118e-09 | 1.4268e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 679.7827 | 3785.39 | #VALUE! | #VALUE! | #VALUE! | -1.0535e-09 | 1.0348e-10 | #VALUE! | #VALUE!
|  |  |  | 669.7859 | 3729.8078 | #VALUE! | #VALUE! | #VALUE! | -7.206e-10 | 6.3408e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 659.7891 | 3674.2255 | #VALUE! | #VALUE! | #VALUE! | -5.0533e-10 | 4.9676e-11 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 649.7923 | 3619.0432 | #VALUE! | #VALUE! | #VALUE! | -3.5156e-10 | 3.3147e-11 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 639.7955 | 3563.6609 | #VALUE! | #VALUE! | #VALUE! | -2.4477e-10 | 2.1992e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 629.7987 | 3508.2786 | #VALUE! | #VALUE! | #VALUE! | -1.7017e-10 | 1.6327e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 619.8019 | 3452.4964 | #VALUE! | #VALUE! | #VALUE! | -1.1773e-10 | 1.1584e-11 | #VALUE! | #VALUE!
|  |  |  | 609.8051 | 3397.1141 | #VALUE! | #VALUE! | #VALUE! | -8.4144e-11 | 7.7578e-12 | #VALUE! | #VALUE!
|  |  |  | 599.8083 | 3341.5319 | #VALUE! | #VALUE! | #VALUE! | -5.8033e-11 | 6.4904e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 589.8115 | 3285.9496 | #VALUE! | #VALUE! | #VALUE! | -4.204e-11 | 4.5057e-12 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 579.8147 | 3230.3674 | #VALUE! | #VALUE! | #VALUE! | -2.9443e-11 | 4.1457e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 569.8179 | 3174.9851 | #VALUE! | #VALUE! | #VALUE! | -2.1265e-11 | 3.0286e-12 | #VALUE! | #VALUE!
|  |  |  | 559.8211 | 3119.8028 | #VALUE! | #VALUE! | #VALUE! | -1.5533e-11 | 2.5445e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 549.8242 | 3064.2205 | #VALUE! | #VALUE! | #VALUE! | 1.1468e-11 | 2.6042e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.65 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 960 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On