## Data Summary
QC5 Effective gain
Username: | Enter value | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | Enter value |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | Enter value |  |  | Ar/CO2:70/30 Range | 3883.4 | 700 |  | 969 | 22.5 | 359 | 18.9473 | 93363 | 305.5536 | 1.1762e-11 | 3.1991e-12 | -1.4461e-09 | 1.3372e-10
Fine Gain: | Enter value |  |  |  | 3828.4 | 690 |  | 969 | 22.5 | 326 | 18.0555 | 89768 | 299.6131 | 1.1986e-11 | 3.5546e-12 | -1.02e-09 | 1.0176e-10
Diff Time (ns): | Enter value |  |  |  | 3773.2 | 680 |  | 969 | 22.5 | 321 | 17.9165 | 88217 | 297.0135 | 1.221e-11 | 3.4899e-12 | -7.0175e-10 | 6.7299e-11
Int Time (ns): | Enter value |  |  |  | 3717.8 | 670 |  | 969 | 22.5 | 279 | 16.7033 | 83397 | 288.7854 | 1.3267e-11 | 1.8442e-12 | -4.9562e-10 | 4.2067e-11
Detector Settings |  |  |  |  | 3662.4 | 660 |  | 969 | 22.5 | 218 | 14.7648 | 81945 | 286.2604 | 1.3569e-11 | 1.9168e-12 | -3.4574e-10 | 3.2777e-11
[5 empty] | 3607.6 | 650 |  | 969 | 22.5 | 217 | 14.7309 | 79891 | 282.65 | 1.3756e-11 | 1.7103e-12 | -2.3918e-10 | 2.2331e-11
Serial Number: | Enter value |  |  |  | 3552.4 | 640 |  | 969 | 22.5 | 156 | 12.49 | 78666 | 280.4746 | 1.3783e-11 | 1.6072e-12 | -1.6392e-10 | 1.5113e-11
Position (ieta,iphi): | Enter value |  |  |  | 3496.4 | 630 |  | 969 | 22.5 | 130 | 11.4018 | 75976 | 275.6374 | 1.3793e-11 | 1.3864e-12 | -1.1199e-10 | 1.0672e-11
Gas (X/Y/Z): | Enter value |  |  |  | 3441.4 | 620 |  | 969 | 22.5 | 127 | 11.2694 | 73244 | 270.6363 | 1.3952e-11 | 1.4252e-12 | -7.4309e-11 | 8.033e-12
Gas Frac (%X/%Y/%Z): | Enter value |  |  |  | 3386.2 | 610 |  | 969 | 22.5 | 96 | 9.798 | 66156 | 257.2081 | 1.4693e-11 | 1.5516e-12 | -4.927e-11 | 5.2167e-12
Flow Rate (L/hr): | Enter value |  |  |  | 3330.6 | 600 |  | 969 | 22.5 | 73 | 8.544 | 51813 | 227.6247 | 1.4264e-11 | 1.4515e-12 | -3.1192e-11 | 4.203e-12
HV Circuit R_Equiv (MOhm): | Enter value |  |  |  | 3275.6 | 590 |  | 969 | 22.5 | 59 | 7.6811 | 33321 | 182.5404 | 1.4159e-11 | 1.5322e-12 | -1.8013e-11 | 3.5353e-12
Total HV Divider R (MOhm): | Enter value |  |  |  | 3220.2 | 580 |  | 969 | 22.5 | 44 | 6.6332 | 23251 | 152.4828 | 1.402e-11 | 1.702e-12 | -8.8502e-12 | 2.5055e-12
R_Drift (MOhm): | Enter value |  |  |  | 3165.2 | 570 |  | 969 | 22.5 | 40 | 6.3246 | 11542 | 107.4337 | 1.4226e-11 | 1.2956e-12 | -2.9838e-12 | 2.0471e-12
R_GEM1 (MOhm): | Enter value |  |  |  | 3109.8 | 560 |  | 969 | 22.5 | 30 | 5.4772 | 2572 | 50.7149 | 1.4057e-11 | 1.3644e-12 | 1.7493e-12 | 1.9055e-12
R_Transfer1 (MOhm): | Enter value |  |  |  | 3053.8 | 550 |  | 969 | 22.5 | 23 | 4.7958 | 168 | 12.9615 | 1.4069e-11 | 1.4605e-12 | 5.4602e-12 | 1.5588e-12
R_GEM2 (MOhm): | Enter value
R_Transfer2 (MOhm): | Enter value |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | Enter value |  |  | N_primary | Enter value | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | Enter value |  |  | Sigma N_primary | Enter value | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 693.2768 | 3846.1019 | #VALUE! | #VALUE! | #VALUE! | -1.4579e-09 | 1.3376e-10 | #VALUE! | #VALUE!
Width (ns): | Enter value |  |  | 683.3729 | 3791.6301 | #VALUE! | #VALUE! | #VALUE! | -1.032e-09 | 1.0182e-10 | #VALUE! | #VALUE!
Picoammeter Settings |  |  |  | 673.4689 | 3736.9603 | #VALUE! | #VALUE! | #VALUE! | -7.1396e-10 | 6.7389e-11 | #VALUE! | #VALUE!
|  |  |  | 663.565 | 3682.0924 | #VALUE! | #VALUE! | #VALUE! | -5.0889e-10 | 4.2108e-11 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 653.661 | 3627.2245 | #VALUE! | #VALUE! | #VALUE! | -3.5931e-10 | 3.2833e-11 | #VALUE! | #VALUE!
Triax Red: | Enter value |  |  | 643.7571 | 3572.9508 | #VALUE! | #VALUE! | #VALUE! | -2.5294e-10 | 2.2397e-11 | #VALUE! | #VALUE!
Triax Black: | Enter value |  |  | 633.8531 | 3518.281 | #VALUE! | #VALUE! | #VALUE! | -1.777e-10 | 1.5198e-11 | #VALUE! | #VALUE!
Triax Green: | Enter value |  |  | 623.9492 | 3462.8188 | #VALUE! | #VALUE! | #VALUE! | -1.2578e-10 | 1.0761e-11 | #VALUE! | #VALUE!
Scalar Settings |  |  |  | 614.0452 | 3408.3471 | #VALUE! | #VALUE! | #VALUE! | -8.8261e-11 | 8.1584e-12 | #VALUE! | #VALUE!
|  |  |  | 604.1413 | 3353.6772 | #VALUE! | #VALUE! | #VALUE! | -6.3964e-11 | 5.4425e-12 | #VALUE! | #VALUE!
|  |  |  | 594.2373 | 3298.6112 | #VALUE! | #VALUE! | #VALUE! | -4.5456e-11 | 4.4466e-12 | #VALUE! | #VALUE!
Make & Model: | Enter value |  |  | 584.3333 | 3244.1395 | #VALUE! | #VALUE! | #VALUE! | -3.2171e-11 | 3.853e-12 | #VALUE! | #VALUE!
Acquisition Time (s): | Enter value |  |  | 574.4294 | 3189.2716 | #VALUE! | #VALUE! | #VALUE! | -2.287e-11 | 3.0289e-12 | #VALUE! | #VALUE!
Source Settings |  |  |  | 564.5254 | 3134.7998 | #VALUE! | #VALUE! | #VALUE! | -1.7209e-11 | 2.4227e-12 | #VALUE! | #VALUE!
|  |  |  | 554.6215 | 3079.9319 | #VALUE! | #VALUE! | #VALUE! | -1.2308e-11 | 2.3436e-12 | #VALUE! | #VALUE!
Source: | Enter value |  |  | 544.7175 | 3024.4698 | #VALUE! | #VALUE! | #VALUE! | -8.6086e-12 | 2.1361e-12 | #VALUE! | #VALUE!
HV (kV): | Enter value
Current (uA): | Enter value |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.65 |  | P0 | 964.4 |  |  | #VALUE!
Filter Status: | Enter value |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | #VALUE!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 969 | [5 empty] | #VALUE!
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #VALUE!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On