## Data Summary
QC5 Effective gain
Username: | Marek, Mohit, Dhanush | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3899.8 | 700 |  | 968 | 22.1 | 304 | 17.4356 | 120272 | 346.8025 | 2.9608e-12 | 7.43e-12 | -4.0334e-09 | 3.238e-10
Fine Gain: | 4 |  |  |  | 3849.8 | 690 |  | 968 | 22.1 | 297 | 17.2337 | 112307 | 335.1224 | 2.2232e-12 | 8.7958e-12 | -2.7896e-09 | 2.5391e-10
Diff Time (ns): | 100 |  |  |  | 3793.8 | 680 |  | 968 | 22.1 | 270 | 16.4317 | 107255 | 327.4981 | 3.6501e-12 | 6.948e-12 | -1.8667e-09 | 1.7188e-10
Int Time (ns): | 100 |  |  |  | 3734.8 | 670 |  | 968 | 22.1 | 232 | 15.2315 | 104727 | 323.6155 | 3.8992e-12 | 7.0521e-12 | -1.2426e-09 | 1.0486e-10
Detector Settings |  |  |  |  | 3679.8 | 660 |  | 968 | 22.1 | 210 | 14.4914 | 102676 | 320.431 | 1.7568e-11 | 7.1553e-12 | -8.4494e-10 | 6.9143e-11
[5 empty] | 3624.8 | 650 |  | 968 | 22.1 | 184 | 13.5647 | 100453 | 316.9432 | 9.1437e-12 | 6.0678e-12 | -5.7901e-10 | 4.3077e-11
Serial Number: | GE1/1-X-S-CERN-0002 |  |  |  | 3569.8 | 640 |  | 968 | 22.1 | 135 | 11.619 | 98347 | 313.6033 | 7.3365e-12 | 7.8571e-12 | -4.017e-10 | 3.5369e-11
Position (ieta,iphi): | Enter Value |  |  |  | 3515.8 | 630 |  | 968 | 22.1 | 132 | 11.4891 | 95616 | 309.2184 | 5.2598e-12 | 9.057e-12 | -2.7818e-10 | 2.2596e-11
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3460 | 620 |  | 968 | 22.1 | 76 | 8.7178 | 90512 | 300.8521 | 5.8193e-12 | 5.5577e-12 | -1.9395e-10 | 1.6518e-11
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3405 | 610 |  | 968 | 22.1 | 59 | 7.6811 | 82797 | 287.7447 | 5.0798e-12 | 5.5266e-12 | -1.3444e-10 | 1.1464e-11
Flow Rate (L/hr): | 5 |  |  |  | 3348.2 | 600 |  | 968 | 22.1 | 48 | 6.9282 | 66925 | 258.6987 | 5.1587e-12 | 5.5356e-12 | -9.2651e-11 | 9.9188e-12
HV Circuit R_Equiv (MOhm): | 5.668 |  |  |  | 3291 | 590 |  | 968 | 22.1 | 38 | 6.1644 | 39729 | 199.3213 | 5.3615e-12 | 5.5281e-12 | -6.2161e-11 | 8.0453e-12
Total HV Divider R (MOhm): | 4.658 |  |  |  | 3236.8 | 580 |  | 968 | 22.1 | 30 | 5.4772 | 27317 | 165.2786 | 4.192e-12 | 5.4368e-12 | -4.3042e-11 | 7.674e-12
R_Drift (MOhm): | 1.123 |  |  |  | 3080 | 570 |  | 968 | 22.1 | 25 | 5 | 11074 | 105.2331 | 4.3242e-12 | 4.3225e-12 | -2.9887e-11 | 4.8186e-12
R_GEM1 (MOhm): | 0.563 |  |  |  | 3125 | 560 |  | 968 | 22.1 | 16 | 4 | 1564 | 39.5474 | 4.953e-12 | 6.0034e-12 | -1.9257e-11 | 5.0951e-12
R_Transfer1 (MOhm): | 0.437 |  |  |  | 3070.2 | 550 |  | 968 | 22.1 | 24 | 4.899 | 63 | 7.9373 | 4.8965e-12 | 5.5007e-12 | -1.2967e-11 | 6.4694e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.874 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.626 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3899.8 | 3260.6 | 1999.4667 | 5.7873 | -4.0364e-09 | 3.2389e-10 | 36419.7884 | 2940.1927
Width (ns): | 400 |  |  | 690 | 3849.8 | 3214.02 | 1866.8333 | 5.5928 | -2.7918e-09 | 2.5407e-10 | 25190.0902 | 2303.2663
Picoammeter Settings |  |  |  | 680 | 3793.8 | 3167.44 | 1783.0833 | 5.4652 | -1.8704e-09 | 1.7202e-10 | 16876.4517 | 1559.3155
|  |  |  | 670 | 3734.8 | 3120.86 | 1741.5833 | 5.3996 | -1.2465e-09 | 1.051e-10 | 11247.4391 | 953.506
Make & Model: | kiethley 6487 |  |  | 660 | 3679.8 | 3074.28 | 1707.7667 | 5.346 | -8.6251e-10 | 6.9513e-11 | 7782.3431 | 630.9916
Triax Red: | signal |  |  | 650 | 3624.8 | 3027.7 | 1671.15 | 5.2872 | -5.8815e-10 | 4.3502e-11 | 5306.8384 | 395.3268
Triax Black: | shielding |  |  | 640 | 3569.8 | 2981.12 | 1636.8667 | 5.2303 | -4.0904e-10 | 3.6231e-11 | 3690.739 | 328.541
Triax Green: | gnd |  |  | 630 | 3515.8 | 2934.54 | 1591.4 | 5.1572 | -2.8344e-10 | 2.4344e-11 | 2557.4312 | 220.8185
Scalar Settings |  |  |  | 620 | 3460 | 2887.96 | 1507.2667 | 5.0163 | -1.9977e-10 | 1.7428e-11 | 1802.5101 | 158.0593
|  |  |  | 610 | 3405 | 2841.38 | 1378.9667 | 4.7975 | -1.3952e-10 | 1.2727e-11 | 1258.9056 | 115.3733
|  |  |  | 600 | 3348.2 | 2794.8 | 1114.6167 | 4.3132 | -9.781e-11 | 1.1359e-11 | 882.5312 | 102.7891
Make & Model: | CAEN N1145 |  |  | 590 | 3291 | 2748.22 | 661.5167 | 3.3236 | -6.7523e-11 | 9.7615e-12 | 609.2531 | 88.2431
Acquisition Time (s): | 60 |  |  | 580 | 3236.8 | 2701.64 | 454.7833 | 2.7562 | -4.7234e-11 | 9.4048e-12 | 426.1927 | 84.9428
Source Settings |  |  |  | 570 | 3080 | 2655.06 | 184.15 | 1.7559 | -3.4211e-11 | 6.4733e-12 | 308.6874 | 58.4722
|  |  |  | 560 | 3125 | 2608.48 | 25.8 | 0.66249 | -2.421e-11 | 7.8741e-12 | 218.4483 | 71.0735
Source: | Ag X-Ray |  |  | 550 | 3070.2 | 2561.9 | 0.65 | 0.15546 | -1.7863e-11 | 8.4918e-12 | 161.1782 | 76.634
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.25 |  | P0 | 964.4 |  |  | 700,36419.7883628123,2940.19272761175
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 3.5527e-15 |  | T0 | 297.1 |  |  | 690,25190.0901613465,2303.26626070697
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 968 | [5 empty] | 680,16876.4516821202,1559.31549055437
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,11247.4390682524,953.506010222658
|  |  |  | Expo_fit_1_param_1 | 3.1229e-07 | [5 empty] | 660,7782.34307803541,630.991625602798
|  |  |  | Expo_fit_1_param_2 | 0.036305 | [5 empty] | 650,5306.83841798645,395.326762888121
640,3690.73896560625,328.541018818917
630,2557.43120547973,220.818491060904
620,1802.51014654011,158.059261735906
610,1258.90564498027,115.373252870274
600,882.531186138066,102.789114173276
590,609.253117090806,88.243077057679
580,426.192740758741,84.9427949594258
570,308.687358420013,58.4721647576039
560,218.448258721375,71.0735370034929
550,161.178235129502,76.6339877969854

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On