## Data Summary
QC5 Effective gain
Username: | Francesco, Dhanush | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3676 | 700 |  | 970 | 22 | 172 | 13.1149 | 207136 | 455.122 | 2.7285e-12 | 4.1086e-13 | -3.2134e-09 | 1.3955e-11
Fine Gain: | 4 |  |  |  | 3625.8 | 690 |  | 970 | 22 | 166 | 12.8841 | 206875 | 454.8351 | 3.0877e-12 | 4.2906e-13 | -2.3886e-09 | 9.6401e-12
Diff Time (ns): | 500 |  |  |  | 3572.8 | 680 |  | 970 | 22 | 135 | 11.619 | 203035 | 450.5941 | 2.3238e-12 | 5.6052e-13 | -1.7698e-09 | 7.491e-12
Int Time (ns): | 500 |  |  |  | 3518.8 | 670 |  | 970 | 22 | 116 | 10.7703 | 197555 | 444.4716 | 2.6523e-12 | 3.6485e-13 | -1.2173e-09 | 5.2604e-12
Detector Settings |  |  |  |  | 3465.8 | 660 |  | 970 | 22 | 85 | 9.2195 | 189055 | 434.8046 | 3.6755e-12 | 4.5383e-13 | -8.576e-10 | 3.5724e-12
[5 empty] | 3413.8 | 650 |  | 970 | 21.9 | 69 | 8.3066 | 174475 | 417.702 | 2.2578e-12 | 4.1608e-13 | -6.0024e-10 | 2.3895e-12
Serial Number: | GE11-X-S-CERN-0003 |  |  |  | 3363.8 | 640 |  | 970 | 22 | 64 | 8 | 151264 | 388.9267 | 5.2557e-12 | 3.3562e-13 | -4.3306e-10 | 1.7988e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3309 | 630 |  | 970 | 22 | 47 | 6.8557 | 86463 | 294.0459 | 3.3356e-12 | 4.2605e-13 | -3.0023e-10 | 1.0899e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3255.8 | 620 |  | 970 | 22 | 45 | 6.7082 | 60729 | 246.4325 | 5.9947e-12 | 3.4261e-13 | -2.0962e-10 | 8.811e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3203.2 | 610 |  | 970 | 22 | 27 | 5.1962 | 28724 | 169.4816 | 4.2849e-12 | 3.2822e-13 | -1.488e-10 | 6.314e-13
Flow Rate (L/hr): | 5 |  |  |  | 3151.2 | 600 |  | 970 | 22 | 11 | 3.3166 | 4823 | 69.4478 | 5.3899e-12 | 4.1551e-13 | -1.0581e-10 | 5.3259e-13
HV Circuit R_Equiv (MOhm): | 5.226 |  |  |  | 3098.2 | 590 |  | 970 | 22 | 25 | 5 | 84 | 9.1652 | 3.6744e-12 | 3.3118e-13 | -7.4897e-11 | 4.4322e-13
Total HV Divider R (MOhm): | 4.626 |  |  |  | 3046.4 | 580 |  | 970 | 22 | 13 | 3.6056 | 25 | 5 | 4.5929e-12 | 3.1204e-13 | -5.2509e-11 | 3.4792e-13
R_Drift (MOhm): | 1.121 |  |  |  | 2996.4 | 570 |  | 970 | 22 | 17 | 4.1231 | 34 | 5.831 | 4.5543e-12 | 3.4293e-13 | -3.7168e-11 | 3.3666e-13
R_GEM1 (MOhm): | 0.562 |  |  |  | 2941.4 | 560 |  | 970 | 22 | 15 | 3.873 | 23 | 4.7958 | 5.1966e-12 | 2.7666e-13 | -2.5514e-11 | 3.457e-13
R_Transfer1 (MOhm): | 0.437 |  |  |  | 2889.4 | 550 |  | 970 | 22 | 15 | 3.873 | 21 | 4.5826 | 4.2667e-12 | 2.9032e-13 | -1.8639e-11 | 3.0425e-13
R_GEM2 (MOhm): | 0.549
R_Transfer2 (MOhm): | 0.872 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3676 | 3238.2 | 3449.4 | 7.5885 | -3.2162e-09 | 1.3961e-11 | 16821.1405 | 163.0287
Width (ns): | 400 |  |  | 690 | 3625.8 | 3191.94 | 3445.15 | 7.5836 | -2.3917e-09 | 9.6497e-12 | 12508.8325 | 119.568
Picoammeter Settings |  |  |  | 680 | 3572.8 | 3145.68 | 3381.6667 | 7.5124 | -1.7721e-09 | 7.5119e-12 | 9268.4773 | 89.41
|  |  |  | 670 | 3518.8 | 3099.42 | 3290.65 | 7.41 | -1.22e-09 | 5.2731e-12 | 6380.6507 | 61.7875
Make & Model: | kiethley 6487 |  |  | 660 | 3465.8 | 3053.16 | 3149.5 | 7.2484 | -8.6127e-10 | 3.6011e-12 | 4504.6267 | 43.3408
Triax Red: | signal |  |  | 650 | 3413.8 | 3006.9 | 2906.7667 | 6.9631 | -6.025e-10 | 2.4255e-12 | 3151.1766 | 30.1091
Triax Black: | shielding |  |  | 640 | 3363.8 | 2960.64 | 2520 | 6.4835 | -4.3832e-10 | 1.8299e-12 | 2292.4908 | 22.0506
Triax Green: | gnd |  |  | 630 | 3309 | 2914.38 | 1440.2667 | 4.9021 | -3.0356e-10 | 1.1702e-12 | 1587.6885 | 15.058
Scalar Settings |  |  |  | 620 | 3255.8 | 2868.12 | 1011.4 | 4.1087 | -2.1561e-10 | 9.4537e-13 | 1127.6848 | 10.9516
|  |  |  | 610 | 3203.2 | 2821.86 | 478.2833 | 2.826 | -1.5308e-10 | 7.1161e-13 | 800.6584 | 7.8733
|  |  |  | 600 | 3151.2 | 2775.6 | 80.2 | 1.1588 | -1.112e-10 | 6.755e-13 | 581.5884 | 6.1547
Make & Model: | CAEN N1145 |  |  | 590 | 3098.2 | 2729.34 | 0.98333 | 0.17401 | -7.8571e-11 | 5.5329e-13 | 410.9429 | 4.5885
Acquisition Time (s): | 60 |  |  | 580 | 3046.4 | 2683.08 | 0.2 | 0.10274 | -5.7101e-11 | 4.6735e-13 | 298.6519 | 3.5598
Source Settings |  |  |  | 570 | 2996.4 | 2636.82 | 0.28333 | 0.11902 | -4.1722e-11 | 4.8056e-13 | 218.2138 | 3.1453
|  |  |  | 560 | 2941.4 | 2590.56 | 0.13333 | 0.10274 | -3.071e-11 | 4.4277e-13 | 160.6204 | 2.7019
Source: | Ag X-Ray |  |  | 550 | 2889.4 | 2544.3 | 0.1 | 0.1 | -2.2906e-11 | 4.2054e-13 | 119.8009 | 2.4322
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.1437 |  | P0 | 964.4 |  |  | 700,16821.1405167112,163.02870674743
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 0.024206 |  | T0 | 297.1 |  |  | 690,12508.8325346605,119.567957934847
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 970 | [5 empty] | 680,9268.47726237907,89.4099955461504
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,6380.65071560821,61.7875380696371
|  |  |  | Expo_fit_1_param_1 | 1.0655e-06 | [5 empty] | 660,4504.62673577353,43.3408410039766
|  |  |  | Expo_fit_1_param_2 | 0.033572 | [5 empty] | 650,3151.1766383353,30.1090737885673
640,2292.49078998647,22.0505678246493
630,1587.68850871116,15.0580042449154
620,1127.6848187609,10.9515643981053
610,800.658426229609,7.87329329063794
600,581.588353299222,6.15473610276492
590,410.94289781362,4.58853912080553
580,298.651883256219,3.5598127130352
570,218.213818117947,3.14530836374478
560,160.620449185111,2.70185496684463
550,119.800864710109,2.43220717619515

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On