## Data Summary
QC5 Effective gain
Username: | Francesco Dhanush | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3699.6 | 700 | 16:05 | 971 | 22.5 | 190 | 13.784 | 195430 | 442.0747 | 2.5216e-12 | 9.0854e-12 | -5.0316e-09 | 2.7549e-10
Fine Gain: | 4 |  |  |  | 3650 | 690 |  | 971 | 22.5 | 147 | 12.1244 | 194797 | 441.3581 | 3.4813e-12 | 1.086e-11 | -3.5631e-09 | 2.1413e-10
Diff Time (ns): | 100 |  |  |  | 3598 | 680 |  | 971 | 22.5 | 109 | 10.4403 | 191228 | 437.2962 | 4.2826e-12 | 4.3826e-12 | -2.4563e-09 | 1.5665e-10
Int Time (ns): | 100 |  |  |  | 3545 | 670 |  | 971 | 22.5 | 100 | 10 | 186658 | 432.0394 | 3.1264e-12 | 3.8664e-12 | -1.6982e-09 | 1.0482e-10
Detector Settings |  |  |  |  | 3492 | 660 |  | 971 | 22.5 | 75 | 8.6603 | 177677 | 421.5175 | 5.4613e-12 | 3.3476e-12 | -1.171e-09 | 6.847e-11
[5 empty] | 3540 | 650 |  | 971 | 22.5 | 48 | 6.9282 | 163323 | 404.1324 | 4.2881e-12 | 3.2468e-12 | -8.1533e-10 | 4.9207e-11
Serial Number: | GE1/1-X-S-CERN-0004 |  |  |  | 3386 | 640 |  | 971 | 22.5 | 55 | 7.4162 | 129291 | 359.5706 | 3.9779e-12 | 1.2811e-11 | -5.6651e-10 | 3.5791e-11
Position (ieta,iphi): | 4.2 |  |  |  | 3333.2 | 630 |  | 971 | 22.5 | 55 | 7.4162 | 77980 | 279.249 | 4.8907e-12 | 2.9016e-12 | -3.9314e-10 | 2.1716e-11
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3280 | 620 |  | 971 | 22.5 | 52 | 7.2111 | 52714 | 229.5953 | 4.9102e-12 | 2.4741e-12 | -2.7646e-10 | 1.6307e-11
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3227.6 | 610 |  | 971 | 22.5 | 33 | 5.7446 | 22026 | 148.4116 | 4.3517e-12 | 2.8243e-12 | -1.9446e-10 | 1.1485e-11
Flow Rate (L/hr): | 5 |  |  |  | 3174 | 600 |  | 970 | 22.7 | 20 | 4.4721 | 3196 | 56.5332 | 4.9559e-12 | 2.501e-12 | -1.3526e-10 | 9.1931e-12
HV Circuit R_Equiv (MOhm): | 5.045 |  |  |  | 3121.2 | 590 |  | 970 | 22.7 | 13 | 3.6056 | 100 | 10 | 4.6911e-12 | 2.4838e-12 | -9.4799e-11 | 5.7549e-12
Total HV Divider R (MOhm): | 4.445 |  |  |  | 3069.2 | 580 |  | 970 | 22.7 | 10 | 3.1623 | 18 | 4.2426 | 5.1796e-12 | 3.7172e-12 | -6.6725e-11 | 4.8212e-12
R_Drift (MOhm): | 1.1 |  |  |  | 3017.2 | 570 |  | 970 | 22.7 | 11 | 3.3166 | 24 | 4.899 | 5.3739e-12 | 3.2093e-12 | -4.6552e-11 | 4.9231e-12
R_GEM1 (MOhm): | 0.555 |  |  |  | 2964 | 560 |  | 970 | 22.7 | 6 | 2.4495 | 23 | 4.7958 | 5.5292e-12 | 2.6015e-12 | -3.1786e-11 | 3.5377e-12
R_Transfer1 (MOhm): | 0.436 |  |  |  | 2912 | 550 |  | 970 | 22.7 | 8 | 2.8284 | 20 | 4.4721 | 5.0802e-12 | 2.3729e-12 | -2.2242e-11 | 2.8892e-12
R_GEM2 (MOhm): | 0.544
R_Transfer2 (MOhm): | 0.865 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.619 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3699.6 | 3111.5 | 3254 | 7.3715 | -5.0342e-09 | 2.7564e-10 | 27910.6655 | 1547.3316
Width (ns): | 400 |  |  | 690 | 3650 | 3067.05 | 3244.1667 | 7.3587 | -3.5665e-09 | 2.1441e-10 | 19773.8604 | 1201.0538
Picoammeter Settings |  |  |  | 680 | 3598 | 3022.6 | 3185.3167 | 7.2903 | -2.4606e-09 | 1.5671e-10 | 13641.9824 | 876.861
|  |  |  | 670 | 3545 | 2978.15 | 3109.3 | 7.2026 | -1.7013e-09 | 1.0489e-10 | 9432.3629 | 587.2763
Make & Model: | kiethley 6487 |  |  | 660 | 3492 | 2933.7 | 2960.0333 | 7.0268 | -1.1765e-09 | 6.8552e-11 | 6522.6852 | 384.2677
Triax Red: | signal |  |  | 650 | 3540 | 2889.25 | 2721.25 | 6.7365 | -8.1962e-10 | 4.9314e-11 | 4544.1679 | 276.2425
Triax Black: | shielding |  |  | 640 | 3386 | 2844.8 | 2153.9333 | 5.9941 | -5.7048e-10 | 3.8015e-11 | 3162.9121 | 212.544
Triax Green: | gnd |  |  | 630 | 3333.2 | 2800.35 | 1298.75 | 4.6558 | -3.9803e-10 | 2.1909e-11 | 2206.7867 | 122.9728
Scalar Settings |  |  |  | 620 | 3280 | 2755.9 | 877.7 | 3.8285 | -2.8137e-10 | 1.6493e-11 | 1560.015 | 92.4399
|  |  |  | 610 | 3227.6 | 2711.45 | 366.55 | 2.4754 | -1.9881e-10 | 1.1827e-11 | 1102.2465 | 66.2657
|  |  |  | 600 | 3174 | 2667 | 52.9333 | 0.94516 | -1.4021e-10 | 9.5272e-12 | 777.3881 | 53.251
Make & Model: | CAEN N1145 |  |  | 590 | 3121.2 | 2622.55 | 1.45 | 0.17717 | -9.9491e-11 | 6.2681e-12 | 551.6018 | 35.0802
Acquisition Time (s): | 60 |  |  | 580 | 3069.2 | 2578.1 | 0.13333 | 0.088192 | -7.1904e-11 | 6.0878e-12 | 398.6551 | 33.9295
Source Settings |  |  |  | 570 | 3017.2 | 2533.65 | 0.21667 | 0.098601 | -5.1926e-11 | 5.8768e-12 | 287.8909 | 32.6784
|  |  |  | 560 | 2964 | 2489.2 | 0.28333 | 0.089753 | -3.7315e-11 | 4.3912e-12 | 206.8854 | 24.4121
Source: | Ag X-Ray |  |  | 550 | 2912 | 2444.75 | 0.2 | 0.088192 | -2.7322e-11 | 3.7388e-12 | 151.4795 | 20.7703
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.725 |  | P0 | 964.4 |  |  | 700,27910.6655058022,1547.33156376726
Filter Status: | 6 layers Cu tape |  |  | Err temperature (C) | 0.096825 |  | T0 | 297.1 |  |  | 690,19773.8604194975,1201.05375293531
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 970.625 | [5 empty] | 680,13641.9823947804,876.861041442099
|  |  |  | Err pressure (mbar) | 0.48412 | [5 empty] | 670,9432.36289228143,587.276268867969
|  |  |  | Expo_fit_1_param_1 | 6.081e-07 | [5 empty] | 660,6522.68517214678,384.26765757362
|  |  |  | Expo_fit_1_param_2 | 0.03501 | [5 empty] | 650,4544.16788136649,276.242515891741
640,3162.91211203686,212.543991881586
630,2206.78665102448,122.972840856281
620,1560.01496462848,92.4399248401065
610,1102.24646392327,66.2656775420134
600,777.388078760836,53.2509929870512
590,551.601831100323,35.0802320323396
580,398.655099012766,33.9294523105811
570,287.890891013308,32.6784163525356
560,206.885400071375,24.4121034103081
550,151.479545472948,20.7703059006455

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On