## Data Summary
QC5 Effective gain
Username: | Francesco, Dhanush | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3696.6 | 700 | 48:00 | 969 | 22.3 | 224 | 14.9666 | 201305 | 448.6703 | 4.8431e-13 | 7.5406e-13 | -9.0698e-09 | 4.1581e-11
Fine Gain: | 4 |  |  |  | 3646.8 | 690 |  | 969 | 22.3 | 206 | 14.3527 | 202395 | 449.8833 | -6.6166e-13 | 2.6806e-12 | -6.225e-09 | 2.4768e-11
Diff Time (ns): | 500 |  |  |  | 3593.8 | 680 |  | 969 | 22.3 | 198 | 14.0712 | 200524 | 447.7991 | 1.0459e-13 | 2.6878e-12 | -4.1443e-09 | 1.762e-11
Int Time (ns): | 500 |  |  |  | 3541.6 | 670 |  | 969 | 22.3 | 129 | 11.3578 | 197811 | 444.7595 | 2.9354e-12 | 3.3949e-13 | -2.8001e-09 | 1.2604e-11
Detector Settings |  |  |  |  | 3487.6 | 660 |  | 969 | 22.3 | 95 | 9.7468 | 193049 | 439.3734 | 2.932e-12 | 2.4005e-13 | -1.8881e-09 | 7.4732e-12
[5 empty] | 3434.6 | 650 |  | 969 | 22.3 | 94 | 9.6954 | 186916 | 432.3378 | 2.4477e-12 | 2.2665e-13 | -1.2813e-09 | 5.4698e-12
Serial Number: | GE11-X-S-CERN-0001 |  |  |  | 3381.8 | 640 |  | 969 | 22.3 | 71 | 8.4261 | 176397 | 419.9964 | 3.3242e-12 | 2.0767e-13 | -8.863e-10 | 3.7266e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3329.4 | 630 |  | 969 | 22.3 | 57 | 7.5498 | 157196 | 396.4795 | 4.0473e-12 | 2.4172e-13 | -6.0624e-10 | 2.4889e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3276.4 | 620 |  | 969 | 22.3 | 40 | 6.3246 | 106426 | 326.23 | 3.5607e-12 | 1.4255e-13 | -4.2042e-10 | 1.7443e-12
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3223.6 | 610 |  | 969 | 22.3 | 30 | 5.4772 | 69436 | 263.5071 | 3.9984e-12 | 1.4278e-13 | -2.881e-10 | 1.2387e-12
Flow Rate (L/hr): | 5 |  |  |  | 3170.8 | 600 |  | 969 | 22.3 | 32 | 5.6569 | 40241 | 200.6016 | 3.995e-12 | 1.5836e-13 | -2.0121e-10 | 9.1612e-13
HV Circuit R_Equiv (MOhm): | 5.238 |  |  |  | 3118.4 | 590 |  | 969 | 22.3 | 22 | 4.6904 | 10008 | 100.04 | 3.6243e-12 | 1.661e-13 | -1.3954e-10 | 5.9058e-13
Total HV Divider R (MOhm): | 4.638 |  |  |  | 3065.4 | 580 |  | 969 | 22.3 | 15 | 3.873 | 400 | 20 | 4.5259e-12 | 2.0073e-13 | -9.8375e-11 | 4.34e-13
R_Drift (MOhm): | 1.123 |  |  |  | 3012.8 | 570 |  | 969 | 22.3 | 14 | 3.7417 | 29 | 5.3852 | 4.5986e-12 | 2.1372e-13 | -6.807e-11 | 3.6137e-13
R_GEM1 (MOhm): | 0.562 |  |  |  | 2960.2 | 560 |  | 969 | 22.3 | 11 | 3.3166 | 32 | 5.6569 | 3.7437e-12 | 1.499e-13 | -4.7152e-11 | 2.5607e-13
R_Transfer1 (MOhm): | 0.437 |  |  |  | 2907.4 | 550 |  | 969 | 22.3 | 12 | 3.4641 | 26 | 5.099 | 3.3208e-12 | 1.3924e-13 | -3.2956e-11 | 2.366e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.874 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.625 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 692.8079 | 3658.6193 | 3180.2285 | 3351.35 | 7.482 | -9.0703e-09 | 4.1588e-11 | 48827.5312 | 479.0488
Width (ns): | 400 |  |  | 682.9106 | 3609.331 | 3134.7966 | 3369.8167 | 7.5019 | -6.2243e-09 | 2.4912e-11 | 33506.7529 | 320.0786
Picoammeter Settings |  |  |  | 673.0134 | 3556.8756 | 3089.3648 | 3338.7667 | 7.467 | -4.1444e-09 | 1.7824e-11 | 22309.9772 | 215.9932
|  |  |  | 663.1161 | 3505.2119 | 3043.9329 | 3294.7 | 7.4151 | -2.803e-09 | 1.2608e-11 | 15089.1177 | 147.4318
Make & Model: | kiethley 6487 |  |  | 653.2188 | 3451.7667 | 2998.5011 | 3215.9 | 7.3247 | -1.891e-09 | 7.4771e-12 | 10179.9248 | 97.0395
Triax Red: | signal |  |  | 643.3216 | 3399.3113 | 2953.0693 | 3113.7 | 7.2074 | -1.2838e-09 | 5.4745e-12 | 6910.8261 | 66.7954
Triax Black: | shielding |  |  | 633.4243 | 3347.0538 | 2907.6374 | 2938.7667 | 7.0013 | -8.8963e-10 | 3.7323e-12 | 4789.0509 | 46.143
Triax Green: | gnd |  |  | 623.5271 | 3295.1921 | 2862.2056 | 2618.9833 | 6.6092 | -6.1029e-10 | 2.5006e-12 | 3285.3106 | 31.5154
Scalar Settings |  |  |  | 613.6298 | 3242.7367 | 2816.7738 | 1773.1 | 5.4382 | -4.2398e-10 | 1.7501e-12 | 2282.3825 | 21.9242
|  |  |  | 603.7326 | 3190.4792 | 2771.3419 | 1156.7667 | 4.3927 | -2.921e-10 | 1.2469e-12 | 1572.419 | 15.201
|  |  |  | 593.8353 | 3138.2217 | 2725.9101 | 670.15 | 3.3447 | -2.052e-10 | 9.2971e-13 | 1104.6548 | 10.8099
Make & Model: | CAEN N1145 |  |  | 583.9381 | 3086.3601 | 2680.4783 | 166.4333 | 1.6692 | -1.4317e-10 | 6.1349e-13 | 770.6984 | 7.4561
Acquisition Time (s): | 60 |  |  | 574.0408 | 3033.9046 | 2635.0464 | 6.4167 | 0.33953 | -1.029e-10 | 4.7817e-13 | 553.94 | 5.4508
Source Settings |  |  |  | 564.1435 | 2981.845 | 2589.6146 | 0.25 | 0.10929 | -7.2669e-11 | 4.1983e-13 | 391.1907 | 4.0769
|  |  |  | 554.2463 | 2929.7855 | 2544.1828 | 0.35 | 0.10929 | -5.0895e-11 | 2.9672e-13 | 273.9804 | 2.8634
Source: | Ag X-Ray |  |  | 544.349 | 2877.528 | 2498.7509 | 0.23333 | 0.10274 | -3.6276e-11 | 2.7454e-13 | 195.2832 | 2.2479
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 692.807861616542,48827.5311760274,479.048819440724
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 682.910606450591,33506.7529307529,320.078635335055
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 969 | [5 empty] | 673.01335128464,22309.9771669616,215.993202455846
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 663.11609611869,15089.1177151364,147.431782114063
|  |  |  | Expo_fit_1_param_1 | 2.8873e-07 | [5 empty] | 653.218840952739,10179.9247829898,97.0395441322738
|  |  |  | Expo_fit_1_param_2 | 0.037216 | [5 empty] | 643.321585786789,6910.82608181074,66.7954126560455
633.424330620838,4789.0509250549,46.1429868178751
623.527075454887,3285.31058791679,31.515408182563
613.629820288937,2282.38249494332,21.9242009878396
603.732565122986,1572.41904647411,15.2010273661766
593.835309957036,1104.65482775036,10.8098688964433
583.938054791085,770.698366404684,7.45614000751445
574.040799625134,553.940028389912,5.45081619204614
564.143544459184,391.190730681817,4.07687588265708
554.246289293233,273.980392898727,2.86335691706015
544.349034127283,195.283245500451,2.24793810686872

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On