## Data Summary
QC5 Effective gain
Username: | Marek | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3896.8 | 700 | 15:01 | 977 | 22.5 | 260 | 16.1245 | 101154 | 318.0472 | 1.5712e-12 | 4.5828e-13 | -2.1976e-09 | 1.4028e-11
Fine Gain: | 4 |  |  |  |  | 690 | 15:15 | 977 | 22.5 | 193 | 13.8924 | 98600 | 314.0064 | 3.4129e-12 | 3.8679e-13 | -1.4389e-09 | 8.5397e-12
Diff Time (ns): | 100 |  |  |  |  | 680 | 15:21 | 977 | 22.5 | 152 | 12.3288 | 97835 | 312.7859 | 3.0082e-12 | 3.4021e-13 | -1.0043e-09 | 5.8525e-12
Int Time (ns): | 100 |  |  |  |  | 670 | 15:27 | 977 | 22.5 | 112 | 10.583 | 95562 | 309.131 | 3.4879e-12 | 3.7934e-13 | -6.9709e-10 | 4.1521e-12
Detector Settings | [5 empty] | 660 | 15:39 | 977 | 22.5 | 87 | 9.3274 | 92047 | 303.3925 | 4.3258e-12 | 3.1036e-13 | -4.8599e-10 | 2.8945e-12
[6 empty] | 650 | 15:43 | 977 | 22.5 | 60 | 7.746 | 87009 | 294.9729 | 4.2576e-12 | 3.4359e-13 | -3.4e-10 | 1.8549e-12
Serial Number: | GE11-X-S-CERN-0006 |  |  |  |  | 640 | 15:58 | 977 | 22.5 | 61 | 7.8102 | 77310 | 278.0468 | 4.17e-12 | 2.9078e-13 | -2.3765e-10 | 1.4834e-12
Position (ieta,iphi): | Enter Value |  |  |  |  | 630 | 16:05 | 977 | 22.5 | 38 | 6.1644 | 45369 | 213 | 4.6339e-12 | 3.5219e-13 | -1.6799e-10 | 9.7199e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  |  | 620 | 16:19 | 977 | 22.5 | 26 | 5.099 | 33642 | 183.4176 | 4.0211e-12 | 4.4721e-13 | -1.1856e-10 | 7.1815e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  |  | 610 | 16:27 | 977 | 22.5 | 24 | 4.899 | 19835 | 140.8368 | 4.17e-12 | 2.6856e-13 | -8.333e-11 | 5.7944e-13
Flow Rate (L/hr): | 5 |  |  |  |  | 600 | 16:43 | 977 | 22.5 | 19 | 4.3589 | 5153 | 71.7844 | 4.8055e-12 | 2.7291e-13 | -5.9042e-11 | 4.4994e-13
HV Circuit R_Equiv (MOhm): | 5.6 |  |  |  |  | 590 | 16:52 | 977 | 22.5 | 9 | 3 | 217 | 14.7309 | 4.8828e-12 | 2.6401e-13 | -4.0638e-11 | 3.9158e-13
Total HV Divider R (MOhm): | 4.62 |  |  |  |  | 580 | 17:05 | 977 | 22.5 | 7 | 2.6458 | 13 | 3.6056 | 4.4156e-12 | 2.5938e-13 | -2.6938e-11 | 3.1595e-13
R_Drift (MOhm): | 1.12 |  |  |  |  | 570 | 17:12 | 977 | 22.5 | 8 | 2.8284 | 17 | 4.1231 | 4.0734e-12 | 2.9794e-13 | -1.8634e-11 | 2.8645e-13
R_GEM1 (MOhm): | 0.562 |  |  |  |  | 560 | 17:27 | 977 | 22.5 | 5 | 2.2361 | 16 | 4 | 3.6312e-12 | 2.7671e-13 | -1.2694e-11 | 2.7321e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  |  | 550 | 17:33 | 977 | 22.5 | 3 | 1.7321 | 11 | 3.3166 | 3.9267e-12 | 2.4689e-13 | -8.5208e-12 | 2.5887e-13
R_GEM2 (MOhm): | 0.547
R_Transfer2 (MOhm): | 0.872 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.524 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | 0 |  |  | 687.6001 | 3827.7713 | 3120.4394 | 1681.5667 | 5.3076 | -2.1991e-09 | 1.4035e-11 | 23593.8875 | 259.4718
Width (ns): | 400 |  |  | 677.7772 | 0 | 3075.8617 | 1640.1167 | 5.2386 | -1.4423e-09 | 8.5484e-12 | 15474.4198 | 166.1889
Picoammeter Settings |  |  |  | 667.9543 | 0 | 3031.284 | 1628.05 | 5.2171 | -1.0073e-09 | 5.8624e-12 | 10807.5192 | 115.4334
|  |  |  | 658.1315 | 0 | 2986.7063 | 1590.8333 | 5.1552 | -7.0057e-10 | 4.1694e-12 | 7516.2467 | 80.8237
Make & Model: | kiethley 6487 |  |  | 648.3086 | 0 | 2942.1286 | 1532.6667 | 5.0589 | -4.9031e-10 | 2.9111e-12 | 5260.425 | 56.525
Triax Red: | signal |  |  | 638.4858 | 0 | 2897.5509 | 1449.15 | 4.9179 | -3.4426e-10 | 1.8864e-12 | 3693.4237 | 38.7792
Triax Black: | shielding |  |  | 628.6629 | 0 | 2852.9732 | 1287.4833 | 4.6359 | -2.4182e-10 | 1.5116e-12 | 2594.4627 | 28.3362
Triax Green: | gnd |  |  | 618.8401 | 0 | 2808.3955 | 755.5167 | 3.5515 | -1.7262e-10 | 1.0338e-12 | 1851.9993 | 19.9535
Scalar Settings |  |  |  | 609.0172 | 0 | 2763.8178 | 560.2667 | 3.0581 | -1.2259e-10 | 8.4602e-13 | 1315.1794 | 14.8704
|  |  |  | 599.1943 | 0 | 2719.2401 | 330.1833 | 2.3487 | -8.75e-11 | 6.3865e-13 | 938.7639 | 10.8461
|  |  |  | 589.3715 | 0 | 2674.6624 | 85.5667 | 1.1986 | -6.3848e-11 | 5.2624e-13 | 685.0028 | 8.3375
Make & Model: | CAEN N1145 |  |  | 579.5486 | 0 | 2630.0846 | 3.4667 | 0.25055 | -4.5521e-11 | 4.7227e-13 | 488.3851 | 6.6936
Acquisition Time (s): | 60 |  |  | 569.7258 | 0 | 2585.5069 | 0.1 | 0.074536 | -3.1354e-11 | 4.0878e-13 | 336.3845 | 5.3208
Source Settings |  |  |  | 559.9029 | 0 | 2540.9292 | 0.15 | 0.083333 | -2.2708e-11 | 4.133e-13 | 243.6254 | 4.9419
|  |  |  | 550.0801 | 0 | 2496.3515 | 0.18333 | 0.076376 | -1.6325e-11 | 3.8886e-13 | 175.1507 | 4.4571
Source: | Ag X-Ray |  |  | 540.2572 | 0 | 2451.7738 | 0.13333 | 0.062361 | -1.2448e-11 | 3.5773e-13 | 133.5463 | 4.02
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.65 |  | P0 | 964.4 |  |  | 687.600065732652,23593.8874937417,259.471838521607
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 677.777207650757,15474.4198189118,166.188915470781
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 977 | [5 empty] | 667.954349568862,10807.5191632361,115.433383013881
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 658.131491486967,7516.24673806012,80.8236584332415
|  |  |  | Expo_fit_1_param_1 | 7.3832e-07 | [5 empty] | 648.308633405072,5260.42497440443,56.5249775219612
|  |  |  | Expo_fit_1_param_2 | 0.035032 | [5 empty] | 638.485775323177,3693.42371927857,38.7791678103243
628.662917241282,2594.46270526701,28.3362098222118
618.840059159387,1851.99933835905,19.9535274078343
609.017201077492,1315.17938414751,14.8703931990486
599.194342995597,938.763945933967,10.846091643083
589.371484913702,685.002753872939,8.33748591173052
579.548626831807,488.385094132092,6.69364061673848
569.725768749912,336.384518334946,5.32077758958847
559.902910668017,243.625382249111,4.94193464118994
550.080052586122,175.150724254506,4.45710239671624
540.257194504227,133.546322168485,4.01998833364346

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On