## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range |  | 700 |  | 947 | 22.6 | 275 | 16.5831 | 79453 | 281.8741 | 6.1391e-12 | 5.8627e-13 | -2.6575e-09 | 1.9675e-11
Fine Gain: | 4 |  |  |  |  | 690 |  |  |  | 241 | 15.5242 | 75158 | 274.1496 | 6.5631e-12 | 5.5007e-13 | -1.8588e-09 | 1.2925e-11
Diff Time (ns): | 500 |  |  |  |  | 680 |  |  |  | 255 | 15.9687 | 72083 | 268.4828 | 6.2096e-12 | 1.4233e-12 | -1.2617e-09 | 8.8373e-12
Int Time (ns): | 500 |  |  |  |  | 670 |  |  |  | 217 | 14.7309 | 70453 | 265.4298 | 8.3423e-12 | 2.1518e-13 | -8.4911e-10 | 5.7477e-12
Detector Settings | [5 empty] | 660 |  |  |  | 208 | 14.4222 | 70128 | 264.8169 | 8.6879e-12 | 1.672e-13 | -5.7971e-10 | 4.2808e-12
[6 empty] | 650 |  |  |  | 153 | 12.3693 | 68531 | 261.7843 | 9.2348e-12 | 1.3834e-13 | -3.9551e-10 | 2.6218e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  |  | 640 |  |  |  | 120 | 10.9545 | 66264 | 257.4179 | 9.1552e-12 | 1.14e-13 | -2.6872e-10 | 2.0025e-12
Position (ieta,iphi): | Enter Value |  |  |  |  | 630 |  |  |  | 93 | 9.6437 | 64965 | 254.8823 | 9.6372e-12 | 1.1825e-13 | -1.8524e-10 | 1.3944e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  |  | 620 |  |  |  | 57 | 7.5498 | 60960 | 246.9008 | 9.5986e-12 | 1.0246e-13 | -1.2409e-10 | 1.0374e-12
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  |  | 610 |  |  |  | 39 | 6.245 | 54530 | 233.5166 | 1.0237e-11 | 9.4623e-14 | -8.4677e-11 | 6.6305e-13
Flow Rate (L/hr): | 5 |  |  |  |  | 600 |  |  |  | 36 | 6 | 35346 | 188.0053 | 9.8555e-12 | 1.0087e-13 | -5.6514e-11 | 4.5257e-13
HV Circuit R_Equiv (MOhm): | [5 empty] | 590 |  |  |  | 17 | 4.1231 | 24419 | 156.2658 | 1.005e-11 | 1.1506e-13 | -3.6549e-11 | 3.6061e-13
Total HV Divider R (MOhm): | [5 empty] | 580 |  |  |  | 13 | 3.6056 | 14384 | 119.9333 | 9.5929e-12 | 3.5862e-13 | -2.3068e-11 | 2.5816e-13
R_Drift (MOhm): | [5 empty] | 570 |  |  |  | 5 | 2.2361 | 4109 | 64.1015 | 9.9521e-12 | 4.9337e-13 | -1.3174e-11 | 8.4156e-13
R_GEM1 (MOhm): | [5 empty] | 560 |  |  |  | 2 | 1.4142 | 260 | 16.1245 | 9.0301e-12 | 1.8841e-13 | -6.8758e-12 | 2.0985e-13
R_Transfer1 (MOhm): | [5 empty] | 550 |  |  |  | 1 | 1 | 5 | 2.2361 | 9.491e-12 | 6.3356e-13 | -3.8392e-12 | 9.3654e-14
R_GEM2 (MOhm):
R_Transfer2 (MOhm): | [5 empty] | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): |  |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): |  |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 0 | 0 | 1319.6333 | 4.706 | -2.6636e-09 | 1.9684e-11 | 36414.9442 | 427.1259
Width (ns): | 400 |  |  | 690 | 0 | 0 | 1248.6167 | 4.5765 | -1.8653e-09 | 1.2937e-11 | 25501.1747 | 291.9512
Picoammeter Settings |  |  |  | 680 | 0 | 0 | 1197.1333 | 4.4826 | -1.2679e-09 | 8.9512e-12 | 17334.2609 | 199.7628
|  |  |  | 670 | 0 | 0 | 1170.6 | 4.4306 | -8.5745e-10 | 5.7518e-12 | 11722.4725 | 132.6059
Make & Model: | kiethley 6487 |  |  | 660 | 0 | 0 | 1165.3333 | 4.4202 | -5.884e-10 | 4.2841e-12 | 8044.113 | 93.8025
Triax Red: | signal |  |  | 650 | 0 | 0 | 1139.6333 | 4.3679 | -4.0475e-10 | 2.6254e-12 | 5533.3769 | 61.8757
Triax Black: | shielding |  |  | 640 | 0 | 0 | 1102.4 | 4.2942 | -2.7787e-10 | 2.0058e-12 | 3798.8598 | 44.1504
Triax Green: | gnd |  |  | 630 | 0 | 0 | 1081.2 | 4.2511 | -1.9488e-10 | 1.3994e-12 | 2664.264 | 30.9021
Scalar Settings |  |  |  | 620 | 0 | 0 | 1015.05 | 4.1169 | -1.3369e-10 | 1.0424e-12 | 1827.6473 | 21.9144
|  |  |  | 610 | 0 | 0 | 908.1833 | 3.8933 | -9.4915e-11 | 6.6976e-13 | 1297.6045 | 14.9512
|  |  |  | 600 | 0 | 0 | 588.5 | 3.135 | -6.6369e-11 | 4.6367e-13 | 907.3502 | 10.4158
Make & Model: | CAEN N1145 |  |  | 590 | 0 | 0 | 406.7 | 2.6053 | -4.6599e-11 | 3.7852e-13 | 637.0678 | 7.7751
Acquisition Time (s): | 60 |  |  | 580 | 0 | 0 | 239.5167 | 1.9998 | -3.2661e-11 | 4.4187e-13 | 446.5178 | 7.2825
Source Settings |  |  |  | 570 | 0 | 0 | 68.4 | 1.069 | -2.3126e-11 | 9.7552e-13 | 316.1637 | 13.644
|  |  |  | 560 | 0 | 0 | 4.3 | 0.26977 | -1.5906e-11 | 2.8202e-13 | 217.4538 | 4.3346
Source: | Ag X-Ray |  |  | 550 | 0 | 0 | 0.066667 | 0.040825 | -1.333e-11 | 6.4045e-13 | 182.2408 | 8.9117
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.75 |  | P0 | 964.4 |  |  | 700,36414.9442145007,427.125860252277
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,25501.1746658002,291.95118516179
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 947 | [5 empty] | 680,17334.2608668892,199.76275788304
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,11722.4724981058,132.605879607069
|  |  |  | Expo_fit_1_param_1 | 3.7494e-07 | [5 empty] | 660,8044.11295912851,93.8024637307264
|  |  |  | Expo_fit_1_param_2 | 0.036066 | [5 empty] | 650,5533.37688675279,61.8756504777189
640,3798.85975491221,44.1503719998923
630,2664.26403868266,30.9021157551563
620,1827.64725228598,21.9143840108387
610,1297.60452620661,14.9512451327025
600,907.350224677284,10.4157696608952
590,637.067751217803,7.77507512928513
580,446.517835731781,7.28249383076812
570,316.163656271596,13.643965393967
560,217.453825012395,4.33456445075533
550,182.240751913929,8.91165936586342

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On