## Data Summary
QC5 Effective gain
Username: | Benussi | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 1 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
|  |  |  | Ar/CO2:70/30 Range | 3675 | 750 |  | 1005.5102 | 28.1299 | 44 | 6.6332 | 25348 | 159.2106 | 1.8879e-11 | 8.2915e-13 | 1.2125e-09 | 8.9254e-11
[5 empty] | 3626 | 740 |  | 1005.4829 | 28.1294 | 34 | 5.831 | 25304 | 159.0723 | 1.8879e-11 | 8.2915e-13 | 8.5487e-10 | 6.1045e-11
[5 empty] | 3577 | 730 |  | 1005.4505 | 28.1115 | 23 | 4.7958 | 25263 | 158.9434 | 1.8879e-11 | 8.2915e-13 | 5.7771e-10 | 3.9341e-11
[5 empty] | 3528 | 720 |  | 1005.3884 | 28.0982 | 21 | 4.5826 | 24267 | 155.7787 | 1.8879e-11 | 8.2915e-13 | 3.9946e-10 | 2.7703e-11
[5 empty] | 3479 | 710 |  | 1005.3916 | 28.0867 | 12 | 3.4641 | 18585 | 136.3268 | 1.8879e-11 | 8.2915e-13 | 2.7906e-10 | 1.9188e-11
[5 empty] | 3430 | 700 |  | 1005.4065 | 28.0702 | 6 | 2.4495 | 12718 | 112.7741 | 1.8879e-11 | 8.2915e-13 | 1.972e-10 | 1.5634e-11
Coarse Gain: | 18 |  |  |  | 3381 | 690 |  | 1005.3724 | 28.0307 | 7 | 2.6458 | 8748 | 93.5307 | 1.8879e-11 | 8.2915e-13 | 1.4039e-10 | 9.1337e-12
Fine Gain: | 1 |  |  |  | 3332 | 680 |  | 1005.3512 | 28.0023 | 0 | 0 | 2733 | 52.2781 | 1.8879e-11 | 8.2915e-13 | 1.0212e-10 | 6.3412e-12
Diff Time (ns): | 10 |  |  |  | 3283 | 670 |  | 1005.3463 | 27.9587 | 0 | 0 | 354 | 18.8149 | 1.8879e-11 | 8.2915e-13 | 7.6153e-11 | 4.3128e-12
Int Time (ns): | 100 |  |  |  | 3234 | 660 |  | 1005.3379 | 27.9263 | 0 | 0 | 32 | 5.6569 | 1.8879e-11 | 8.2915e-13 | 5.8474e-11 | 3.0933e-12
Detector Settings |  |  |  |  | 3185 | 650 |  | 1005.3306 | 27.9018 | 0 | 0 | 0 | 0 | 1.8879e-11 | 8.2915e-13 | 4.6462e-11 | 3.0747e-12
[5 empty] | 3136 | 640 |  | 1005.2975 | 27.8641 | 0 | 0 | 0 | 0 | 1.8879e-11 | 8.2915e-13 | 3.7918e-11 | 1.8935e-12
Serial Number: | GE11-X-S-FRASCATi-0002 |  |  |  | 3087 | 630 |  | 1005.3367 | 27.8116 | 0 | 0 | 0 | 0 | 1.8879e-11 | 8.2915e-13 | 3.2081e-11 | 1.3227e-12
Position (ieta,iphi): | 42 |  |  |  | 3038 | 620 |  | 1005.3878 | 27.7479 | 0 | 0 | 0 | 0 | 1.8879e-11 | 8.2915e-13 | 2.7948e-11 | 1.1268e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 2989 | 610 |  | 1005.4652 | 27.6813 | 0 | 0 | 0 | 0 | 1.8879e-11 | 8.2915e-13 | 2.5226e-11 | 1.0251e-12
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 2940 | 600 |  | 1005.4563 | 27.6198 | 0 | 0 | 0 | 0 | 1.8879e-11 | 8.2915e-13 | 2.3041e-11 | 9.1987e-13
Flow Rate (L/hr): | 5
HV Circuit R_Equiv (MOhm): | 4.9 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
Total HV Divider R (MOhm): | 4.7 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Drift (MOhm): | 0 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
R_GEM1 (MOhm): | 0 |  |  | After T/P Corrections
R_Transfer1 (MOhm): | Enter value
R_GEM2 (MOhm): | Enter value |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
R_Transfer2 (MOhm): | Enter value |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
R_GEM3 (MOhm): | Enter value |  |  | 729.1005 | 3572.5923 | 3331.2816 | 1265.2 | 7.9674 | 1.1936e-09 | 8.9258e-11 | 17020.646 | 1285.22
R_Induction (MOhm): | Enter value |  |  | 719.3791 | 3524.9577 | 3286.8645 | 1263.5 | 7.959 | 8.3599e-10 | 6.105e-11 | 11920.744 | 879.4653
Discriminator Settings |  |  |  | 709.6578 | 3477.3231 | 3242.4474 | 1262 | 7.9508 | 5.5883e-10 | 3.9349e-11 | 7968.6327 | 567.2841
|  |  |  | 699.9364 | 3429.6886 | 3198.0303 | 1212.3 | 7.7923 | 3.8058e-10 | 2.7716e-11 | 5426.8449 | 399.2815
Make & Model: | CAEN |  |  | 690.2151 | 3382.054 | 3153.6132 | 928.65 | 6.8185 | 2.6018e-10 | 1.9206e-11 | 3710.0856 | 276.6188
Threshold (mV): | 20 |  |  | 680.4938 | 3334.4194 | 3109.1961 | 635.6 | 5.64 | 1.7832e-10 | 1.5656e-11 | 2542.7264 | 224.8254
|  |  |  | 670.7724 | 3286.7849 | 3064.779 | 437.05 | 4.6784 | 1.2151e-10 | 9.1713e-12 | 1732.6611 | 132.0326
|  |  |  | 661.0511 | 3239.1503 | 3020.3619 | 136.65 | 2.6139 | 8.3241e-11 | 6.3952e-12 | 1186.967 | 92.0369
|  |  |  | 651.3297 | 3191.5158 | 2975.9449 | 17.7 | 0.94074 | 5.7273e-11 | 4.3917e-12 | 816.6858 | 63.2062
|  |  |  | 641.6084 | 3143.8812 | 2931.5278 | 1.6 | 0.28284 | 3.9595e-11 | 3.2025e-12 | 564.5956 | 46.0481
|  |  |  | 631.8871 | 3096.2466 | 2887.1107 | 0 | 0 | 2.7583e-11 | 3.1846e-12 | 393.3172 | 45.5971
Walk Adjust (mV): | 1 |  |  | 622.1657 | 3048.6121 | 2842.6936 | 0 | 0 | 1.9039e-11 | 2.0671e-12 | 271.4802 | 29.6125
Width (ns): | 20 |  |  | 612.4444 | 3000.9775 | 2798.2765 | 0 | 0 | 1.3202e-11 | 1.5611e-12 | 188.2543 | 22.3476
Picoammeter Settings |  |  |  | 602.723 | 2953.3429 | 2753.8594 | 0 | 0 | 9.0692e-12 | 1.399e-12 | 129.3215 | 19.9945
|  |  |  | 593.0017 | 2905.7084 | 2709.4423 | 0 | 0 | 6.347e-12 | 1.3184e-12 | 90.5053 | 18.824
Make & Model: | PicoTechnologies |  |  | 583.2804 | 2858.0738 | 2665.0252 | 0 | 0 | 4.1616e-12 | 1.2384e-12 | 59.3415 | 17.6699
Triax Red: | NaN
Triax Black: | NaN |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Triax Green: | NaN |  |  | Avrg temperature (C) | 301.0981 |  | P0 | 964.4 |  |  | 729.10046122896,17020.6459626896,1285.21998625598
Scalar Settings |  |  |  | Err temperature (C) | 0.15939 |  | T0 | 297.1 |  |  | 719.379121745907,11920.7440361088,879.465303765977
|  |  |  | Avrg pressure (mbar) | 1005.3945 | [5 empty] | 709.657782262854,7968.63273925711,567.28407563218
|  |  |  | Err pressure (mbar) | 0.060273 | [5 empty] | 699.936442779801,5426.84492323913,399.281529667056
Make & Model: | CAEN |  |  | Expo_fit_1_param_1 | 9.9311e-09 | [5 empty] | 690.215103296748,3710.08556871734,276.618774334499
Acquisition Time (s): | 10 |  |  | Expo_fit_1_param_2 | 0.038618 | [5 empty] | 680.493763813696,2542.72637961951,224.825355394611
Source Settings | [10 empty] | 670.772424330643,1732.66111574426,132.032572518516
661.05108484759,1186.96696767162,92.0369124048549
Source: | Amptek MiniX | [9 empty] | 651.329745364537,816.685784140706,63.2061715525954
HV (kV): | 40 | [9 empty] | 641.608405881484,564.595614567544,46.0481348494011
Current (uA): | 5 | [9 empty] | 631.887066398432,393.317180243718,45.5971187472699
Activity (MBq): | Enter value | [9 empty] | 622.165726915379,271.48015773236,29.6125409200214
Filter Status: | off | [9 empty] | 612.444387432326,188.254347206116,22.3476320447202
Collimator Status: | off | [9 empty] | 602.723047949273,129.321493970968,19.9945253714115
593.00170846622,90.5053180291847,18.8239831449992
583.280368983168,59.3415081783278,17.6699433363199

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On