## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range |  | 700 |  |  |  | 304 | 17.4356 | 87349 | 295.5486 | -8.4981e-12 | 5.6549e-13 | -2.3058e-09 | 1.6994e-11
Fine Gain: | 4 |  |  |  |  | 690 |  |  |  | 302 | 17.3781 | 87091 | 295.1118 | -4.8772e-12 | 3.9218e-13 | -1.6001e-09 | 1.1777e-11
Diff Time (ns): | 500 |  |  |  |  | 680 |  |  |  | 297 | 17.2337 | 98103 | 313.214 | -3.5084e-12 | 3.1232e-13 | -1.09e-09 | 8.02e-12
Int Time (ns): | 500 |  |  |  |  | 670 |  |  |  | 211 | 14.5258 | 88045 | 296.7238 | -2.4068e-12 | 2.531e-13 | -7.3011e-10 | 5.2624e-12
Detector Settings | [5 empty] | 660 |  |  |  | 180 | 13.4164 | 84687 | 291.0103 | -2.0282e-12 | 2.1249e-13 | -5.0581e-10 | 3.2617e-12
[6 empty] | 650 |  |  |  | 162 | 12.7279 | 80164 | 283.1325 | -1.4938e-12 | 1.9661e-13 | -3.4671e-10 | 2.1917e-12
Serial Number: | GE11-X-S-PAKISTAN-0001 |  |  |  |  | 640 |  |  |  | 110 | 10.4881 | 69641 | 263.8958 | -6.2073e-13 | 1.9739e-13 | -2.3878e-10 | 1.7088e-12
Position (ieta,iphi): | Enter Value |  |  |  |  | 630 |  |  |  | 90 | 9.4868 | 64096 | 253.1719 | -3.7744e-13 | 1.841e-13 | -1.6622e-10 | 1.1581e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  |  | 620 |  |  |  | 63 | 7.9373 | 61647 | 248.2881 | 3.3424e-13 | 1.822e-13 | -1.1783e-10 | 9.0101e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  |  | 610 |  |  |  | 52 | 7.2111 | 55928 | 236.491 | 8.8221e-13 | 1.555e-13 | -8.1071e-11 | 6.0895e-13
Flow Rate (L/hr): | 5 |  |  |  |  | 600 |  |  |  | 35 | 5.9161 | 44520 | 210.9976 | 1.0743e-12 | 1.7175e-13 | -5.5703e-11 | 4.4881e-13
HV Circuit R_Equiv (MOhm): | [5 empty] | 590 |  |  |  | 23 | 4.7958 | 27402 | 165.5355 | 7.8444e-13 | 1.7517e-13 | -3.9681e-11 | 3.0531e-13
Total HV Divider R (MOhm): | [5 empty] | 580 |  |  |  | 12 | 3.4641 | 18863 | 137.3426 | 1.022e-12 | 2.7815e-13 | -2.7145e-11 | 2.5541e-13
R_Drift (MOhm): | [5 empty] | 570 |  |  |  | 3 | 1.7321 | 8265 | 90.912 | 1.9008e-12 | 1.6879e-13 | -1.9013e-11 | 2.1316e-13
R_GEM1 (MOhm): | [5 empty] | 560 |  |  |  | 3 | 1.7321 | 1245 | 35.2846 | 2.4988e-12 | 1.581e-13 | -1.3177e-11 | 1.9468e-13
R_Transfer1 (MOhm): | [5 empty] | 550 |  |  |  | 1 | 1 | 22 | 4.6904 | 1.678e-12 | 1.4989e-13 | -8.1991e-12 | 1.7976e-13
R_GEM2 (MOhm):
R_Transfer2 (MOhm): | [5 empty] | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): |  |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): |  |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1450.75 | 4.9344 | -2.2973e-09 | 1.7003e-11 | 28568.3626 | 333.8926
Width (ns): | 400 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1446.4833 | 4.9271 | -1.5952e-09 | 1.1784e-11 | 19837.3665 | 231.6712
Picoammeter Settings |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1630.1 | 5.2281 | -1.0864e-09 | 8.0261e-12 | 13510.6439 | 157.7874
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1463.9 | 4.9513 | -7.277e-10 | 5.2685e-12 | 9049.4336 | 104.8462
Make & Model: | kiethley 6487 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1408.45 | 4.8553 | -5.0379e-10 | 3.2686e-12 | 6264.9131 | 69.7388
Triax Red: | signal |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1333.3667 | 4.7236 | -3.4522e-10 | 2.2005e-12 | 4292.9856 | 47.5051
Triax Black: | shielding |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1158.85 | 4.4017 | -2.3816e-10 | 1.7202e-12 | 2961.7225 | 34.2824
Triax Green: | gnd |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1066.7667 | 4.2225 | -1.6585e-10 | 1.1727e-12 | 2062.4088 | 23.6786
Scalar Settings |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 1026.4 | 4.1402 | -1.1816e-10 | 9.1924e-13 | 1469.4309 | 17.5311
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 931.2667 | 3.9433 | -8.1953e-11 | 6.2849e-13 | 1019.1449 | 12.0858
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 741.4167 | 3.518 | -5.6777e-11 | 4.8055e-13 | 706.0654 | 8.7465
Make & Model: | CAEN N1145 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 456.3167 | 2.7601 | -4.0466e-11 | 3.5199e-13 | 503.2176 | 6.315
Acquisition Time (s): | 60 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 314.1833 | 2.2898 | -2.8167e-11 | 3.7763e-13 | 350.2758 | 5.6649
Source Settings |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 137.7 | 1.5155 | -2.0914e-11 | 2.7189e-13 | 260.0773 | 4.119
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 20.7 | 0.58878 | -1.5676e-11 | 2.5079e-13 | 194.9449 | 3.5827
Source: | Ag X-Ray |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0.35 | 0.079931 | -9.8771e-12 | 2.3406e-13 | 122.8284 | 3.1155
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | #DIV/0! |  | P0 | 964.4 |  |  | #DIV/0!
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | #DIV/0! |  | T0 | 297.1 |  |  | #DIV/0!
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | #DIV/0! | [5 empty] | #DIV/0!
|  |  |  | Err pressure (mbar) | #DIV/0! | [5 empty] | #DIV/0!
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | #DIV/0!
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | #DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On