## Data Summary
QC5 Effective gain
Username: | IRFAN | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3899.4 | 700 |  | 964 | 22.3 | 314 | 17.72 | 100069 | 316.3368 | -1.2182e-11 | 7.3555e-12 | -1.6408e-09 | 1.4841e-10
Fine Gain: | 4.5 |  |  |  | 3844.2 | 690 |  | 964 | 22.3 | 329 | 18.1384 | 94045 | 306.6676 | -5.1774e-12 | 3.8661e-12 | -1.1487e-09 | 1.0935e-10
Diff Time (ns): | 100 |  |  |  | 3788.8 | 680 |  | 964 | 22.3 | 298 | 17.2627 | 89815 | 299.6915 | -2.2419e-12 | 3.9287e-12 | -7.9209e-10 | 7.9817e-11
Int Time (ns): | 100 |  |  |  | 3732.8 | 670 |  | 964 | 22.3 | 264 | 16.2481 | 85924 | 293.128 | -6.4314e-13 | 2.8618e-12 | -5.4919e-10 | 4.7032e-11
Detector Settings |  |  |  |  | 3678.4 | 660 |  | 964 | 22.3 | 225 | 15 | 82374 | 287.0087 | 8.4245e-13 | 3.0722e-12 | -3.8157e-10 | 3.4245e-11
[5 empty] | 3622.2 | 650 |  | 964 | 22.3 | 203 | 14.2478 | 81061 | 284.7121 | 1.5639e-12 | 2.6235e-12 | -2.6723e-10 | 2.5431e-11
Serial Number: | GE11-X-L-CERN-0027 |  |  |  | 3566.8 | 640 |  | 964 | 22.3 | 151 | 12.2882 | 79297 | 281.5972 | 1.9736e-12 | 2.6971e-12 | -1.8695e-10 | 1.5544e-11
Position (ieta,iphi): | 42 |  |  |  | 3510.8 | 630 |  | 964 | 22.3 | 117 | 10.8167 | 77360 | 278.1367 | 2.403e-12 | 2.8437e-12 | -1.3135e-10 | 1.2e-11
Gas (X/Y/Z): | Ar+CO2 |  |  |  | 3455.4 | 620 |  | 964 | 22.3 | 89 | 9.434 | 74372 | 272.7123 | 3.5402e-12 | 2.7306e-12 | -9.169e-11 | 8.8929e-12
Gas Frac (%X/%Y/%Z): | 70:30 |  |  |  | 3399.6 | 610 |  | 964 | 22.3 | 63 | 7.9373 | 69444 | 263.5223 | 3.1644e-12 | 2.6648e-12 | -6.3435e-11 | 6.9295e-12
Flow Rate (L/hr): | 5 |  |  |  | 3344.6 | 600 |  | 964 | 22.3 | 44 | 6.6332 | 60795 | 246.5664 | 3.159e-12 | 2.3791e-12 | -4.3742e-11 | 5.2322e-12
HV Circuit R_Equiv (MOhm): | 5.6 |  |  |  | 3288.6 | 590 |  | 964 | 22.3 | 27 | 5.1962 | 38775 | 196.9137 | 4.1127e-12 | 2.2584e-12 | -2.9809e-11 | 4.1088e-12
Total HV Divider R (MOhm): | 4.63 |  |  |  | 3233.6 | 580 |  | 964 | 22.3 | 23 | 4.7958 | 27573 | 166.0512 | 4.3656e-12 | 2.4674e-12 | -1.9577e-11 | 3.4793e-12
R_Drift (MOhm): | 1.12 |  |  |  | 3177.6 | 570 |  | 964 | 22.3 | 22 | 4.6904 | 16334 | 127.8045 | 5.6338e-12 | 2.4173e-12 | -1.2846e-11 | 2.6361e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 3121.8 | 560 |  | 964 | 22.3 | 15 | 3.873 | 5039 | 70.9859 | 5.4282e-12 | 2.4463e-12 | -7.5763e-12 | 2.3623e-12
R_Transfer1 (MOhm): | 0.438 |  |  |  | 3066.8 | 550 |  | 964 | 22.3 | 6 | 2.4495 | 504 | 22.4499 | 5.4713e-12 | 2.4882e-12 | -3.6446e-12 | 2.4526e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.63 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | ORTEC935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3899.4 | 3241 | 1662.5833 | 5.2805 | -1.6286e-09 | 1.486e-10 | 17672.0527 | 1620.2157
Width (ns): | 400 |  |  | 690 | 3844.2 | 3194.7 | 1561.9333 | 5.1201 | -1.1435e-09 | 1.0942e-10 | 12408.7967 | 1192.5517
Picoammeter Settings |  |  |  | 680 | 3788.8 | 3148.4 | 1491.95 | 5.0031 | -7.8985e-10 | 7.9914e-11 | 8570.8518 | 870.5539
|  |  |  | 670 | 3732.8 | 3102.1 | 1427.6667 | 4.893 | -5.4854e-10 | 4.7119e-11 | 5952.3505 | 514.0704
Make & Model: | kiethley 6487 |  |  | 660 | 3678.4 | 3055.8 | 1369.15 | 4.79 | -3.8241e-10 | 3.4382e-11 | 4149.5871 | 374.9405
Triax Red: | signal |  |  | 650 | 3622.2 | 3009.5 | 1347.6333 | 4.7511 | -2.688e-10 | 2.5566e-11 | 2916.7576 | 278.6511
Triax Black: | shielding |  |  | 640 | 3566.8 | 2963.2 | 1319.1 | 4.6978 | -1.8893e-10 | 1.5776e-11 | 2050.0702 | 172.1747
Triax Green: | gnd |  |  | 630 | 3510.8 | 2916.9 | 1287.3833 | 4.6391 | -1.3375e-10 | 1.2332e-11 | 1451.34 | 134.4527
Scalar Settings |  |  |  | 620 | 3455.4 | 2870.6 | 1238.05 | 4.5479 | -9.5231e-11 | 9.3027e-12 | 1033.3679 | 101.3694
|  |  |  | 610 | 3399.6 | 2824.3 | 1156.35 | 4.394 | -6.6599e-11 | 7.4242e-12 | 722.6794 | 80.8216
|  |  |  | 600 | 3344.6 | 2778 | 1012.5167 | 4.1109 | -4.6901e-11 | 5.7477e-12 | 508.9335 | 62.5364
Make & Model: | CAEN N1145 |  |  | 590 | 3288.6 | 2731.7 | 645.8 | 3.283 | -3.3921e-11 | 4.6886e-12 | 368.088 | 50.9836
Acquisition Time (s): | 60 |  |  | 580 | 3233.6 | 2685.4 | 459.1667 | 2.7687 | -2.3943e-11 | 4.2654e-12 | 259.8107 | 46.343
Source Settings |  |  |  | 570 | 3177.6 | 2639.1 | 271.8667 | 2.1315 | -1.848e-11 | 3.5766e-12 | 200.5297 | 38.8526
|  |  |  | 560 | 3121.8 | 2592.8 | 83.7333 | 1.1849 | -1.3004e-11 | 3.4007e-12 | 141.1145 | 36.923
Source: | Ag X-Ray |  |  | 550 | 3066.8 | 2546.5 | 8.3 | 0.37639 | -9.1159e-12 | 3.4938e-12 | 98.9187 | 37.922
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,17672.0526595885,1620.21571919997
Filter Status: | 7 layers Cu tape |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 690,12408.7967035643,1192.55170650273
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 964 | [5 empty] | 680,8570.85178782468,870.553927016095
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,5952.35052046487,514.070412260323
|  |  |  | Expo_fit_1_param_1 | 5.4377e-07 | [5 empty] | 660,4149.58708620008,374.94047358616
|  |  |  | Expo_fit_1_param_2 | 0.034503 | [5 empty] | 650,2916.75757086082,278.651111599486
640,2050.07018011662,172.174683635094
630,1451.3400053139,134.452699119067
620,1033.36792146591,101.369431569003
610,722.679444269325,80.8216373830294
600,508.933526715609,62.5364334635055
590,368.087986969242,50.9835594678914
580,259.810740664709,46.3429667841479
570,200.529737551213,38.8525573790641
560,141.114474131995,36.922977650814
550,98.9186997985581,37.9220350466446

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On