## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range |  | 700 |  | 946 | 22.3 | 290 | 17.0294 | 95275 | 308.6665 | 8.8664e-12 | 5.0592e-13 | -2.6663e-09 | 1.7241e-11
Fine Gain: | 4 |  |  |  |  | 690 |  |  |  | 258 | 16.0624 | 92338 | 303.8717 | 9.3735e-12 | 3.5469e-13 | -1.8736e-09 | 1.2156e-11
Diff Time (ns): | 500 |  |  |  |  | 680 |  |  |  | 253 | 15.906 | 89548 | 299.2457 | 9.5179e-12 | 2.357e-13 | -1.2775e-09 | 8.0363e-12
Int Time (ns): | 500 |  |  |  |  | 670 |  |  |  | 229 | 15.1327 | 88914 | 298.1845 | 1.0162e-11 | 2.3434e-13 | -8.9542e-10 | 5.5172e-12
Detector Settings | [5 empty] | 660 |  |  |  | 204 | 14.2829 | 86775 | 294.576 | 1.0506e-11 | 2.4214e-13 | -6.1599e-10 | 3.8841e-12
[6 empty] | 650 |  |  |  | 128 | 11.3137 | 85551 | 292.491 | 1.0962e-11 | 1.9024e-13 | -4.2566e-10 | 2.531e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  |  | 640 |  |  |  | 110 | 10.4881 | 83050 | 288.184 | 1.0272e-11 | 1.9019e-13 | -2.912e-10 | 2.0288e-12
Position (ieta,iphi): | Enter Value |  |  |  |  | 630 |  |  |  | 73 | 8.544 | 78883 | 280.8612 | 1.1028e-11 | 1.7008e-13 | -1.9972e-10 | 1.1999e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  |  | 620 |  |  |  | 65 | 8.0623 | 73958 | 271.9522 | 1.0065e-11 | 5.5763e-13 | -1.3764e-10 | 9.3835e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  |  | 610 |  |  |  | 42 | 6.4807 | 62271 | 249.5416 | 1.1336e-11 | 1.8076e-13 | -9.2705e-11 | 6.5872e-13
Flow Rate (L/hr): | 5 |  |  |  |  | 600 |  |  |  | 22 | 4.6904 | 37168 | 192.79 | 1.0625e-11 | 1.9166e-13 | -6.3467e-11 | 5.0465e-13
HV Circuit R_Equiv (MOhm): | 5.58 |  |  |  |  | 590 |  |  |  | 21 | 4.5826 | 26420 | 162.5423 | 1.1107e-11 | 1.6663e-13 | -4.1183e-11 | 3.7021e-13
Total HV Divider R (MOhm): | 4.62 |  |  |  |  | 580 |  |  |  | 15 | 3.873 | 13273 | 115.2085 | 1.1697e-11 | 1.5973e-13 | -2.5734e-11 | 2.9526e-13
R_Drift (MOhm): | 1.12 |  |  |  |  | 570 |  |  |  | 9 | 3 | 2570 | 50.6952 | 1.1831e-11 | 1.628e-13 | -1.5004e-11 | 2.3328e-13
R_GEM1 (MOhm): | 0.56 |  |  |  |  | 560 |  |  |  | 1 | 1 | 80 | 8.9443 | 1.1979e-11 | 1.5977e-13 | -7.5386e-12 | 2.0883e-13
R_Transfer1 (MOhm): | 0.437 |  |  |  |  | 550 |  |  |  | 1 | 1 | 3 | 1.7321 | 1.1772e-11 | 1.6633e-13 | -2.4397e-12 | 1.822e-13
R_GEM2 (MOhm): | 0.56
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.62 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 0 | 3234 | 1583.0833 | 5.1523 | -2.6752e-09 | 1.7249e-11 | 30486.5944 | 337.3083
Width (ns): | 400 |  |  | 690 | 0 | 3187.8 | 1534.6667 | 5.0716 | -1.8829e-09 | 1.2161e-11 | 21458.2328 | 237.5534
Picoammeter Settings |  |  |  | 680 | 0 | 3141.6 | 1488.25 | 4.9945 | -1.2871e-09 | 8.0397e-12 | 14667.55 | 160.5823
|  |  |  | 670 | 0 | 3095.4 | 1478.0833 | 4.9761 | -9.0558e-10 | 5.5222e-12 | 10320.1438 | 112.118
Make & Model: | kiethley 6487 |  |  | 660 | 0 | 3049.2 | 1442.85 | 4.9154 | -6.2649e-10 | 3.8917e-12 | 7139.6113 | 78.0242
Triax Red: | signal |  |  | 650 | 0 | 3003 | 1423.7167 | 4.8785 | -4.3662e-10 | 2.5381e-12 | 4975.7935 | 53.2743
Triax Black: | shielding |  |  | 640 | 0 | 2956.8 | 1382.3333 | 4.8062 | -3.0148e-10 | 2.0377e-12 | 3435.6602 | 38.6457
Triax Green: | gnd |  |  | 630 | 0 | 2910.6 | 1313.5 | 4.6832 | -2.1075e-10 | 1.2119e-12 | 2401.7271 | 25.633
Scalar Settings |  |  |  | 620 | 0 | 2864.4 | 1231.55 | 4.5345 | -1.4771e-10 | 1.0915e-12 | 1683.2961 | 19.5908
|  |  |  | 610 | 0 | 2818.2 | 1037.15 | 4.1604 | -1.0404e-10 | 6.8307e-13 | 1185.6598 | 13.2001
|  |  |  | 600 | 0 | 2772 | 619.1 | 3.2141 | -7.4092e-11 | 5.3982e-13 | 844.3623 | 9.7714
Make & Model: | CAEN N1145 |  |  | 590 | 0 | 2725.8 | 439.9833 | 2.7101 | -5.229e-11 | 4.0598e-13 | 595.9069 | 7.0791
Acquisition Time (s): | 60 |  |  | 580 | 0 | 2679.6 | 220.9667 | 1.9212 | -3.7431e-11 | 3.357e-13 | 426.5732 | 5.4172
Source Settings |  |  |  | 570 | 0 | 2633.4 | 42.6833 | 0.8464 | -2.6836e-11 | 2.8448e-13 | 305.8242 | 4.251
|  |  |  | 560 | 0 | 2587.2 | 1.3167 | 0.15 | -1.9518e-11 | 2.6294e-13 | 222.427 | 3.6025
Source: | Ag X-Ray |  |  | 550 | 0 | 2541 | 0.033333 | 0.033333 | -1.4212e-11 | 2.467e-13 | 161.9618 | 3.1662
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,30486.5944333658,337.30832635287
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,21458.232782829,237.553419100136
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 946 | [5 empty] | 680,14667.5499820239,160.582292937006
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,10320.1438304694,112.118025122422
|  |  |  | Expo_fit_1_param_1 | 6.031e-07 | [5 empty] | 660,7139.61130873967,78.0241918493004
|  |  |  | Expo_fit_1_param_2 | 0.035149 | [5 empty] | 650,4975.79351312969,53.2743226193422
640,3435.66023626831,38.6456648526546
630,2401.72707844253,25.6330417677052
620,1683.29613799878,19.5908278443434
610,1185.65977136295,13.2001181874147
600,844.36233205767,9.7714353116166
590,595.906915973683,7.07906243531971
580,426.573217191349,5.41721051739744
570,305.824164962657,4.25100979697171
560,222.42700001558,3.60253760352642
550,161.961779612668,3.16620992954967

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On