## Data Summary
QC5 Effective gain
Username: | Francesco, Adithya | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3901.2 | 700 | 10:20 | 967 | 22.3 | 586 | 24.2074 | 182827 | 427.5827 | -3.5368e-12 | 1.8528e-12 | -4.0594e-09 | 2.9865e-11
Fine Gain: | 4 |  |  |  | 3846.4 | 690 |  | 967 | 22.3 | 482 | 21.9545 | 90776 | 301.2906 | 4.1348e-12 | 1.4889e-12 | -2.5357e-09 | 1.9151e-11
Diff Time (ns): | 500 |  |  |  | 3791.4 | 680 |  | 967 | 22.3 | 452 | 21.2603 | 70538 | 265.5899 | -9.868e-13 | 1.2478e-12 | -1.677e-09 | 1.294e-11
Int Time (ns): | 500 |  |  |  | 3735.6 | 670 |  | 967 | 22.3 | 407 | 20.1742 | 65489 | 255.9082 | 2.7262e-12 | 2.291e-12 | -1.0944e-09 | 9.5525e-12
Detector Settings |  |  |  |  | 3679.6 | 660 |  | 967 | 22.3 | 352 | 18.7617 | 61973 | 248.9438 | 3.314e-12 | 1.1382e-12 | -7.4736e-10 | 6.2356e-12
[5 empty] | 3624.6 | 650 |  | 967 | 22.3 | 347 | 18.6279 | 58797 | 242.4809 | 5.4206e-12 | 1.1066e-12 | -5.1485e-10 | 4.1677e-12
Serial Number: | GE11-X-L-CERN-0001 |  |  |  | 3568.4 | 640 |  | 967 | 22.3 | 324 | 18 | 57922 | 240.6699 | 4.0427e-12 | 1.2211e-12 | -3.431e-10 | 2.7137e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3511.6 | 630 |  | 967 | 22.3 | 253 | 15.906 | 56223 | 237.1139 | 4.6919e-12 | 1.2153e-12 | -2.3528e-10 | 2.139e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3458.8 | 620 |  | 966 | 22.3 | 215 | 14.6629 | 54986 | 234.4909 | 4.0507e-12 | 1.2667e-12 | -1.6456e-10 | 1.6369e-12
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3402.8 | 610 |  | 967 | 22.3 | 191 | 13.8203 | 53119 | 230.4756 | 3.9711e-12 | 1.1854e-12 | -1.1611e-10 | 1.6733e-12
Flow Rate (L/hr): | 5 |  |  |  | 3345.8 | 600 |  | 697 | 22.3 | 137 | 11.7047 | 51068 | 225.9823 | 5.233e-12 | 1.1511e-12 | -7.8126e-11 | 1.2682e-12
HV Circuit R_Equiv (MOhm): | 5.599 |  |  |  | 3291.8 | 590 |  | 966 | 22.3 | 124 | 11.1355 | 46769 | 216.2614 | 2.6432e-12 | 1.0911e-12 | -5.3334e-11 | 1.1507e-12
Total HV Divider R (MOhm): | 4.584 |  |  |  | 3233.6 | 580 |  | 966 | 22.3 | 97 | 9.8489 | 39452 | 198.6253 | 2.9615e-12 | 1.7908e-12 | -3.6197e-11 | 9.5924e-13
R_Drift (MOhm): | 1.119 |  |  |  | 3179.8 | 570 |  | 966 | 22.3 | 83 | 9.1104 | 23570 | 153.5252 | 2.8945e-12 | 9.364e-13 | -2.3259e-11 | 9.7373e-13
R_GEM1 (MOhm): | 0.562 |  |  |  | 3123.8 | 560 |  | 966 | 22.3 | 78 | 8.8318 | 16294 | 127.648 | 4.3417e-12 | 9.0992e-13 | -1.6091e-11 | 1.0116e-12
R_Transfer1 (MOhm): | 0.437 |  |  |  | 3068 | 550 |  | 966 | 22.3 | 69 | 8.3066 | 6358 | 79.7371 | 4.2098e-12 | 9.2431e-13 | -9.0165e-12 | 9.8486e-13
R_GEM2 (MOhm): | 0.549
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.524 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3901.2 | 3208.8 | 3037.35 | 7.1378 | -4.0558e-09 | 2.9922e-11 | 71246.422 | 738.8786
Width (ns): | 400 |  |  | 690 | 3846.4 | 3162.96 | 1504.9 | 5.0348 | -2.5398e-09 | 1.9209e-11 | 44615.4442 | 467.2807
Picoammeter Settings |  |  |  | 680 | 3791.4 | 3117.12 | 1168.1 | 4.4407 | -1.676e-09 | 1.3e-11 | 29441.4586 | 311.5577
|  |  |  | 670 | 3735.6 | 3071.28 | 1084.7 | 4.2784 | -1.0971e-09 | 9.8234e-12 | 19272.3998 | 217.5744
Make & Model: | kiethley 6487 |  |  | 660 | 3679.6 | 3025.44 | 1027.0167 | 4.1608 | -7.5067e-10 | 6.3387e-12 | 13186.6175 | 144.8097
Triax Red: | signal |  |  | 650 | 3624.6 | 2979.6 | 974.1667 | 4.0533 | -5.2027e-10 | 4.3121e-12 | 9139.2282 | 99.5216
Triax Black: | shielding |  |  | 640 | 3568.4 | 2933.76 | 959.9667 | 4.0224 | -3.4714e-10 | 2.9758e-12 | 6098.0045 | 67.4326
Triax Green: | gnd |  |  | 630 | 3511.6 | 2887.92 | 932.8333 | 3.9608 | -2.3997e-10 | 2.4601e-12 | 4215.483 | 51.0613
Scalar Settings |  |  |  | 620 | 3458.8 | 2842.08 | 912.85 | 3.9158 | -1.6861e-10 | 2.0698e-12 | 2961.82 | 39.9541
|  |  |  | 610 | 3402.8 | 2796.24 | 882.1333 | 3.8482 | -1.2008e-10 | 2.0506e-12 | 2109.3691 | 35.9782
|  |  |  | 600 | 3345.8 | 2750.4 | 848.85 | 3.7714 | -8.3359e-11 | 1.7127e-12 | 1464.3143 | 28.9851
Make & Model: | CAEN N1145 |  |  | 590 | 3291.8 | 2704.56 | 777.4167 | 3.6091 | -5.5977e-11 | 1.5858e-12 | 983.3191 | 25.7526
Acquisition Time (s): | 60 |  |  | 580 | 3233.6 | 2658.72 | 655.9167 | 3.3145 | -3.9158e-11 | 2.0315e-12 | 687.8721 | 31.8664
Source Settings |  |  |  | 570 | 3179.8 | 2612.88 | 391.45 | 2.5633 | -2.6154e-11 | 1.3509e-12 | 459.4268 | 21.1932
|  |  |  | 560 | 3123.8 | 2567.04 | 270.2667 | 2.1326 | -2.0433e-11 | 1.3606e-12 | 358.9341 | 21.2144
Source: | Ag X-Ray |  |  | 550 | 3068 | 2521.2 | 104.8167 | 1.3361 | -1.3226e-11 | 1.3507e-12 | 232.3396 | 20.9452
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,71246.4220109233,738.878550030075
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | #REF! |  | T0 | 297.1 |  |  | 690,44615.4441550146,467.280657081397
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 949.75 | [5 empty] | 680,29441.4586343996,311.557659841132
|  |  |  | Err pressure (mbar) | #REF! | [5 empty] | 670,19272.3997801871,217.574440570087
|  |  |  | Expo_fit_1_param_1 | 2.4167e-07 | [5 empty] | 660,13186.617508068,144.809682430539
|  |  |  | Expo_fit_1_param_2 | 0.03753 | [5 empty] | 650,9139.22816514275,99.5215949280419
640,6098.00452833002,67.4326217675104
630,4215.48300021427,51.0612918787271
620,2961.82003660074,39.9540981254936
610,2109.3691246552,35.9781736735898
600,1464.31431293363,28.9851112569754
590,983.319128112824,25.752550475239
580,687.872064518115,31.8664379177204
570,459.426800056994,21.1932447148045
560,358.934059129122,21.2144290159393
550,232.339550348267,20.945207939082

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On