## Data Summary
QC5 Effective gain
Username: | Francesco Dhanush | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3902.8 | 700 | 10:00 | 971 | 21.9 | 621 | 24.9199 | 338596 | 581.89 | -8.05e-14 | 7.3341e-12 | -9.55e-09 | 5.35e-10
Fine Gain: | 4 |  |  |  | 3847.4 | 690 |  | 971 | 21.9 | 440 | 20.9762 | 282220 | 531.2438 | 2.29e-12 | 8.4e-12 | -6.77e-09 | 5.56e-10
Diff Time (ns): | 100 |  |  |  | 3793.2 | 680 |  | 971 | 22.3 | 382 | 19.5448 | 270475 | 520.0721 | 2.16e-12 | 7.81e-12 | -4.69e-09 | 2.58e-10
Int Time (ns): | 100 |  |  |  | 3736.6 | 670 |  | 971 | 22.3 | 324 | 18 | 269402 | 519.0395 | 3.47e-12 | 8.22e-12 | -3.16e-09 | 1.65e-10
Detector Settings |  |  |  |  | 3682.6 | 660 |  | 971 | 22.3 | 237 | 15.3948 | 270946 | 520.5247 | 7.24e-12 | 7.94e-12 | -2.2e-09 | 1.17e-10
[5 empty] | 3628.6 | 650 |  | 971 | 22.4 | 193 | 13.8924 | 257233 | 507.1814 | 4.86e-12 | 4.84e-12 | -1.52e-09 | 1.43e-10
Serial Number: | GE1/1-X-L-CERN-0002 |  |  |  | 3571.6 | 640 |  | 971 | 22.3 | 147 | 12.1244 | 248438 | 498.4355 | 4.58e-12 | 6.51e-12 | -1.05e-09 | 5.94e-11
Position (ieta,iphi): | Enter Value |  |  |  | 3513.8 | 630 |  | 971 | 22.4 | 132 | 11.4891 | 234330 | 484.0764 | 5.67e-12 | 4.75e-12 | -7.19e-10 | 3.47e-11
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3459.8 | 620 |  | 971 | 22.3 | 112 | 10.583 | 218532 | 467.4741 | 4.64e-12 | 5.2e-12 | -5.05e-10 | 2.75e-11
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3402.8 | 610 |  | 971 | 22.3 | 86 | 9.2736 | 202124 | 449.582 | 4.25e-12 | 6.18e-12 | -3.49e-10 | 1.88e-11
Flow Rate (L/hr): | 5 |  |  |  | 3349.8 | 600 |  | 971 | 22.3 | 70 | 8.3666 | 176990 | 420.7018 | 4.04e-12 | 4.91e-12 | -2.41e-10 | 2.98e-11
HV Circuit R_Equiv (MOhm): | 5.603 |  |  |  | 3293.8 | 590 |  | 971 | 22.3 | 55 | 7.4162 | 115507 | 339.8632 | 5.2e-12 | 5.56e-12 | -1.71e-10 | 9.8e-12
Total HV Divider R (MOhm): | 4.658 |  |  |  | 3239.8 | 580 |  | 971 | 22.3 | 43 | 6.5574 | 75510 | 274.7908 | 4.38e-12 | 4.04e-12 | -1.21e-10 | 7.32e-12
R_Drift (MOhm): | 1.127 |  |  |  | 3182.8 | 570 |  | 971 | 22.3 | 31 | 5.5678 | 39828 | 199.5695 | 5.87e-12 | 3.83e-12 | -8.45e-11 | 6.67e-12
R_GEM1 (MOhm): | 0.563 |  |  |  | 3127 | 560 |  | 971 | 22.3 | 38 | 6.1644 | 8909 | 94.3875 | 5.28e-12 | 4.21e-12 | -5.88e-11 | 5.64e-12
R_Transfer1 (MOhm): | 0.438 |  |  |  | 3071 | 550 |  | 971 | 22.3 | 62 | 7.874 | 437 | 20.9045 | 5.52e-12 | 5.28e-12 | -4e-11 | 4.68e-12
R_GEM2 (MOhm): | 0.551
R_Transfer2 (MOhm): | 0.876 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.526 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.626 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3902.8 | 3260.6 | 5632.9167 | 9.7071 | -9.5499e-09 | 5.3505e-10 | 30586.3585 | 1733.523
Width (ns): | 400 |  |  | 690 | 3847.4 | 3214.02 | 4696.3333 | 8.861 | -6.7723e-09 | 5.5606e-10 | 21690.2027 | 1790.5977
Picoammeter Settings |  |  |  | 680 | 3793.2 | 3167.44 | 4501.55 | 8.674 | -4.6922e-09 | 2.5812e-10 | 15027.9893 | 836.639
|  |  |  | 670 | 3736.6 | 3120.86 | 4484.6333 | 8.6559 | -3.1635e-09 | 1.652e-10 | 10131.9207 | 536.171
Make & Model: | kiethley 6487 |  |  | 660 | 3682.6 | 3074.28 | 4511.8167 | 8.6792 | -2.2072e-09 | 1.1727e-10 | 7069.3197 | 380.428
Triax Red: | signal |  |  | 650 | 3628.6 | 3027.7 | 4284 | 8.4562 | -1.5249e-09 | 1.4308e-10 | 4883.8019 | 460.1623
Triax Black: | shielding |  |  | 640 | 3571.6 | 2981.12 | 4138.1833 | 8.3097 | -1.0546e-09 | 5.9756e-11 | 3377.5952 | 193.5546
Triax Green: | gnd |  |  | 630 | 3513.8 | 2934.54 | 3903.3 | 8.0702 | -7.2467e-10 | 3.5024e-11 | 2320.9637 | 113.9177
Scalar Settings |  |  |  | 620 | 3459.8 | 2887.96 | 3640.3333 | 7.7932 | -5.0964e-10 | 2.7987e-11 | 1632.2684 | 90.719
|  |  |  | 610 | 3402.8 | 2841.38 | 3367.3 | 7.4946 | -3.5325e-10 | 1.979e-11 | 1131.3845 | 64.1173
|  |  |  | 600 | 3349.8 | 2794.8 | 2948.6667 | 7.0131 | -2.4504e-10 | 3.0202e-11 | 784.8109 | 96.9627
Make & Model: | CAEN N1145 |  |  | 590 | 3293.8 | 2748.22 | 1924.2 | 5.6657 | -1.762e-10 | 1.1267e-11 | 564.3311 | 36.4086
Acquisition Time (s): | 60 |  |  | 580 | 3239.8 | 2701.64 | 1257.7833 | 4.5812 | -1.2538e-10 | 8.3609e-12 | 401.5654 | 26.9976
Source Settings |  |  |  | 570 | 3182.8 | 2655.06 | 663.2833 | 3.3275 | -9.037e-11 | 7.6914e-12 | 289.4359 | 24.7581
|  |  |  | 560 | 3127 | 2608.48 | 147.85 | 1.5765 | -6.408e-11 | 7.038e-12 | 205.2346 | 22.6096
Source: | Ag X-Ray |  |  | 550 | 3071 | 2561.9 | 6.25 | 0.37231 | -4.552e-11 | 7.0556e-12 | 145.7909 | 22.6318
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.4125 |  | P0 | 964.4 |  |  | 700,30586.3584533734,1733.5229687195
Filter Status: | 6 layers Cu tape |  |  | Err temperature (C) | 0.14087 |  | T0 | 297.1 |  |  | 690,21690.202675551,1790.59766916393
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 971 | [5 empty] | 680,15027.989260075,836.638957623305
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,10131.9207325772,536.170976073233
|  |  |  | Expo_fit_1_param_1 | 3.7676e-07 | [5 empty] | 660,7069.31967673905,380.428025875434
|  |  |  | Expo_fit_1_param_2 | 0.035845 | [5 empty] | 650,4883.80185311625,460.162315208296
640,3377.5951616931,193.554628521575
630,2320.96368774691,113.917662643323
620,1632.26838950603,90.7190464227789
610,1131.38452357155,64.1172934587208
600,784.810937454983,96.9627325470929
590,564.33107729174,36.4086313824272
580,401.565439675587,26.9976173835482
570,289.43586523754,24.7581368520829
560,205.23459383005,22.6095797323835
550,145.790866278774,22.6318359139978

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On