## Data Summary
QC5 Effective gain
Username: | Francesco, Adithya,Marek | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3879.6 | 700 | 9:38 | 973 | 22.3 | 238 | 15.4272 | 262928 | 512.765 | 2.24e-12 | 6.2204e-13 | -4.49e-09 | 1.8e-11
Fine Gain: | 4 |  |  |  | 3824.4 | 690 |  | 973 | 22.3 | 214 | 14.6287 | 224220 | 473.5187 | 3.41e-12 | 5.53e-13 | -3.06e-09 | 1.26e-11
Diff Time (ns): | 500 |  |  |  | 3769.4 | 680 |  | 973 | 22.3 | 225 | 15 | 206247 | 454.1442 | 2.48e-12 | 4.65e-13 | -2.08e-09 | 9.51e-12
Int Time (ns): | 500 |  |  |  | 3714.6 | 670 |  | 973 | 22.3 | 178 | 13.3417 | 192619 | 438.8838 | 2.71e-12 | 4.64e-13 | -1.43e-09 | 6.17e-12
Detector Settings |  |  |  |  | 3658.6 | 660 |  | 973 | 22.3 | 158 | 12.5698 | 182242 | 426.8981 | 3.75e-12 | 4.39e-13 | -9.71e-10 | 4.34e-12
[5 empty] | 3603.6 | 650 |  | 973 | 22.3 | 114 | 10.6771 | 173663 | 416.7289 | 4.55e-12 | 3.87e-13 | -6.8e-10 | 2.86e-12
Serial Number: | GE11-X-L-CERN-0003 |  |  |  | 3548.6 | 640 |  | 973 | 22.3 | 69 | 8.3066 | 168250 | 410.1829 | 3e-12 | 3.87e-13 | -4.69e-10 | 1.9e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3493.6 | 630 |  | 973 | 22.3 | 70 | 8.3666 | 162752 | 403.4253 | 3.81e-12 | 4.74e-13 | -3.27e-10 | 1.43e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3437.6 | 620 |  | 973 | 22.3 | 48 | 6.9282 | 155116 | 393.8477 | 3.26e-12 | 6.12e-13 | -2.3e-10 | 1.12e-12
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3382.8 | 610 |  | 973 | 22.3 | 39 | 6.245 | 140607 | 374.976 | 4.11e-12 | 3.98e-13 | -1.59e-10 | 8.19e-13
Flow Rate (L/hr): | 5 |  |  |  | 3327.8 | 600 |  | 972 | 22.3 | 33 | 5.7446 | 114005 | 337.6463 | 3.86e-12 | 3.95e-13 | -1.12e-10 | 6.17e-13
HV Circuit R_Equiv (MOhm): | 5.578 |  |  |  | 3272.8 | 590 |  | 973 | 22.3 | 10 | 3.1623 | 67509 | 259.8249 | 4.31e-12 | 3.82e-13 | -7.77e-11 | 5.21e-13
Total HV Divider R (MOhm): | 4.59 |  |  |  | 3218 | 580 |  | 973 | 22.3 | 20 | 4.4721 | 44427 | 210.7771 | 4.45e-12 | 3.96e-13 | -5.41e-11 | 4.02e-13
R_Drift (MOhm): | 1.121 |  |  |  | 3161.8 | 570 |  | 973 | 22.3 | 8 | 2.8284 | 17584 | 132.6047 | 3.33e-12 | 5.11e-13 | -3.81e-11 | 3.92e-13
R_GEM1 (MOhm): | 0.534 |  |  |  | 3106.8 | 560 |  | 973 | 22.3 | 6 | 2.4495 | 2597 | 50.9608 | 3.7e-12 | 3.91e-13 | -2.65e-11 | 3.64e-13
R_Transfer1 (MOhm): | 0.438 |  |  |  | 3050.5 | 550 |  | 973 | 22.3 | 2 | 1.4142 |  | 0 | 3.1e-12 | 3.46e-13 | -1.79e-11 | 3.72e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.873 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.623 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3879.6 | 3213 | 4378.1667 | 8.55 | -4.4922e-09 | 1.8011e-11 | 18511.0925 | 175.746
Width (ns): | 400 |  |  | 690 | 3824.4 | 3167.1 | 3733.4333 | 7.8957 | -3.0634e-09 | 1.2612e-11 | 12623.3384 | 120.4277
Picoammeter Settings |  |  |  | 680 | 3769.4 | 3121.2 | 3433.7 | 7.5732 | -2.0825e-09 | 9.5214e-12 | 8581.2378 | 83.6253
|  |  |  | 670 | 3714.6 | 3075.3 | 3207.35 | 7.3181 | -1.4327e-09 | 6.1874e-12 | 5903.7423 | 56.8461
Make & Model: | kiethley 6487 |  |  | 660 | 3658.6 | 3029.4 | 3034.7333 | 7.1181 | -9.7475e-10 | 4.3621e-12 | 4016.6348 | 38.9614
Triax Red: | signal |  |  | 650 | 3603.6 | 2983.5 | 2892.4833 | 6.9478 | -6.8455e-10 | 2.8861e-12 | 2820.8129 | 27.0324
Triax Black: | shielding |  |  | 640 | 3548.6 | 2937.6 | 2803.0167 | 6.8378 | -4.72e-10 | 1.939e-12 | 1944.9619 | 18.5476
Triax Green: | gnd |  |  | 630 | 3493.6 | 2891.7 | 2711.3667 | 6.7252 | -3.3081e-10 | 1.5065e-12 | 1363.1628 | 13.2726
Scalar Settings |  |  |  | 620 | 3437.6 | 2845.8 | 2584.4667 | 6.5651 | -2.3326e-10 | 1.2763e-12 | 961.1903 | 9.8023
|  |  |  | 610 | 3382.8 | 2799.9 | 2342.8 | 6.2505 | -1.6311e-10 | 9.1058e-13 | 672.1244 | 6.8947
|  |  |  | 600 | 3327.8 | 2754 | 1899.5333 | 5.6283 | -1.1586e-10 | 7.3261e-13 | 477.4222 | 5.0985
Make & Model: | CAEN N1145 |  |  | 590 | 3272.8 | 2708.1 | 1124.9833 | 4.3307 | -8.201e-11 | 6.4604e-13 | 337.9371 | 3.9427
Acquisition Time (s): | 60 |  |  | 580 | 3218 | 2662.2 | 740.1167 | 3.5137 | -5.855e-11 | 5.6429e-13 | 241.2659 | 3.1174
Source Settings |  |  |  | 570 | 3161.8 | 2616.3 | 292.9333 | 2.2106 | -4.143e-11 | 6.4404e-13 | 170.7199 | 3.0334
|  |  |  | 560 | 3106.8 | 2570.4 | 43.1833 | 0.85033 | -3.02e-11 | 5.3421e-13 | 124.4446 | 2.448
Source: | Ag X-Ray |  |  | 550 | 3050.5 | 2524.5 | -0.033333 | 0.02357 | -2.1e-11 | 5.0804e-13 | 86.5343 | 2.222
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,18511.0924543663,175.745989018326
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 690,12623.3384092636,120.42766426899
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 972.9375 | [5 empty] | 680,8581.23782664521,83.6252944364611
|  |  |  | Err pressure (mbar) | 0.24206 | [5 empty] | 670,5903.74229121666,56.8461079762946
|  |  |  | Expo_fit_1_param_1 | 2.5712e-07 | [5 empty] | 660,4016.63476793171,38.961392168482
|  |  |  | Expo_fit_1_param_2 | 0.03561 | [5 empty] | 650,2820.81285497579,27.0324451333921
640,1944.96189839832,18.5475909141947
630,1363.16280849396,13.2726312894145
620,961.19028055168,9.80232441867028
610,672.124439084217,6.89473771253539
600,477.422215144978,5.09850945581595
590,337.937129846709,3.94271497712332
580,241.265930405131,3.11736179589821
570,170.719854768311,3.03342234951507
560,124.444596041588,2.44799605027174
550,86.5343217507729,2.22196823312467

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On