## Data Summary
QC5 Effective gain
Username: | Francesco, Adithya | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3901 | 700 | 11:18 | 978 | 22.3 | 258 | 16.0624 | 91321 | 302.1936 | 2.25e-12 | 2.2054e-13 | -1.23e-09 | 8.09e-12
Fine Gain: | 4 |  |  |  | 3845.8 | 690 |  | 978 | 22.3 | 236 | 15.3623 | 89463 | 299.1037 | 2.81e-12 | 1.64e-13 | -8.58e-10 | 5.49e-12
Diff Time (ns): | 500 |  |  |  | 3790.4 | 680 |  | 978 | 22.3 | 195 | 13.9642 | 88335 | 297.212 | 2.96e-12 | 1.55e-13 | -6e-10 | 3.96e-12
Int Time (ns): | 500 |  |  |  | 3734.6 | 670 |  | 978 | 22.3 | 172 | 13.1149 | 86427 | 293.9847 | 3.54e-12 | 1.22e-13 | -4.19e-10 | 2.66e-12
Detector Settings |  |  |  |  | 3679.2 | 660 |  | 978 | 22.3 | 159 | 12.6095 | 84521 | 290.725 | 3.29e-12 | 8.49e-14 | -2.94e-10 | 1.85e-12
[5 empty] | 3623.6 | 650 |  | 978 | 22.3 | 109 | 10.4403 | 82110 | 286.5484 | 3.17e-12 | 7.93e-14 | -2.05e-10 | 1.33e-12
Serial Number: | GE11-X-L-CERN-0004 |  |  |  | 3568.2 | 640 |  | 978 | 22.3 | 80 | 8.9443 | 77608 | 278.5821 | 3.38e-12 | 9.05e-14 | -1.43e-10 | 9.8e-13
Position (ieta,iphi): | Enter Value |  |  |  | 3512.4 | 630 |  | 978 | 22.3 | 79 | 8.8882 | 68943 | 262.57 | 3.57e-12 | 7.55e-14 | -9.88e-11 | 5.91e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3457 | 620 |  | 978 | 22.3 | 52 | 7.2111 | 39704 | 199.2586 | 3.67e-12 | 6.42e-14 | -6.92e-11 | 4.35e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3401.4 | 610 |  | 978 | 22.3 | 36 | 6 | 30284 | 174.023 | 3.67e-12 | 7.01e-14 | -4.9e-11 | 3.29e-13
Flow Rate (L/hr): | 5 |  |  |  | 3346 | 600 |  | 978 | 22.3 | 27 | 5.1962 | 18215 | 134.963 | 3.9e-12 | 5.83e-14 | -3.36e-11 | 2.4e-13
HV Circuit R_Equiv (MOhm): | 5.575 |  |  |  | 3290.2 | 590 |  | 978 | 22.3 | 22 | 4.6904 | 5019 | 70.8449 | 3.76e-12 | 7.63e-14 | -2.29e-11 | 1.7e-13
Total HV Divider R (MOhm): | 4.588 |  |  |  | 3234.8 | 580 |  | 978 | 22.3 | 12 | 3.4641 | 217 | 14.7309 | 3.63e-12 | 5.82e-14 | -1.58e-11 | 1.25e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3179 | 570 |  | 978 | 22.3 | 18 | 4.2426 | 20 | 4.4721 | 3.19e-12 | 5.96e-14 | -1.04e-11 | 1.01e-13
R_GEM1 (MOhm): | 0.561 |  |  |  | 3123.4 | 560 |  | 978 | 22.3 | 13 | 3.6056 | 18 | 4.2426 | 3.65e-12 | 6.07e-14 | -6.6e-12 | 8.63e-14
R_Transfer1 (MOhm): | 0.437 |  |  |  | 3067.6 | 550 |  | 978 | 22.3 | 15 | 3.873 | 18 | 4.2426 | 3.94e-12 | 5.48e-14 | -3.27e-12 | 8.23e-14
R_GEM2 (MOhm): | 0.549
R_Transfer2 (MOhm): | 0.872 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.499 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3901 | 3211.6 | 1517.7167 | 5.0437 | -1.2323e-09 | 8.093e-12 | 14647.7026 | 163.3908
Width (ns): | 400 |  |  | 690 | 3845.8 | 3165.72 | 1487.1167 | 4.9916 | -8.6081e-10 | 5.4924e-12 | 10232.4113 | 113.0229
Picoammeter Settings |  |  |  | 680 | 3790.4 | 3119.84 | 1469 | 4.959 | -6.0296e-10 | 3.963e-12 | 7167.3595 | 79.9707
|  |  |  | 670 | 3734.6 | 3073.96 | 1437.5833 | 4.9046 | -4.2254e-10 | 2.6628e-12 | 5022.7147 | 55.2514
Make & Model: | kiethley 6487 |  |  | 660 | 3679.2 | 3028.08 | 1406.0333 | 4.85 | -2.9729e-10 | 1.8519e-12 | 3533.8734 | 38.7276
Triax Red: | signal |  |  | 650 | 3623.6 | 2982.2 | 1366.6833 | 4.779 | -2.0817e-10 | 1.3324e-12 | 2474.5078 | 27.3607
Triax Black: | shielding |  |  | 640 | 3568.2 | 2936.32 | 1292.1333 | 4.6454 | -1.4638e-10 | 9.8417e-13 | 1740.0127 | 19.5701
Triax Green: | gnd |  |  | 630 | 3512.4 | 2890.44 | 1147.7333 | 4.3787 | -1.0237e-10 | 5.958e-13 | 1216.8678 | 13.0589
Scalar Settings |  |  |  | 620 | 3457 | 2844.56 | 660.8667 | 3.3232 | -7.287e-11 | 4.3971e-13 | 866.2025 | 9.3976
|  |  |  | 610 | 3401.4 | 2798.68 | 504.1333 | 2.9021 | -5.267e-11 | 3.3639e-13 | 626.086 | 6.9177
|  |  |  | 600 | 3346 | 2752.8 | 303.1333 | 2.251 | -3.75e-11 | 2.4698e-13 | 445.7609 | 4.9772
Make & Model: | CAEN N1145 |  |  | 590 | 3290.2 | 2706.92 | 83.2833 | 1.1833 | -2.666e-11 | 1.8634e-13 | 316.9063 | 3.6153
Acquisition Time (s): | 60 |  |  | 580 | 3234.8 | 2661.04 | 3.4167 | 0.25221 | -1.943e-11 | 1.3788e-13 | 230.9636 | 2.6501
Source Settings |  |  |  | 570 | 3179 | 2615.16 | 0.033333 | 0.10274 | -1.359e-11 | 1.1727e-13 | 161.5437 | 2.0161
|  |  |  | 560 | 3123.4 | 2569.28 | 0.083333 | 0.092796 | -1.025e-11 | 1.0551e-13 | 121.8413 | 1.6673
Source: | Ag X-Ray |  |  | 550 | 3067.6 | 2523.4 | 0.05 | 0.095743 | -7.21e-12 | 9.8875e-14 | 85.705 | 1.4066
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,14647.7025761237,163.390805213227
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 690,10232.4113244496,113.022880938482
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 978 | [5 empty] | 680,7167.35950115604,79.9707349501458
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,5022.71474661416,55.2514404838112
|  |  |  | Expo_fit_1_param_1 | 5.3562e-07 | [5 empty] | 660,3533.8734013843,38.7276113921186
|  |  |  | Expo_fit_1_param_2 | 0.034265 | [5 empty] | 650,2474.50780707784,27.3606916359949
640,1740.01274343111,19.5700926235391
630,1216.86777254435,13.0589087588003
620,866.202545524149,9.3975897863805
610,626.086017191669,6.91768695913734
600,445.760881805346,4.97717951047911
590,316.906269571481,3.61530228006733
580,230.96357155941,2.6500838347321
570,161.543743566257,2.01612919787617
560,121.841307693461,1.66727227141978
550,85.7049588751079,1.4065984820199

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On