## Data Summary
QC5 Effective gain
Username: | Saleh | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3879.4 | 700 |  | 974 | 22.6 | 331 | 18.1934 | 152941 | 391.0767 | 1.5564e-12 | 1.7031e-13 | -1.0111e-09 | 5.9685e-12
Fine Gain: | 4 |  |  |  | 3843.4 | 690 |  |  |  | 272 | 16.4924 | 148220 | 384.9935 | 1.5473e-12 | 1.6967e-13 | -7.7456e-10 | 4.5527e-12
Diff Time (ns): | 500 |  |  |  | 3789.4 | 680 |  |  |  | 256 | 16 | 138936 | 372.7412 | 2.1771e-12 | 1.0718e-13 | -5.6677e-10 | 3.2546e-12
Int Time (ns): | 500 |  |  |  | 3734.4 | 670 |  |  |  | 214 | 14.6287 | 127316 | 356.8137 | 2.4136e-12 | 9.8909e-14 | -4.0935e-10 | 2.7229e-12
Detector Settings |  |  |  |  | 3679.4 | 660 |  |  |  | 209 | 14.4568 | 117925 | 343.4021 | 2.9206e-12 | 1.1901e-13 | -4.1591e-10 | 2.336e-12
[5 empty] | 3624.4 | 650 |  |  |  | 137 | 11.7047 | 106838 | 326.8608 | 3.2526e-12 | 9.1195e-14 | -2.8947e-10 | 1.7036e-12
Serial Number: | GE11-X-L-CERN-0004 |  |  |  | 3569.4 | 640 |  |  |  | 113 | 10.6301 | 101996 | 319.3681 | 2.9991e-12 | 8.4114e-14 | -2.0533e-10 | 1.141e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3511.6 | 630 |  |  |  | 87 | 9.3274 | 97187 | 311.7483 | 3.4618e-12 | 7.7993e-14 | -1.4208e-10 | 8.05e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3459.6 | 620 |  |  |  | 53 | 7.2801 | 88589 | 297.639 | 3.5618e-12 | 7.7623e-14 | -1.0224e-10 | 6.137e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3399.4 | 610 |  |  |  | 40 | 6.3246 | 61631 | 248.2559 | 3.8949e-12 | 1.8267e-13 | -6.9442e-11 | 4.2255e-13
Flow Rate (L/hr): | 5 |  |  |  | 3343.6 | 600 |  |  |  | 38 | 6.1644 | 40628 | 201.5639 | 4.6748e-12 | 1.1881e-12 | -4.8279e-11 | 2.7658e-13
HV Circuit R_Equiv (MOhm): | 5.592 |  |  |  | 3287.6 | 590 |  |  |  | 26 | 5.099 | 27736 | 166.5413 | 3.5436e-12 | 6.4296e-14 | -3.3559e-11 | 2.3476e-13
Total HV Divider R (MOhm): | 4.607 |  |  |  | 3234.8 | 580 |  |  |  | 25 | 5 | 11065 | 105.1903 | 3.8301e-12 | 6.8688e-14 | -2.3464e-11 | 1.5507e-13
R_Drift (MOhm): | 1.119 |  |  |  | 3179.8 | 570 |  |  |  | 21 | 4.5826 | 1478 | 38.4448 | 4.2189e-12 | 7.1188e-14 | -1.5556e-11 | 1.2978e-13
R_GEM1 (MOhm): | 0.56 |  |  |  | 3121.8 | 560 |  |  |  | 15 | 3.873 | 35 | 5.9161 | 3.9915e-12 | 7.4679e-14 | -1.0241e-11 | 1.119e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3069.8 | 550 |  |  |  | 12 | 3.4641 | 22 | 4.6904 | 3.9563e-12 | 6.9327e-14 | -6.2732e-12 | 8.5094e-14
R_GEM2 (MOhm): | 0.548
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.524 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.623 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3879.4 | 3224.9 | 2543.5 | 6.525 | -1.0127e-09 | 5.9709e-12 | 7183.0086 | 75.88
Width (ns): | 400 |  |  | 690 | 3843.4 | 3178.83 | 2465.8 | 6.4224 | -7.7611e-10 | 4.5559e-12 | 5504.9396 | 58.0738
Picoammeter Settings |  |  |  | 680 | 3789.4 | 3132.76 | 2311.3333 | 6.2181 | -5.6895e-10 | 3.2564e-12 | 4035.5618 | 42.2462
|  |  |  | 670 | 3734.4 | 3086.69 | 2118.3667 | 5.9519 | -4.1176e-10 | 2.7247e-12 | 2920.6364 | 32.0763
Make & Model: | kiethley 6487 |  |  | 660 | 3679.4 | 3040.62 | 1961.9333 | 5.7284 | -4.1883e-10 | 2.3391e-12 | 2970.7609 | 30.8759
Triax Red: | signal |  |  | 650 | 3624.4 | 2994.55 | 1778.35 | 5.4512 | -2.9273e-10 | 1.706e-12 | 2076.308 | 21.8551
Triax Black: | shielding |  |  | 640 | 3569.4 | 2948.48 | 1698.05 | 5.3257 | -2.0833e-10 | 1.1441e-12 | 1477.6755 | 15.2844
Triax Green: | gnd |  |  | 630 | 3511.6 | 2902.41 | 1618.3333 | 5.1981 | -1.4554e-10 | 8.0877e-13 | 1032.344 | 10.714
Scalar Settings |  |  |  | 620 | 3459.6 | 2856.34 | 1475.6 | 4.9621 | -1.058e-10 | 6.1859e-13 | 750.4255 | 7.9068
|  |  |  | 610 | 3399.4 | 2810.27 | 1026.5167 | 4.1389 | -7.3337e-11 | 4.6035e-13 | 520.1797 | 5.6081
|  |  |  | 600 | 3343.6 | 2764.2 | 676.5 | 3.361 | -5.2954e-11 | 1.2198e-12 | 375.6038 | 9.2575
Make & Model: | CAEN N1145 |  |  | 590 | 3287.6 | 2718.13 | 461.8333 | 2.777 | -3.7103e-11 | 2.4341e-13 | 263.1702 | 2.8813
Acquisition Time (s): | 60 |  |  | 580 | 3234.8 | 2672.06 | 184 | 1.7552 | -2.7294e-11 | 1.6961e-13 | 193.5957 | 2.0801
Source Settings |  |  |  | 570 | 3179.8 | 2625.99 | 24.2833 | 0.64528 | -1.9775e-11 | 1.4802e-13 | 140.2618 | 1.6167
|  |  |  | 560 | 3121.8 | 2579.92 | 0.33333 | 0.11785 | -1.4232e-11 | 1.3453e-13 | 100.9507 | 1.3014
Source: | Ag X-Ray |  |  | 550 | 3069.8 | 2533.85 | 0.16667 | 0.097183 | -1.023e-11 | 1.0976e-13 | 72.5581 | 1.0053
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.75 |  | P0 | 964.4 |  |  | 700,7183.00861891373,75.8799703667545
Filter Status: | 2 layers Cu tape |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,5504.93962620777,58.0737904179825
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 974 | [5 empty] | 680,4035.5617767469,42.2461612217124
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,2920.63637644477,32.0763383109321
|  |  |  | Expo_fit_1_param_1 | 2.9878e-06 | [5 empty] | 660,2970.76094256432,30.8759426309234
|  |  |  | Expo_fit_1_param_2 | 0.031067 | [5 empty] | 650,2076.30795641268,21.8551151513589
640,1477.67554595289,15.2843791204427
630,1032.34402070481,10.713979990524
620,750.425450129719,7.90680903715427
610,520.179712551871,5.60813424633444
600,375.603812292396,9.25749663024044
590,263.170225546357,2.88130542826266
580,193.595747247942,2.0800989743961
570,140.261764554472,1.61674531001508
560,100.950732126946,1.30135877650502
550,72.5580870213186,1.00527839400804

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On