## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3896.2 | 700 |  | 971 | 22.3 | 274 | 16.5529 | 99614 | 315.6169 | 2.5466e-12 | 2.6762e-13 | -1.7043e-09 | 1.0262e-11
Fine Gain: | 4 |  |  |  | 3841.2 | 690 |  |  |  | 297 | 17.2337 | 95215 | 308.5693 | 2.0145e-12 | 2.5416e-13 | -1.2002e-09 | 7.9648e-12
Diff Time (ns): | 500 |  |  |  | 3785.4 | 680 |  |  |  | 239 | 15.4596 | 92916 | 304.8213 | 3.331e-12 | 2.1982e-13 | -8.2404e-10 | 4.9522e-12
Int Time (ns): | 500 |  |  |  | 3730 | 670 |  |  |  | 246 | 15.6844 | 90384 | 300.6393 | 3.6289e-12 | 1.0843e-13 | -5.761e-10 | 3.5565e-12
Detector Settings |  |  |  |  | 3674.6 | 660 |  |  |  | 191 | 13.8203 | 88252 | 297.0724 | 3.2651e-12 | 1.1047e-13 | -3.9437e-10 | 2.3971e-12
[5 empty] | 3619.6 | 650 |  |  |  | 155 | 12.4499 | 86409 | 293.9541 | 3.9404e-12 | 6.9028e-14 | -2.7491e-10 | 1.6598e-12
Serial Number: | GE11-X-L-CERN-0004 |  |  |  | 3563.8 | 640 |  |  |  | 123 | 11.0905 | 84304 | 290.3515 | 3.8915e-12 | 6.4577e-14 | -1.9128e-10 | 1.1673e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3508.6 | 630 |  |  |  | 94 | 9.6954 | 81057 | 284.7051 | 3.8858e-12 | 6.2926e-14 | -1.322e-10 | 9.0506e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3453 | 620 |  |  |  | 66 | 8.124 | 76054 | 275.7789 | 4.2462e-12 | 6.435e-14 | -9.2026e-11 | 5.6002e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3397.6 | 610 |  |  |  | 53 | 7.2801 | 66295 | 257.4782 | 4.1553e-12 | 6.6514e-14 | -6.3363e-11 | 4.5898e-13
Flow Rate (L/hr): | 5 |  |  |  | 3342.2 | 600 |  |  |  | 47 | 6.8557 | 38742 | 196.8299 | 4.3963e-12 | 5.7129e-14 | -4.3416e-11 | 2.5513e-13
HV Circuit R_Equiv (MOhm): | 5.67 |  |  |  | 3286.4 | 590 |  |  |  | 28 | 5.2915 | 28446 | 168.6594 | 4.0984e-12 | 6.2268e-14 | -2.9527e-11 | 2.0182e-13
Total HV Divider R (MOhm): | 4.61 |  |  |  | 3231 | 580 |  |  |  | 17 | 4.1231 | 15536 | 124.6435 | 4.0029e-12 | 5.8469e-14 | -1.9952e-11 | 1.4841e-13
R_Drift (MOhm): | 1.113 |  |  |  | 3175.6 | 570 |  |  |  | 18 | 4.2426 | 3546 | 59.5483 | 4.1257e-12 | 4.9085e-14 | -1.3026e-11 | 1.1793e-13
R_GEM1 (MOhm): | 0.563 |  |  |  | 3120.4 | 560 |  |  |  | 11 | 3.3166 | 119 | 10.9087 | 4.6055e-12 | 5.6044e-14 | -7.7875e-12 | 9.2602e-14
R_Transfer1 (MOhm): | 0.437 |  |  |  | 3064.4 | 550 |  |  |  | 14 | 3.7417 | 16 | 4 | 4.5111e-12 | 5.4646e-14 | -4.195e-12 | 7.9923e-14
R_GEM2 (MOhm): | 0.551
R_Transfer2 (MOhm): | 0.873 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.526 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.626 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3896.2 | 3227 | 1655.6667 | 5.2675 | -1.7069e-09 | 1.0266e-11 | 18598.8262 | 200.7849
Width (ns): | 400 |  |  | 690 | 3841.2 | 3180.9 | 1581.9667 | 5.1508 | -1.2023e-09 | 7.9689e-12 | 13100.4197 | 146.0597
Picoammeter Settings |  |  |  | 680 | 3785.4 | 3134.8 | 1544.6167 | 5.0869 | -8.2737e-10 | 4.9571e-12 | 9015.4633 | 97.2119
|  |  |  | 670 | 3730 | 3088.7 | 1502.3 | 5.0175 | -5.7973e-10 | 3.5581e-12 | 6317.038 | 68.6326
Make & Model: | kiethley 6487 |  |  | 660 | 3674.6 | 3042.6 | 1467.6833 | 4.9566 | -3.9764e-10 | 2.3997e-12 | 4332.876 | 46.8254
Triax Red: | signal |  |  | 650 | 3619.6 | 2996.5 | 1437.5667 | 4.9036 | -2.7885e-10 | 1.6613e-12 | 3038.4614 | 32.7062
Triax Black: | shielding |  |  | 640 | 3563.8 | 2950.4 | 1403.0167 | 4.8427 | -1.9517e-10 | 1.1691e-12 | 2126.6604 | 22.9297
Triax Green: | gnd |  |  | 630 | 3508.6 | 2904.3 | 1349.3833 | 4.7478 | -1.3609e-10 | 9.0725e-13 | 1482.8845 | 16.5669
Scalar Settings |  |  |  | 620 | 3453 | 2858.2 | 1266.4667 | 4.5983 | -9.6272e-11 | 5.6371e-13 | 1049.0345 | 11.2328
|  |  |  | 610 | 3397.6 | 2812.1 | 1104.0333 | 4.293 | -6.7519e-11 | 4.6378e-13 | 735.719 | 8.3092
|  |  |  | 600 | 3342.2 | 2766 | 644.9167 | 3.2825 | -4.7812e-11 | 2.6145e-13 | 520.9867 | 5.4709
Make & Model: | CAEN N1145 |  |  | 590 | 3286.4 | 2719.9 | 473.6333 | 2.8124 | -3.3625e-11 | 2.1121e-13 | 366.3977 | 4.0108
Acquisition Time (s): | 60 |  |  | 580 | 3231 | 2673.8 | 258.65 | 2.0785 | -2.3955e-11 | 1.5951e-13 | 261.026 | 2.915
Source Settings |  |  |  | 570 | 3175.6 | 2627.7 | 58.8 | 0.99499 | -1.7152e-11 | 1.2774e-13 | 186.8967 | 2.1783
|  |  |  | 560 | 3120.4 | 2581.6 | 1.8 | 0.19003 | -1.2393e-11 | 1.0824e-13 | 135.0408 | 1.6902
Source: | Ag X-Ray |  |  | 550 | 3064.4 | 2535.5 | 0.033333 | 0.091287 | -8.7061e-12 | 9.6819e-14 | 94.8668 | 1.3551
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,18598.8262178306,200.78488405755
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,13100.4197122269,146.059725679588
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 971 | [5 empty] | 680,9015.46325018356,97.2118624850506
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,6317.03804168803,68.6325900835028
|  |  |  | Expo_fit_1_param_1 | 3.4964e-07 | [5 empty] | 660,4332.87601178102,46.8253720968679
|  |  |  | Expo_fit_1_param_2 | 0.035236 | [5 empty] | 650,3038.46141786663,32.7062299750023
640,2126.66037058241,22.9296854262357
630,1482.88450880224,16.5669227806251
620,1049.03451743643,11.2328239483118
610,735.719037631656,8.309152855078
600,520.986701378499,5.47093790358965
590,366.39774537232,4.01079104197835
580,261.026032024389,2.91497342110779
570,186.896666392902,2.17827144280877
560,135.040804500541,1.69019268414003
550,94.8667522354256,1.35510751186891

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On