## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3892 | 700 |  | 969 | 22.3 | 301 | 17.3494 | 93156 | 305.2147 | 1.7042e-12 | 4.5673e-13 | -1.4927e-09 | 1.0085e-11
Fine Gain: | 4 |  |  |  | 3837.4 | 690 |  |  |  | 267 | 16.3401 | 92286 | 303.7861 | 2.6932e-12 | 2.5795e-13 | -1.0621e-09 | 6.5709e-12
Diff Time (ns): | 500 |  |  |  | 3781.8 | 680 |  |  |  | 303 | 17.4069 | 91179 | 301.9586 | 2.9593e-12 | 2.0669e-13 | -7.4822e-10 | 4.6094e-12
Int Time (ns): | 500 |  |  |  | 3726.4 | 670 |  |  |  | 276 | 16.6132 | 86027 | 293.3036 | 2.683e-12 | 1.1252e-12 | -5.2285e-10 | 3.3939e-12
Detector Settings |  |  |  |  | 3670.8 | 660 |  |  |  | 211 | 14.5258 | 83274 | 288.5723 | 3.6596e-12 | 9.3097e-13 | -3.6697e-10 | 2.459e-12
[5 empty] | 3616 | 650 |  |  |  | 179 | 13.3791 | 81662 | 285.7656 | 3.6562e-12 | 1.688e-13 | -2.6041e-10 | 1.6774e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3560.4 | 640 |  |  |  | 143 | 11.9583 | 79323 | 281.6434 | 3.9859e-12 | 8.6767e-14 | -1.8487e-10 | 1.0905e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3504.4 | 630 |  |  |  | 130 | 11.4018 | 76631 | 276.823 | 4.0563e-12 | 8.7327e-14 | -1.2949e-10 | 8.2005e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3449.6 | 620 |  |  |  | 70 | 8.3666 | 71538 | 267.4659 | 4.1609e-12 | 1.0889e-13 | -9.0827e-11 | 6.3907e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3394.2 | 610 |  |  |  | 62 | 7.874 | 61730 | 248.4552 | 4.1848e-12 | 1.0921e-13 | -6.3581e-11 | 4.3859e-13
Flow Rate (L/hr): | 5 |  |  |  | 3338.4 | 600 |  |  |  | 55 | 7.4162 | 36730 | 191.6507 | 4.2792e-12 | 9.5801e-14 | -4.4411e-11 | 3.2321e-13
HV Circuit R_Equiv (MOhm): | 5.605 |  |  |  | 3283 | 590 |  |  |  | 30 | 5.4772 | 27480 | 165.7709 | 4.5623e-12 | 7.4686e-14 | -3.0789e-11 | 2.2705e-13
Total HV Divider R (MOhm): | 4.58 |  |  |  | 3228.4 | 580 |  |  |  | 23 | 4.7958 | 15507 | 124.5271 | 4.1871e-12 | 7.3479e-14 | -2.0876e-11 | 1.86e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3172.8 | 570 |  |  |  | 17 | 4.1231 | 4000 | 63.2456 | 4.2894e-12 | 5.741e-14 | -1.4163e-11 | 1.2337e-13
R_GEM1 (MOhm): | 0.56 |  |  |  | 3117.2 | 560 |  |  |  | 9 | 3 | 266 | 16.3095 | 3.9688e-12 | 6.8834e-14 | -9.2427e-12 | 1.0225e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3061.5 | 550 |  |  |  | 8 | 2.8284 | 191 | 13.8203 | 3.9699e-12 | 5.6502e-14 | -5.1637e-12 | 8.6282e-14
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.63 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3892 | 3206 | 1547.5833 | 5.0951 | -1.4944e-09 | 1.0095e-11 | 17420.9901 | 196.1108
Width (ns): | 400 |  |  | 690 | 3837.4 | 3160.2 | 1533.65 | 5.0704 | -1.0648e-09 | 6.5759e-12 | 12412.9477 | 135.5394
Picoammeter Settings |  |  |  | 680 | 3781.8 | 3114.4 | 1514.6 | 5.041 | -7.5118e-10 | 4.614e-12 | 8756.8677 | 95.453
|  |  |  | 670 | 3726.4 | 3068.6 | 1429.1833 | 4.8962 | -5.2553e-10 | 3.5756e-12 | 6126.3788 | 69.1442
Make & Model: | kiethley 6487 |  |  | 660 | 3670.8 | 3022.8 | 1384.3833 | 4.8156 | -3.7062e-10 | 2.6293e-12 | 4320.5774 | 49.5301
Triax Red: | signal |  |  | 650 | 3616 | 2977 | 1358.05 | 4.768 | -2.6406e-10 | 1.6859e-12 | 3078.3112 | 33.9804
Triax Black: | shielding |  |  | 640 | 3560.4 | 2931.2 | 1319.6667 | 4.6983 | -1.8885e-10 | 1.0939e-12 | 2201.5655 | 23.5725
Triax Green: | gnd |  |  | 630 | 3504.4 | 2885.4 | 1275.0167 | 4.6176 | -1.3354e-10 | 8.2469e-13 | 1556.7889 | 16.9986
Scalar Settings |  |  |  | 620 | 3449.6 | 2839.6 | 1191.1333 | 4.4599 | -9.4988e-11 | 6.4828e-13 | 1107.3231 | 12.5117
|  |  |  | 610 | 3394.2 | 2793.8 | 1027.8 | 4.143 | -6.7765e-11 | 4.5198e-13 | 789.9776 | 8.8525
|  |  |  | 600 | 3338.4 | 2748 | 611.25 | 3.1966 | -4.869e-11 | 3.3711e-13 | 567.6038 | 6.4474
Make & Model: | CAEN N1145 |  |  | 590 | 3283 | 2702.2 | 457.5 | 2.7644 | -3.5351e-11 | 2.3902e-13 | 412.1052 | 4.6406
Acquisition Time (s): | 60 |  |  | 580 | 3228.4 | 2656.4 | 258.0667 | 2.077 | -2.5063e-11 | 1.9998e-13 | 292.1779 | 3.5153
Source Settings |  |  |  | 570 | 3172.8 | 2610.6 | 66.3833 | 1.0563 | -1.8453e-11 | 1.3607e-13 | 215.1111 | 2.5037
|  |  |  | 560 | 3117.2 | 2564.8 | 4.2833 | 0.27639 | -1.3212e-11 | 1.2326e-13 | 154.0143 | 1.9971
Source: | Ag X-Ray |  |  | 550 | 3061.5 | 2519 | 3.05 | 0.23511 | -9.1336e-12 | 1.0314e-13 | 106.4754 | 1.5378
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,17420.9900568884,196.110844304028
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,12412.9476810274,135.539442991377
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 969 | [5 empty] | 680,8756.8677143166,95.452995150151
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,6126.37878533654,69.1441940141645
|  |  |  | Expo_fit_1_param_1 | 8.8521e-07 | [5 empty] | 660,4320.57739722385,49.5300624311137
|  |  |  | Expo_fit_1_param_2 | 0.033824 | [5 empty] | 650,3078.31123347748,33.9803678841986
640,2201.56549369094,23.5724883751692
630,1556.78887863774,16.9986201686118
620,1107.32314246029,12.5116562624474
610,789.977635989853,8.85251132552311
600,567.603840127354,6.44737136817121
590,412.105197416666,4.64063610181002
580,292.177877902468,3.5153147452553
570,215.111097673063,2.50370213726501
560,154.014294788174,1.99707743046545
550,106.475420289736,1.53781137626783

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On