## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3900 | 700 |  | 972 | 22.3 | 484 | 22 | 91252 | 302.0795 | -4.5964e-12 | 6.2945e-13 | -1.9791e-09 | 1.4108e-11
Fine Gain: | 4 |  |  |  | 3844 | 690 |  |  |  | 378 | 19.4422 | 84909 | 291.3915 | -3.6209e-12 | 3.8573e-13 | -1.3847e-09 | 1.0338e-11
Diff Time (ns): | 500 |  |  |  | 3789 | 680 |  |  |  | 289 | 17 | 81706 | 285.8426 | -3.1821e-12 | 2.853e-13 | -9.604e-10 | 6.8074e-12
Int Time (ns): | 500 |  |  |  | 3733 | 670 |  |  |  | 271 | 16.4621 | 73369 | 270.8671 | -2.5091e-12 | 2.5498e-13 | -6.6074e-10 | 4.9814e-12
Detector Settings |  |  |  |  | 3678 | 660 |  |  |  | 223 | 14.9332 | 67278 | 259.38 | -1.3745e-12 | 2.0116e-13 | -4.5529e-10 | 3.3844e-12
[5 empty] | 3622.4 | 650 |  |  |  | 189 | 13.7477 | 65503 | 255.9355 | -1.6416e-12 | 1.7362e-13 | -3.1711e-10 | 2.1386e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3567.2 | 640 |  |  |  | 168 | 12.9615 | 64249 | 253.4739 | -1.4757e-12 | 1.6781e-13 | -2.2357e-10 | 1.5822e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3511.2 | 630 |  |  |  | 149 | 12.2066 | 62506 | 250.012 | -2.1566e-12 | 1.475e-13 | -1.5634e-10 | 1.1119e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3455.4 | 620 |  |  |  | 93 | 9.6437 | 59969 | 244.8857 | -1.1516e-12 | 1.4873e-13 | -1.0878e-10 | 7.9462e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3400.2 | 610 |  |  |  | 65 | 8.0623 | 56819 | 238.3674 | -8.4469e-13 | 1.5601e-13 | -7.7508e-11 | 5.7531e-13
Flow Rate (L/hr): | 5 |  |  |  | 3344.2 | 600 |  |  |  | 52 | 7.2111 | 50488 | 224.6953 | -7.9581e-13 | 2.1812e-13 | -5.5069e-11 | 3.8478e-13
HV Circuit R_Equiv (MOhm): | 5.579 |  |  |  | 3289.2 | 590 |  |  |  | 24 | 4.899 | 32409 | 180.025 | -1.1528e-12 | 1.5476e-13 | -3.9702e-11 | 3.0132e-13
Total HV Divider R (MOhm): | 4.579 |  |  |  | 3233.2 | 580 |  |  |  | 26 | 5.099 | 22794 | 150.9768 | -7.8785e-13 | 1.3609e-13 | -2.7957e-11 | 2.1737e-13
R_Drift (MOhm): | 1.118 |  |  |  | 3178.2 | 570 |  |  |  | 15 | 3.873 | 14142 | 118.9201 | 9.2541e-13 | 1.4547e-13 | -1.8292e-11 | 1.9907e-13
R_GEM1 (MOhm): | 0.56 |  |  |  | 3122.4 | 560 |  |  |  | 3 | 1.7321 | 4353 | 65.9773 | 9.3337e-13 | 1.3978e-13 | -1.3256e-11 | 1.7432e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3067.2 | 550 |  |  |  | 3 | 1.7321 | 351 | 18.735 | 1.2767e-12 | 1.3562e-13 | -9.2871e-12 | 1.5423e-13
R_GEM2 (MOhm): | 0.548
R_Transfer2 (MOhm): | 0.871 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.524 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.623 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3900 | 3205.3 | 1512.8 | 5.048 | -1.9745e-09 | 1.4122e-11 | 23546.9613 | 271.0834
Width (ns): | 400 |  |  | 690 | 3844 | 3159.51 | 1408.85 | 4.8673 | -1.381e-09 | 1.0345e-11 | 16469.6812 | 193.124
Picoammeter Settings |  |  |  | 680 | 3789 | 3113.72 | 1356.95 | 4.7725 | -9.5721e-10 | 6.8133e-12 | 11415.3504 | 131.1764
|  |  |  | 670 | 3733 | 3067.93 | 1218.3 | 4.5228 | -6.5824e-10 | 4.988e-12 | 7849.8458 | 92.484
Make & Model: | kiethley 6487 |  |  | 660 | 3678 | 3022.14 | 1117.5833 | 4.3302 | -4.5392e-10 | 3.3904e-12 | 5413.2061 | 63.4
Triax Red: | signal |  |  | 650 | 3622.4 | 2976.35 | 1088.5667 | 4.2717 | -3.1547e-10 | 2.1456e-12 | 3762.1883 | 42.5045
Triax Black: | shielding |  |  | 640 | 3567.2 | 2930.56 | 1068.0167 | 4.2301 | -2.221e-10 | 1.5911e-12 | 2648.6568 | 30.5117
Triax Green: | gnd |  |  | 630 | 3511.2 | 2884.77 | 1039.2833 | 4.1718 | -1.5419e-10 | 1.1217e-12 | 1838.7531 | 21.3096
Scalar Settings |  |  |  | 620 | 3455.4 | 2838.98 | 997.9333 | 4.0846 | -1.0763e-10 | 8.0842e-13 | 1283.4922 | 15.067
|  |  |  | 610 | 3400.2 | 2793.19 | 945.9 | 3.9751 | -7.6664e-11 | 5.9609e-13 | 914.2584 | 10.8886
|  |  |  | 600 | 3344.2 | 2747.4 | 840.6 | 3.7469 | -5.4273e-11 | 4.423e-13 | 647.2371 | 7.8687
Make & Model: | CAEN N1145 |  |  | 590 | 3289.2 | 2701.61 | 539.75 | 3.0015 | -3.8549e-11 | 3.3874e-13 | 459.7188 | 5.7895
Acquisition Time (s): | 60 |  |  | 580 | 3233.2 | 2655.82 | 379.4667 | 2.5177 | -2.7169e-11 | 2.5646e-13 | 324.0049 | 4.2305
Source Settings |  |  |  | 570 | 3178.2 | 2610.03 | 235.45 | 1.9831 | -1.9218e-11 | 2.4656e-13 | 229.1815 | 3.5945
|  |  |  | 560 | 3122.4 | 2564.24 | 72.5 | 1.1 | -1.4189e-11 | 2.2344e-13 | 169.2152 | 3.0709
Source: | Ag X-Ray |  |  | 550 | 3067.2 | 2518.45 | 5.8 | 0.31358 | -1.0564e-11 | 2.0538e-13 | 125.9793 | 2.7001
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,23546.9613370081,271.083366780307
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,16469.6812056211,193.124020899147
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 972 | [5 empty] | 680,11415.3504477258,131.176419864966
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,7849.84575360228,92.4840458655745
|  |  |  | Expo_fit_1_param_1 | 4.5113e-07 | [5 empty] | 660,5413.20614680527,63.3999914202173
|  |  |  | Expo_fit_1_param_2 | 0.035186 | [5 empty] | 650,3762.18828104028,42.504528304155
640,2648.65684384656,30.5117300266973
630,1838.7530799303,21.3095873680767
620,1283.49223422324,15.0670457071721
610,914.258446810951,10.8885601312817
600,647.237063320815,7.86865378387231
590,459.718766520162,5.78952773775866
580,324.00492844397,4.23052979847769
570,229.18149701434,3.59450776280264
560,169.215233072557,3.0709477100824
550,125.979320970206,2.70006888676764

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On