## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3899.8 | 700 |  | 961 | 22.3 | 305 | 17.4642 | 115200 | 339.4113 | -6.7894e-12 | 4.977e-13 | -2.0725e-09 | 1.2661e-11
Fine Gain: | 4 |  |  |  | 3845 | 690 |  |  |  | 336 | 18.3303 | 111928 | 334.5564 | 1.3722e-12 | 2.8057e-13 | -1.4308e-09 | 7.8743e-12
Diff Time (ns): | 500 |  |  |  | 3789.6 | 680 |  |  |  | 306 | 17.4929 | 111856 | 334.4488 | 2.5318e-12 | 1.8727e-13 | -9.9555e-10 | 5.8617e-12
Int Time (ns): | 500 |  |  |  | 3733.6 | 670 |  |  |  | 296 | 17.2047 | 104705 | 323.5815 | 3.6505e-12 | 1.195e-13 | -6.6793e-10 | 4.1675e-12
Detector Settings |  |  |  |  | 3679.6 | 660 |  |  |  | 221 | 14.8661 | 98100 | 313.2092 | 3.7426e-12 | 4.3453e-13 | -4.6835e-10 | 2.5697e-12
[5 empty] | 3623 | 650 |  |  |  | 166 | 12.8841 | 95563 | 309.1327 | 3.9051e-12 | 1.3589e-13 | -3.203e-10 | 1.8923e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3568.6 | 640 |  |  |  | 149 | 12.2066 | 93523 | 305.8153 | 4.1405e-12 | 9.8986e-14 | -2.2737e-10 | 1.3789e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3512.4 | 630 |  |  |  | 105 | 10.247 | 89729 | 299.548 | 4.6157e-12 | 1.0282e-13 | -1.5496e-10 | 8.7087e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3457.4 | 620 |  |  |  | 83 | 9.1104 | 83111 | 288.2898 | 4.5657e-12 | 8.5447e-14 | -1.0912e-10 | 6.1784e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3400.8 | 610 |  |  |  | 55 | 7.4162 | 69930 | 264.4428 | 4.5873e-12 | 9.0841e-14 | -7.5586e-11 | 4.5743e-13
Flow Rate (L/hr): | 5 |  |  |  | 3345.8 | 600 |  |  |  | 40 | 6.3246 | 41441 | 203.5706 | 4.2894e-12 | 8.8747e-14 | -5.2161e-11 | 3.3272e-13
HV Circuit R_Equiv (MOhm): | 5.603 |  |  |  | 3290.8 | 590 |  |  |  | 28 | 5.2915 | 30361 | 174.2441 | 3.987e-12 | 8.5561e-14 | -3.5698e-11 | 2.4178e-13
Total HV Divider R (MOhm): | 4.615 |  |  |  | 3235.2 | 580 |  |  |  | 24 | 4.899 | 14936 | 122.2129 | 4.444e-12 | 9.2855e-14 | -2.396e-11 | 1.8239e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3179.6 | 570 |  |  |  | 11 | 3.3166 | 2637 | 51.3517 | 4.2428e-12 | 8.7089e-14 | -1.5955e-11 | 1.3522e-13
R_GEM1 (MOhm): | 0.56 |  |  |  | 3124.6 | 560 |  |  |  | 8 | 2.8284 | 57 | 7.5498 | 4.1337e-12 | 8.9854e-14 | -1.0142e-11 | 1.1745e-13
R_Transfer1 (MOhm): | 0.437 |  |  |  | 3067.6 | 550 |  |  |  | 6 | 2.4495 | 16 | 4 | 4.369e-12 | 8.5043e-14 | -6.3142e-12 | 1.0746e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.53 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.62 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3899.8 | 3230.5 | 1914.9167 | 5.6643 | -2.0657e-09 | 1.2671e-11 | 19461.3858 | 210.1701
Width (ns): | 400 |  |  | 690 | 3845 | 3184.35 | 1859.8667 | 5.5843 | -1.4322e-09 | 7.8793e-12 | 13493.3411 | 141.0464
Picoammeter Settings |  |  |  | 680 | 3789.6 | 3138.2 | 1859.1667 | 5.5818 | -9.9808e-10 | 5.8647e-12 | 9403.2106 | 100.1903
|  |  |  | 670 | 3733.6 | 3092.05 | 1740.15 | 5.4006 | -6.7158e-10 | 4.1692e-12 | 6327.1663 | 68.5965
Make & Model: | kiethley 6487 |  |  | 660 | 3679.6 | 3045.9 | 1631.3167 | 5.226 | -4.7209e-10 | 2.6062e-12 | 4447.7432 | 46.5371
Triax Red: | signal |  |  | 650 | 3623 | 2999.75 | 1589.95 | 5.1567 | -3.242e-10 | 1.8972e-12 | 3054.3973 | 32.5038
Triax Black: | shielding |  |  | 640 | 3568.6 | 2953.6 | 1556.2333 | 5.101 | -2.3151e-10 | 1.3825e-12 | 2181.0926 | 23.355
Triax Green: | gnd |  |  | 630 | 3512.4 | 2907.45 | 1493.7333 | 4.9954 | -1.5958e-10 | 8.7692e-13 | 1503.4529 | 15.7106
Scalar Settings |  |  |  | 620 | 3457.4 | 2861.3 | 1383.8 | 4.8072 | -1.1369e-10 | 6.2372e-13 | 1071.0688 | 11.1874
|  |  |  | 610 | 3400.8 | 2815.15 | 1164.5833 | 4.4091 | -8.0173e-11 | 4.6636e-13 | 755.336 | 8.0235
|  |  |  | 600 | 3345.8 | 2769 | 690.0167 | 3.3945 | -5.645e-11 | 3.4435e-13 | 531.8338 | 5.7332
Make & Model: | CAEN N1145 |  |  | 590 | 3290.8 | 2722.85 | 505.55 | 2.9054 | -3.9685e-11 | 2.5647e-13 | 373.8817 | 4.1087
Acquisition Time (s): | 60 |  |  | 580 | 3235.2 | 2676.7 | 248.5333 | 2.0385 | -2.8404e-11 | 2.0467e-13 | 267.5985 | 3.0619
Source Settings |  |  |  | 570 | 3179.6 | 2630.55 | 43.7667 | 0.85765 | -2.0198e-11 | 1.6084e-13 | 190.288 | 2.2708
|  |  |  | 560 | 3124.6 | 2584.4 | 0.81667 | 0.13437 | -1.4276e-11 | 1.4788e-13 | 134.4955 | 1.8358
Source: | Ag X-Ray |  |  | 550 | 3067.6 | 2538.25 | 0.16667 | 0.078174 | -1.0683e-11 | 1.3704e-13 | 100.6493 | 1.5707
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,19461.3857858651,210.170142828335
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,13493.3410610348,141.046429115481
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 961 | [5 empty] | 680,9403.21060141933,100.190284689449
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,6327.16633971454,68.5965248744409
|  |  |  | Expo_fit_1_param_1 | 3.5013e-07 | [5 empty] | 660,4447.74321475997,46.5371177791931
|  |  |  | Expo_fit_1_param_2 | 0.035271 | [5 empty] | 650,3054.39734926921,32.503837556456
640,2181.09264127687,23.3550413322144
630,1503.45287268882,15.7106349606904
620,1071.0687902766,11.1873908945765
610,755.335958009856,8.02350776603081
600,531.833802438021,5.73321574999873
590,373.881713197942,4.10874349841474
580,267.59849394971,3.06190087558528
570,190.287982164667,2.27083549072987
560,134.495450286502,1.83578152138006
550,100.649337909714,1.57072109568024

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On