## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3898.4 | 700 |  | 988 | 22.3 | 333 | 18.2483 | 95446 | 308.9434 | 3.7505e-12 | 1.9618e-13 | -9.7417e-10 | 5.8844e-12
Fine Gain: | 4 |  |  |  | 3843.8 | 690 |  |  |  | 298 | 17.2627 | 94927 | 308.1023 | 3.3447e-12 | 1.7713e-13 | -6.9568e-10 | 4.54e-12
Diff Time (ns): | 500 |  |  |  | 3788.4 | 680 |  |  |  | 263 | 16.2173 | 87489 | 295.7854 | 3.8926e-12 | 1.5995e-13 | -4.9538e-10 | 3.0705e-12
Int Time (ns): | 500 |  |  |  | 3732.8 | 670 |  |  |  | 214 | 14.6287 | 83449 | 288.8754 | 4.0222e-12 | 1.4307e-13 | -3.5543e-10 | 2.3493e-12
Detector Settings |  |  |  |  | 3677.4 | 660 |  |  |  | 139 | 11.7898 | 82924 | 287.9653 | 4.0541e-12 | 1.0938e-13 | -2.5464e-10 | 1.6283e-12
[5 empty] | 3621.4 | 650 |  |  |  | 140 | 11.8322 | 80542 | 283.7992 | 4.2667e-12 | 1.0853e-13 | -1.7693e-10 | 1.1808e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3566.4 | 640 |  |  |  | 100 | 10 | 77688 | 278.7257 | 4.1359e-12 | 1.044e-13 | -1.2521e-10 | 1.1799e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3510.6 | 630 |  |  |  | 87 | 9.3274 | 72534 | 269.3214 | 4.0029e-12 | 1.0341e-13 | -8.7937e-11 | 5.3232e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3455.6 | 620 |  |  |  | 81 | 9 | 64855 | 254.6664 | 4.1257e-12 | 9.7276e-14 | -6.1673e-11 | 4.097e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3399.8 | 610 |  |  |  | 62 | 7.874 | 38646 | 196.5859 | 3.9233e-12 | 9.6735e-14 | -4.3472e-11 | 2.7366e-13
Flow Rate (L/hr): | 5 |  |  |  | 3344.4 | 600 |  |  |  | 27 | 5.1962 | 28872 | 169.9176 | 4.2758e-12 | 8.8748e-14 | -3.0324e-11 | 2.1591e-13
HV Circuit R_Equiv (MOhm): | 5.59 |  |  |  | 3288.6 | 590 |  |  |  | 16 | 4 | 17566 | 132.5368 | 4.2417e-12 | 9.4061e-14 | -1.9885e-11 | 1.8575e-13
Total HV Divider R (MOhm): | 4.58 |  |  |  | 3233.2 | 580 |  |  |  | 13 | 3.6056 | 5168 | 71.8888 | 4.8135e-12 | 1.1603e-13 | -1.3466e-11 | 1.5875e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3177.8 | 570 |  |  |  | 4 | 2 | 344 | 18.5472 | 4.701e-12 | 1.1024e-13 | -8.3321e-12 | 1.1855e-13
R_GEM1 (MOhm): | 0.56 |  |  |  | 3122.2 | 560 |  |  |  | 7 | 2.6458 | 6 | 2.4495 | 4.2689e-12 | 1.0942e-13 | -4.6714e-12 | 1.1692e-13
R_Transfer1 (MOhm): | 0.47 |  |  |  | 3066.4 | 550 |  |  |  | 3 | 1.7321 | 4 | 2 | 4.6214e-12 | 9.6882e-14 | -2.2828e-12 | 1.0511e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.53 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.63 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3898.4 | 3206 | 1585.2167 | 5.158 | -9.7792e-10 | 5.8877e-12 | 11129.4785 | 120.4275
Width (ns): | 400 |  |  | 690 | 3843.8 | 3160.2 | 1577.15 | 5.1431 | -6.9903e-10 | 4.5434e-12 | 7955.4645 | 88.2601
Picoammeter Settings |  |  |  | 680 | 3788.4 | 3114.4 | 1453.7667 | 4.9372 | -4.9928e-10 | 3.0747e-12 | 5682.1752 | 61.9231
|  |  |  | 670 | 3732.8 | 3068.6 | 1387.25 | 4.8208 | -3.5945e-10 | 2.3537e-12 | 4090.821 | 45.5006
Make & Model: | kiethley 6487 |  |  | 660 | 3677.4 | 3022.8 | 1379.75 | 4.8034 | -2.5869e-10 | 1.632e-12 | 2944.149 | 32.3368
Triax Red: | signal |  |  | 650 | 3621.4 | 2977 | 1340.0333 | 4.7341 | -1.8119e-10 | 1.1857e-12 | 2062.1205 | 22.9315
Triax Black: | shielding |  |  | 640 | 3566.4 | 2931.2 | 1293.1333 | 4.6484 | -1.2935e-10 | 1.1845e-12 | 1472.0615 | 18.8916
Triax Green: | gnd |  |  | 630 | 3510.6 | 2885.4 | 1207.45 | 4.4914 | -9.194e-11 | 5.4227e-13 | 1046.3471 | 11.2513
Scalar Settings |  |  |  | 620 | 3455.6 | 2839.6 | 1079.5667 | 4.2471 | -6.5799e-11 | 4.2109e-13 | 748.8399 | 8.2642
|  |  |  | 610 | 3399.8 | 2793.8 | 643.0667 | 3.2791 | -4.7395e-11 | 2.9026e-13 | 539.3919 | 5.8678
|  |  |  | 600 | 3344.4 | 2748 | 480.75 | 2.8333 | -3.4599e-11 | 2.3343e-13 | 393.7694 | 4.4263
Make & Model: | CAEN N1145 |  |  | 590 | 3288.6 | 2702.2 | 292.5 | 2.21 | -2.4127e-11 | 2.0821e-13 | 274.5802 | 3.4219
Acquisition Time (s): | 60 |  |  | 580 | 3233.2 | 2656.4 | 85.9167 | 1.1997 | -1.828e-11 | 1.9663e-13 | 208.0377 | 2.9166
Source Settings |  |  |  | 570 | 3177.8 | 2610.6 | 5.6667 | 0.31091 | -1.3033e-11 | 1.6189e-13 | 148.3266 | 2.2744
|  |  |  | 560 | 3122.2 | 2564.8 | -0.016667 | 0.060093 | -8.9403e-12 | 1.6013e-13 | 101.7481 | 2.0391
Source: | Ag X-Ray |  |  | 550 | 3066.4 | 2519 | 0.016667 | 0.044096 | -6.9042e-12 | 1.4295e-13 | 78.5753 | 1.7737
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,11129.4784933457,120.427516608003
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,7955.4644911426,88.2600580686196
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 988 | [5 empty] | 680,5682.17523095442,61.9231248774317
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,4090.82098242972,45.5006032155778
|  |  |  | Expo_fit_1_param_1 | 8.5444e-07 | [5 empty] | 660,2944.14897397214,32.336840013111
|  |  |  | Expo_fit_1_param_2 | 0.033252 | [5 empty] | 650,2062.12051282542,22.9315377236737
640,1472.06154838596,18.8916492268225
630,1046.34706069874,11.2512821836981
620,748.839871173059,8.26421785073637
610,539.391908087861,5.86781020668952
600,393.769415289157,4.42628284930075
590,274.580223797693,3.42190946065888
580,208.037670442066,2.91657952229757
570,148.32662804074,2.27440950147093
560,101.748133857299,2.03914698397453
550,78.5753332163192,1.77365557586059

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On