## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3896.4 | 700.15 | 9:26 | 964 | 22.3 | 358 | 18.9209 | 89700 | 299.4996 | 2.2203e-12 | 3.0291e-13 | -1.3351e-09 | 8.7741e-12
Fine Gain: | 4.5 |  |  |  | 3840.4 | 690 |  | 964 | 22.3 | 368 | 19.1833 | 86806 | 294.6286 | 2.3965e-12 | 2.4584e-13 | -9.2253e-10 | 5.9368e-12
Diff Time (ns): | 500 |  |  |  | 3785 | 680 |  | 964 | 22.3 | 314 | 17.72 | 84908 | 291.3898 | 3.2173e-12 | 1.355e-13 | -6.4407e-10 | 4.298e-12
Int Time (ns): | 500 |  |  |  | 3729.4 | 670 |  | 964 | 22.3 | 283 | 16.8226 | 79420 | 281.8155 | 3.5004e-12 | 1.3293e-13 | -4.5082e-10 | 3.119e-12
Detector Settings |  |  |  |  | 3674 | 660 |  | 964 | 22.3 | 242 | 15.5563 | 76354 | 276.3223 | 3.3037e-12 | 1.1536e-13 | -3.1167e-10 | 1.9999e-12
[5 empty] | 3618.6 | 650 |  | 964 | 22.3 | 184 | 13.5647 | 74237 | 272.4647 | 3.1685e-12 | 2.7381e-13 | -2.1389e-10 | 1.5233e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3563.4 | 640 |  | 964 | 22.3 | 151 | 12.2882 | 72210 | 268.7192 | 3.4345e-12 | 9.9846e-14 | -1.5231e-10 | 1.0169e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3507.8 | 630 |  | 964 | 22.3 | 129 | 11.3578 | 68570 | 261.8587 | 3.6698e-12 | 1.2784e-13 | -1.0404e-10 | 7.4688e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3452.6 | 620 |  | 964 | 22.3 | 92 | 9.5917 | 61876 | 248.7489 | 3.1628e-12 | 1.0119e-13 | -7.0794e-11 | 5.1787e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3397 | 610 |  | 964 | 22.3 | 77 | 8.775 | 44650 | 211.3055 | 3.4527e-12 | 1.25e-13 | -5.0242e-11 | 3.7251e-13
Flow Rate (L/hr): | 5 |  |  |  | 3341.8 | 600 |  | 964 | 22.3 | 55 | 7.4162 | 29181 | 170.8245 | 3.613e-12 | 1.1079e-13 | -3.4618e-11 | 2.4011e-13
HV Circuit R_Equiv (MOhm): | 5.604 |  |  |  | 3285.8 | 590 |  | 964 | 22.3 | 47 | 6.8557 | 19114 | 138.2534 | 3.8858e-12 | 9.3167e-14 | -2.2876e-11 | 1.8792e-13
Total HV Divider R (MOhm): | 4.604 |  |  |  | 3230.4 | 580 |  | 964 | 22.3 | 29 | 5.3852 | 7002 | 83.678 | 3.8608e-12 | 7.5135e-14 | -1.6099e-11 | 1.5072e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3175.2 | 570 |  | 964 | 22.3 | 29 | 5.3852 | 786 | 28.0357 | 3.8506e-12 | 9.0219e-14 | -9.5997e-12 | 1.1369e-13
R_GEM1 (MOhm): | 0.563 |  |  |  | 3119.6 | 560 |  | 964 | 22.3 | 19 | 4.3589 | 34 | 5.831 | 4.1894e-12 | 8.6189e-14 | -6.5506e-12 | 1.0044e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3064 | 550 |  | 964 | 22.3 | 29 | 5.3852 | 32 | 5.6569 | 3.6721e-12 | 7.9188e-14 | -3.1116e-12 | 1.0639e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.526 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700.15 | 3896.4 | 3223.4906 | 1489.0333 | 5.0016 | -1.3373e-09 | 8.7794e-12 | 16202.7575 | 180.8846
Width (ns): | 400 |  |  | 690 | 3840.4 | 3176.76 | 1440.6333 | 4.9209 | -9.2493e-10 | 5.9419e-12 | 11206.351 | 124.1848
Picoammeter Settings |  |  |  | 680 | 3785 | 3130.72 | 1409.9 | 4.8655 | -6.4728e-10 | 4.3002e-12 | 7842.4511 | 87.915
|  |  |  | 670 | 3729.4 | 3084.68 | 1318.95 | 4.7053 | -4.5432e-10 | 3.1218e-12 | 5504.4969 | 62.458
Make & Model: | kiethley 6487 |  |  | 660 | 3674 | 3038.64 | 1268.5333 | 4.6127 | -3.1497e-10 | 2.0032e-12 | 3816.1764 | 42.1477
Triax Red: | signal |  |  | 650 | 3618.6 | 2992.6 | 1234.2167 | 4.5467 | -2.1706e-10 | 1.5477e-12 | 2629.9127 | 30.2582
Triax Black: | shielding |  |  | 640 | 3563.4 | 2946.56 | 1200.9833 | 4.4833 | -1.5575e-10 | 1.0218e-12 | 1887.0274 | 21.0616
Triax Green: | gnd |  |  | 630 | 3507.8 | 2900.52 | 1140.6833 | 4.3684 | -1.0771e-10 | 7.5775e-13 | 1305.0113 | 14.9379
Scalar Settings |  |  |  | 620 | 3452.6 | 2854.48 | 1029.7333 | 4.1489 | -7.3957e-11 | 5.2766e-13 | 896.0546 | 10.3119
|  |  |  | 610 | 3397 | 2808.44 | 742.8833 | 3.5248 | -5.3694e-11 | 3.9293e-13 | 650.5566 | 7.5611
|  |  |  | 600 | 3341.8 | 2762.4 | 485.4333 | 2.8498 | -3.8231e-11 | 2.6444e-13 | 463.1996 | 5.2686
Make & Model: | CAEN N1145 |  |  | 590 | 3285.8 | 2716.36 | 317.7833 | 2.3071 | -2.6762e-11 | 2.0975e-13 | 324.2452 | 3.8769
Acquisition Time (s): | 60 |  |  | 580 | 3230.4 | 2670.32 | 116.2167 | 1.3975 | -1.996e-11 | 1.6841e-13 | 241.8341 | 2.9886
Source Settings |  |  |  | 570 | 3175.2 | 2624.28 | 12.6167 | 0.4758 | -1.345e-11 | 1.4514e-13 | 162.9628 | 2.2929
|  |  |  | 560 | 3119.6 | 2578.24 | 0.25 | 0.12134 | -1.074e-11 | 1.3235e-13 | 130.1251 | 1.988
Source: | Ag X-Ray |  |  | 550 | 3064 | 2532.2 | 0.05 | 0.13017 | -6.7837e-12 | 1.3262e-13 | 82.1908 | 1.77
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700.15,16202.7574725918,180.884553306724
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 690,11206.3509728564,124.184836887415
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 964 | [5 empty] | 680,7842.45107409737,87.9149662877326
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,5504.49688166728,62.4579910470351
|  |  |  | Expo_fit_1_param_1 | 3.7914e-07 | [5 empty] | 660,3816.17642294802,42.1477427474561
|  |  |  | Expo_fit_1_param_2 | 0.034905 | [5 empty] | 650,2629.91270605407,30.2582360219613
640,1887.02739012958,21.0616075246151
630,1305.01134460883,14.9378966398
620,896.054622786155,10.3119089987631
610,650.556624684323,7.56110755987753
600,463.199616512355,5.26863105511129
590,324.245240955219,3.87689377810492
580,241.834063654814,2.98856866695037
570,162.962849393564,2.29291149083023
560,130.125099156759,1.98797106552724
550,82.1907974696504,1.76995634125564

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On