## Data Summary
QC5 Effective gain
Username: | Henning | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3486 | 700 | 18:42 | 978.85 | 23.58 | 320 | 17.8885 | 2046127 | 1430.429 | -3.52e-12 | 5.01e-12 | -3.92e-08 | 7.76e-10
Fine Gain: | 4.5 |  |  |  | 3436.2 | 690 | 18:48 | 978.85 | 23.64 | 306 | 17.4929 | 1863581 | 1365.1304 | -3.38e-12 | 4.3e-12 | -2.65e-08 | 5.11e-10
Diff Time (ns): | 100 |  |  |  | 3386.4 | 680 | 18:54 | 978.88 | 23.71 | 269 | 16.4012 | 1820608 | 1349.2991 | -2.43e-12 | 2.57e-12 | -1.79e-08 | 3.43e-10
Int Time (ns): | 100 |  |  |  | 3336.6 | 670 | 19:01 | 978.89 | 23.87 | 278 | 16.6733 | 1790991 | 1338.2791 | -1.36e-12 | 1.1e-11 | -1.22e-08 | 2.31e-10
Detector Settings |  |  |  |  | 3286.8 | 660 | 19:11 | 978.91 | 23.77 | 187 | 13.6748 | 1764213 | 1328.2368 | -1.46e-12 | 1.97e-12 | -8.37e-09 | 1.49e-10
[5 empty] | 3237 | 650 | 19:18 | 978.91 | 23.9 | 208 | 14.4222 | 1739643 | 1318.9553 | -1.32e-12 | 2.19e-12 | -5.88e-09 | 1.1e-10
Serial Number: | GE11-X-L-CERN-0016 |  |  |  | 3187.2 | 640 | 19:24 | 978.92 | 23.94 | 129 | 11.3578 | 1707452 | 1306.6951 | -9.98e-13 | 1.82e-12 | -4.12e-09 | 8.39e-11
Position (ieta,iphi): | 4.2 |  |  |  | 3137.4 | 630 | 19:32 | 978.95 | 23.94 | 106 | 10.2956 | 1660401 | 1288.5655 | -7.26e-13 | 1.42e-12 | -2.91e-09 | 5.8e-11
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3087.6 | 620 | 19:38 | 978.98 | 23.95 | 115 | 10.7238 | 1577365 | 1255.9319 | -1.39e-12 | 1.37e-12 | -2.02e-09 | 3.68e-11
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3037.8 | 610 | 19:46 | 979.01 | 23.94 | 78 | 8.8318 | 1401605 | 1183.894 | -1.24e-13 | 1.83e-11 | -1.46e-09 | 2.57e-11
Flow Rate (L/hr): | 5 |  |  |  | 2988 | 600 | 19:54 | 979.02 | 23.94 | 35 | 5.9161 | 869033 | 932.2194 | -1.26e-12 | 2.88e-11 | -1.04e-09 | 1.94e-11
HV Circuit R_Equiv (MOhm): | 4.98 |  |  |  | 2938.2 | 590 | 20:01 | 979.02 | 23.94 | 47 | 6.8557 | 545718 | 738.7273 | -2.1e-13 | 1.39e-12 | -7.41e-10 | 1.35e-11
Total HV Divider R (MOhm): | 4.7 |  |  |  | 2888.4 | 580 | 20:11 | 979.06 | 23.94 | 21 | 4.5826 | 330974 | 575.3034 | -1.71e-12 | 1.33e-12 | -5.45e-10 | 9.19e-12
R_Drift (MOhm): | 1.121 |  |  |  | 2838.6 | 570 | 20:16 | 979.09 | 23.94 | 12 | 3.4641 | 111576 | 334.0299 | -4.88e-13 | 2.6e-11 | -3.8e-10 | 7.96e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 2788.8 | 560 | 20:22 | 979.12 | 23.95 | 17 | 4.1231 | 13174 | 114.778 | -9.03e-13 | 1.31e-12 | -2.74e-10 | 5.47e-12
R_Transfer1 (MOhm): | 0.44 |  |  |  | 2739 | 550 | 20:28 | 979.11 | 23.95 | 25 | 5 | 546 | 23.3666 | -1.98e-10 | 3.84e-12 | -1.4e-12 | 1.27e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.868 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.51 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.66 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | LeCroy 623 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | -100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | <0.05 |  |  | 700 | 3486 | 3290 | 34096.7833 | 23.8423 | -3.9196e-08 | 7.7602e-10 | 20739.3455 | 446.1147
Width (ns): | 200 |  |  | 690 | 3436.2 | 3243 | 31054.5833 | 22.754 | -2.6497e-08 | 5.1102e-10 | 14019.6915 | 294.9786
Picoammeter Settings |  |  |  | 680 | 3386.4 | 3196 | 30338.9833 | 22.49 | -1.7898e-08 | 3.4301e-10 | 9469.8271 | 198.1982
|  |  |  | 670 | 3336.6 | 3149 | 29845.2167 | 22.3064 | -1.2199e-08 | 2.3126e-10 | 6454.4523 | 133.8648
Make & Model: | Keithley 6485 |  |  | 660 | 3286.8 | 3102 | 29400.4333 | 22.1385 | -8.3685e-09 | 1.4901e-10 | 4427.8987 | 87.1975
Triax Red: | Enter value |  |  | 650 | 3237 | 3055 | 28990.5833 | 21.9839 | -5.8787e-09 | 1.1002e-10 | 3110.4828 | 63.8221
Triax Black: | Enter value |  |  | 640 | 3187.2 | 3008 | 28455.3833 | 21.7791 | -4.119e-09 | 8.392e-11 | 2179.4152 | 48.0377
Triax Green: | Enter value |  |  | 630 | 3137.4 | 2961 | 27671.5833 | 21.4768 | -2.9093e-09 | 5.8017e-11 | 1539.3331 | 33.3162
Scalar Settings |  |  |  | 620 | 3087.6 | 2914 | 26287.5 | 20.933 | -2.0186e-09 | 3.6825e-11 | 1068.0717 | 21.4559
|  |  |  | 610 | 3037.8 | 2867 | 23358.7833 | 19.7321 | -1.4599e-09 | 3.155e-11 | 772.4386 | 17.9129
|  |  |  | 600 | 2988 | 2820 | 14483.3 | 15.5373 | -1.0387e-09 | 3.4725e-11 | 549.6103 | 18.9458
Make & Model: | Custom |  |  | 590 | 2938.2 | 2773 | 9094.5167 | 12.3127 | -7.4079e-10 | 1.3571e-11 | 391.9612 | 7.9014
Acquisition Time (s): | 60 |  |  | 580 | 2888.4 | 2726 | 5515.8833 | 9.5887 | -5.4329e-10 | 9.2857e-12 | 287.4615 | 5.4759
Source Settings |  |  |  | 570 | 2838.6 | 2679 | 1859.4 | 5.5675 | -3.7951e-10 | 2.7191e-11 | 200.8045 | 14.486
|  |  |  | 560 | 2788.8 | 2632 | 219.2833 | 1.9142 | -2.731e-10 | 5.6247e-12 | 144.499 | 3.2147
Source: | AMPTEK MINI X |  |  | 550 | 2739 | 2585 | 8.6833 | 0.39826 | 1.966e-10 | 4.0446e-12 | 104.0235 | 2.312
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 297.0187 |  | P0 | 964.4 |  |  | 700,20739.3455156118,446.114678539214
Filter Status: | Open |  |  | Err temperature (C) | 0.1191 |  | T0 | 297.1 |  |  | 690,14019.6914920898,294.978630960234
Collimator Status: | Open |  |  | Avrg pressure (mbar) | 978.9731 | [5 empty] | 680,9469.82708957151,198.198199321266
|  |  |  | Err pressure (mbar) | 0.088227 | [5 empty] | 670,6454.45228195395,133.864799409055
|  |  |  | Expo_fit_1_param_1 | 4.1199e-07 | [5 empty] | 660,4427.89869195442,87.1974676046115
|  |  |  | Expo_fit_1_param_2 | 0.03506 | [5 empty] | 650,3110.48277028235,63.8221063667836
640,2179.41523467148,48.0377143734755
630,1539.33309025673,33.3161847369364
620,1068.07168019345,21.4558938719596
610,772.438565247421,17.9129429498731
600,549.610265026007,18.9458133479852
590,391.961210917665,7.90135651982986
580,287.461502287367,5.47585307766784
570,200.804523654187,14.4859936952944
560,144.499022419284,3.21467145819011
550,104.023507426414,2.31196441275724

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On