## Data Summary
QC5 Effective gain
Username: | Henning | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3493 | 700 | 17:06 | 987.97 | 22.86 | 279 | 16.7033 | 1586497 | 1259.5622 | -1.67e-12 | 2.01e-12 | -1.89e-08 | 3.9e-10
Fine Gain: | 4.5 |  |  |  | 3443.1 | 690 | 17:17 | 988.06 | 22.84 | 284 | 16.8523 | 1556267 | 1247.5043 | -1.5e-12 | 1.96e-12 | -1.28e-08 | 2.8e-10
Diff Time (ns): | 100 |  |  |  | 3393.2 | 680 | 17:29 | 988.49 | 22.5 | 233 | 15.2643 | 1527797 | 1236.0409 | -1.42e-12 | 1.51e-12 | -8.84e-09 | 1.82e-10
Int Time (ns): | 100 |  |  |  | 3343.3 | 670 | 17:34 | 988.5 | 22.69 | 211 | 14.5258 | 1502352 | 1225.7047 | -1.27e-12 | 1.4e-12 | -6.27e-09 | 1.37e-10
Detector Settings |  |  |  |  | 3293.4 | 660 | 17:45 | 988.52 | 22.86 | 162 | 12.7279 | 1476258 | 1215.0136 | -1.2e-12 | 1.69e-11 | -4.26e-09 | 9.07e-11
[5 empty] | 3243.5 | 650 | 17:52 | 988.53 | 22.86 | 134 | 11.5758 | 1443436 | 1201.4308 | -1.16e-12 | 1.03e-12 | -2.98e-09 | 6.14e-11
Serial Number: | GE11-X-L-CERN-0017 |  |  |  | 3193.6 | 640 | 18:15 | 988.55 | 22.86 | 122 | 11.0454 | 1388790 | 1178.4693 | -1.63e-12 | 7.92e-12 | -2.21e-09 | 4.75e-11
Position (ieta,iphi): | 4.2 |  |  |  | 3143.7 | 630 | 18:22 | 988.56 | 22.86 | 89 | 9.434 | 1275034 | 1129.174 | -1.01e-12 | 1.07e-12 | -1.48e-09 | 3.02e-11
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3093.8 | 620 | 18:37 | 988.57 | 22.91 | 76 | 8.7178 | 1022387 | 1011.1315 | -1.15e-12 | 8.39e-13 | -1.05e-09 | 2.43e-11
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3043.9 | 610 | 18:44 | 988.57 | 22.96 | 182 | 13.4907 | 554354 | 744.5495 | -4.87e-13 | 1.54e-11 | -7.51e-10 | 1.7e-11
Flow Rate (L/hr): | 5 |  |  |  | 2994 | 600 | 18:51 | 988.58 | 22.94 | 69 | 8.3066 | 362854 | 602.3736 | -6.66e-13 | 1.75e-11 | -5.29e-10 | 1.08e-11
HV Circuit R_Equiv (MOhm): | 4.99 |  |  |  | 2944.1 | 590 | 18:59 | 988.58 | 23.11 | 47 | 6.8557 | 160618 | 400.7718 | -7.15e-13 | 8.38e-13 | -3.78e-10 | 7.11e-12
Total HV Divider R (MOhm): | 4.7 |  |  |  | 2894.2 | 580 | 19:05 | 988.58 | 23.14 | 23 | 4.7958 | 25584 | 159.95 | -1.45e-12 | 8.06e-13 | -2.71e-10 | 5.46e-12
R_Drift (MOhm): | 1.1 |  |  |  | 2844.3 | 570 | 19:13 | 988.58 | 23.18 | 33 | 5.7446 | 1192 | 34.5254 | -1.43e-12 | 9.03e-13 | -1.96e-10 | 4.08e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 2794.4 | 560 | 19:27 | 988.58 | 22.88 | 21 | 4.5826 | 43 | 6.5574 | -1.48e-12 | 9.82e-13 | -1.42e-10 | 2.68e-12
R_Transfer1 (MOhm): | 0.44 |  |  |  | 2744.5 | 550 | 19:35 | 988.58 | 22.86 | 17 | 4.1231 | 20 | 4.4721 | -2.06e-12 | 7.88e-12 | -1.05e-10 | 2.21e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.66 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | LeCroy 623 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | -100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | <0.05 |  |  | 700 | 3493 | 3290 | 26436.9667 | 20.9945 | -1.8898e-08 | 3.9001e-10 | 12896.5395 | 287.4415
Width (ns): | 200 |  |  | 690 | 3443.1 | 3243 | 25933.05 | 20.7936 | -1.2799e-08 | 2.8001e-10 | 8733.9125 | 204.7411
Picoammeter Settings |  |  |  | 680 | 3393.2 | 3196 | 25459.4 | 20.6023 | -8.8386e-09 | 1.8201e-10 | 6031.5963 | 134.1838
|  |  |  | 670 | 3343.3 | 3149 | 25035.6833 | 20.4298 | -6.2687e-09 | 1.3701e-10 | 4277.8872 | 100.193
Make & Model: | Keithley 6485 |  |  | 660 | 3293.4 | 3102 | 24601.6 | 20.2513 | -4.2588e-09 | 9.2261e-11 | 2906.277 | 67.5478
Triax Red: | Enter value |  |  | 650 | 3243.5 | 3055 | 24055.0333 | 20.0248 | -2.9788e-09 | 6.1409e-11 | 2032.8107 | 45.2663
Triax Black: | Enter value |  |  | 640 | 3193.6 | 3008 | 23144.4667 | 19.642 | -2.2084e-09 | 4.8156e-11 | 1507.029 | 35.2265
Triax Green: | Enter value |  |  | 630 | 3143.7 | 2961 | 21249.0833 | 18.8202 | -1.479e-09 | 3.0219e-11 | 1009.2878 | 22.304
Scalar Settings |  |  |  | 620 | 3093.8 | 2914 | 17038.5167 | 16.8528 | -1.0489e-09 | 2.4314e-11 | 715.753 | 17.653
|  |  |  | 610 | 3043.9 | 2867 | 9236.2 | 12.4112 | -7.5051e-10 | 2.2938e-11 | 512.1627 | 16.2364
|  |  |  | 600 | 2994 | 2820 | 6046.4167 | 10.0405 | -5.2833e-10 | 2.0564e-11 | 360.544 | 14.3579
Make & Model: | Custom |  |  | 590 | 2944.1 | 2773 | 2676.1833 | 6.6805 | -3.7729e-10 | 7.1592e-12 | 257.4657 | 5.3448
Acquisition Time (s): | 60 |  |  | 580 | 2894.2 | 2726 | 426.0167 | 2.667 | -2.6955e-10 | 5.5192e-12 | 183.9455 | 4.0723
Source Settings |  |  |  | 570 | 2844.3 | 2679 | 19.3167 | 0.58333 | -1.9457e-10 | 4.1787e-12 | 132.7779 | 3.0629
|  |  |  | 560 | 2794.4 | 2632 | 0.36667 | 0.13333 | -1.4052e-10 | 2.8542e-12 | 95.8932 | 2.1085
Source: | AMPTEK MINI X |  |  | 550 | 2744.5 | 2585 | 0.05 | 0.10138 | -1.0294e-10 | 8.184e-12 | 70.248 | 5.6162
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 296.0444 |  | P0 | 964.4 |  |  | 700,12896.5395495326,287.441492517657
Filter Status: | Open |  |  | Err temperature (C) | 0.15863 |  | T0 | 297.1 |  |  | 690,8733.91254278517,204.741146895526
Collimator Status: | Open |  |  | Avrg pressure (mbar) | 988.4875 | [5 empty] | 680,6031.59625912491,134.183846074895
|  |  |  | Err pressure (mbar) | 0.18161 | [5 empty] | 670,4277.88721915331,100.192974566736
|  |  |  | Expo_fit_1_param_1 | 3.2667e-07 | [5 empty] | 660,2906.2770431858,67.5478343289374
|  |  |  | Expo_fit_1_param_2 | 0.034755 | [5 empty] | 650,2032.81072304959,45.2662912276643
640,1507.02898324886,35.2265429841385
630,1009.28775338156,22.3039600733081
620,715.752953119524,17.6529563688773
610,512.16274596424,16.2364273492958
600,360.544044175478,14.3579489190937
590,257.4656556397,5.34484133927439
580,183.945472196565,4.0723307794169
570,132.777853924265,3.06291603311169
560,95.8932211206135,2.10847118948478
550,70.2479944645314,5.61615386878227

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On