## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3896.4 | 700 |  | 976 | 22.3 | 479 | 21.8861 | 164040 | 405.0185 | 2.841e-12 | 3.2639e-13 | -2.5488e-09 | 1.2272e-11
Fine Gain: | 4.5 |  |  |  | 3840.4 | 690 |  |  |  | 422 | 20.5426 | 155875 | 394.8101 | 3.073e-12 | 2.3239e-13 | -1.816e-09 | 9.7003e-12
Diff Time (ns): | 500 |  |  |  | 3785 | 680 |  |  |  | 361 | 19 | 153208 | 391.4179 | 3.289e-12 | 2.885e-13 | -1.2726e-09 | 5.8687e-12
Int Time (ns): | 500 |  |  |  | 3729.4 | 670 |  |  |  | 352 | 18.7617 | 146523 | 382.7832 | 3.4947e-12 | 2.1179e-13 | -8.8565e-10 | 4.3754e-12
Detector Settings |  |  |  |  | 3674 | 660 |  |  |  | 254 | 15.9374 | 140579 | 374.9387 | 4.361e-12 | 2.0433e-13 | -6.1652e-10 | 3.0932e-12
[5 empty] | 3618.6 | 650 |  |  |  | 243 | 15.5885 | 137416 | 370.6966 | 4.6202e-12 | 1.5524e-13 | -4.2639e-10 | 2.1998e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3563.4 | 640 |  |  |  | 196 | 14 | 133882 | 365.8989 | 4.1007e-12 | 1.5284e-13 | -2.9829e-10 | 1.477e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3507.8 | 630 |  |  |  | 133 | 11.5326 | 128046 | 357.8352 | 4.2689e-12 | 3.6065e-13 | -2.0931e-10 | 1.0128e-12
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3452.6 | 620 |  |  |  | 113 | 10.6301 | 118013 | 343.5302 | 5.0738e-12 | 1.0595e-13 | -1.4432e-10 | 7.2421e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3397 | 610 |  |  |  | 84 | 9.1652 | 91218 | 302.0232 | 4.834e-12 | 1.9857e-13 | -1.021e-10 | 5.4797e-13
Flow Rate (L/hr): | 5 |  |  |  | 3341.8 | 600 |  |  |  | 63 | 7.9373 | 56545 | 237.7919 | 4.8954e-12 | 1.5994e-13 | -7.0828e-11 | 3.4906e-13
HV Circuit R_Equiv (MOhm): | 5.604 |  |  |  | 3285.8 | 590 |  |  |  | 50 | 7.0711 | 40344 | 200.8582 | 5.0818e-12 | 3.5664e-13 | -4.9542e-11 | 2.577e-13
Total HV Divider R (MOhm): | 4.604 |  |  |  | 3230.4 | 580 |  |  |  | 27 | 5.1962 | 17997 | 134.1529 | 5.4035e-12 | 1.0596e-13 | -3.3411e-11 | 2.0593e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3175.2 | 570 |  |  |  | 24 | 4.899 | 3096 | 55.6417 | 5.5138e-12 | 1.5949e-13 | -2.2317e-11 | 1.5313e-13
R_GEM1 (MOhm): | 0.563 |  |  |  | 3119.6 | 560 |  |  |  | 13 | 3.6056 | 66 | 8.124 | 5.524e-12 | 2.9645e-13 | -1.5493e-11 | 1.0835e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3064 | 550 |  |  |  | 9 | 3 | 12 | 3.4641 | 5.3194e-12 | 1.3519e-13 | -9.2575e-12 | 1.0308e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.526 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3896.4 | 3222.8 | 2726.0167 | 6.7602 | -2.5516e-09 | 1.2276e-11 | 16886.6958 | 168.4832
Width (ns): | 400 |  |  | 690 | 3840.4 | 3176.76 | 2590.8833 | 6.5891 | -1.819e-09 | 9.7031e-12 | 12038.6254 | 123.2725
Picoammeter Settings |  |  |  | 680 | 3785 | 3130.72 | 2547.45 | 6.5313 | -1.2759e-09 | 5.8758e-12 | 8443.8707 | 83.4227
|  |  |  | 670 | 3729.4 | 3084.68 | 2436.1833 | 6.3874 | -8.8915e-10 | 4.3805e-12 | 5884.4655 | 59.0418
Make & Model: | kiethley 6487 |  |  | 660 | 3674 | 3038.64 | 2338.75 | 6.2546 | -6.2089e-10 | 3.0999e-12 | 4109.0807 | 41.3626
Triax Red: | signal |  |  | 650 | 3618.6 | 2992.6 | 2286.2167 | 6.1837 | -4.3101e-10 | 2.2053e-12 | 2852.4689 | 28.8901
Triax Black: | shielding |  |  | 640 | 3563.4 | 2946.56 | 2228.1 | 6.1028 | -3.0239e-10 | 1.4849e-12 | 2001.2674 | 20.0638
Triax Green: | gnd |  |  | 630 | 3507.8 | 2900.52 | 2131.8833 | 5.967 | -2.1358e-10 | 1.0751e-12 | 1413.4702 | 14.2571
Scalar Settings |  |  |  | 620 | 3452.6 | 2854.48 | 1965 | 5.7282 | -1.494e-10 | 7.3192e-13 | 988.7309 | 9.9071
|  |  |  | 610 | 3397 | 2808.44 | 1518.9 | 5.036 | -1.0693e-10 | 5.8284e-13 | 707.683 | 7.2898
|  |  |  | 600 | 3341.8 | 2762.4 | 941.3667 | 3.9654 | -7.5723e-11 | 3.8396e-13 | 501.1445 | 5.064
Make & Model: | CAEN N1145 |  |  | 590 | 3285.8 | 2716.36 | 671.5667 | 3.3497 | -5.4624e-11 | 4.4e-13 | 361.5084 | 4.297
Acquisition Time (s): | 60 |  |  | 580 | 3230.4 | 2670.32 | 299.5 | 2.2376 | -3.8815e-11 | 2.3159e-13 | 256.881 | 2.7186
Source Settings |  |  |  | 570 | 3175.2 | 2624.28 | 51.2 | 0.93095 | -2.7831e-11 | 2.211e-13 | 184.1851 | 2.1755
|  |  |  | 560 | 3119.6 | 2578.24 | 0.88333 | 0.14814 | -2.1017e-11 | 3.1563e-13 | 139.0944 | 2.4169
Source: | Ag X-Ray |  |  | 550 | 3064 | 2532.2 | 0.05 | 0.076376 | -1.4577e-11 | 1.7001e-13 | 96.4715 | 1.406
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,16886.6957797456,168.483235984038
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,12038.6253690504,123.272450646111
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 976 | [5 empty] | 680,8443.87072342451,83.4226609976942
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,5884.46549629819,59.0417915694473
|  |  |  | Expo_fit_1_param_1 | 5.1582e-07 | [5 empty] | 660,4109.08066732867,41.3625599555192
|  |  |  | Expo_fit_1_param_2 | 0.034546 | [5 empty] | 650,2852.46885683452,28.8901446651651
640,2001.2673824102,20.0637696867759
630,1413.47017005469,14.2570843354642
620,988.73087654948,9.90710767375761
610,707.683047060847,7.28976320980873
600,501.144469693128,5.06403344386112
590,361.508392184142,4.296972853785
580,256.881027966073,2.71856270285321
570,184.185097461756,2.1755392497238
560,139.094357962447,2.41691788382929
550,96.4714583051923,1.40603757234576

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On