## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3899 | 700 |  | 961 | 22.3 | 359 | 18.9473 | 98096 | 313.2028 | -8.9995e-12 | 2.6942e-13 | -1.711e-09 | 1.1442e-11
Fine Gain: | 4 |  |  |  | 3847 | 690 |  |  |  | 314 | 17.72 | 90550 | 300.9153 | -3.0002e-12 | 1.8548e-13 | -1.2038e-09 | 7.4309e-12
Diff Time (ns): | 500 |  |  |  | 3790 | 680 |  |  |  | 313 | 17.6918 | 88566 | 297.6004 | -2.5295e-12 | 2.4795e-13 | -8.4928e-10 | 5.9054e-12
Int Time (ns): | 500 |  |  |  | 3735 | 670 |  |  |  | 258 | 16.0624 | 86844 | 294.6931 | -4.2405e-13 | 1.3978e-13 | -5.7962e-10 | 3.9228e-12
Detector Settings |  |  |  |  | 3679 | 660 |  |  |  | 242 | 15.5563 | 81410 | 285.3244 | -4.5475e-15 | 1.1795e-13 | -4.0126e-10 | 2.7043e-12
[5 empty] | 3624 | 650 |  |  |  | 187 | 13.6748 | 78226 | 279.6891 | 1.2358e-12 | 1.171e-13 | -2.8062e-10 | 1.7902e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3567 | 640 |  |  |  | 141 | 11.8743 | 76719 | 276.9819 | 1.4177e-12 | 9.4686e-14 | -1.9327e-10 | 1.1129e-12
Position (ieta,iphi): | Enter Value |  |  |  | 3512 | 630 |  |  |  | 112 | 10.583 | 73553 | 271.2066 | 1.1391e-12 | 8.7943e-14 | -1.3257e-10 | 8.4917e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3454 | 620 |  |  |  | 73 | 8.544 | 69845 | 264.282 | 2.8092e-12 | 8.4615e-14 | -9.3333e-11 | 6.2417e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3399 | 610 |  |  |  | 60 | 7.746 | 62075 | 249.1486 | 2.7205e-12 | 7.6902e-14 | -6.4256e-11 | 4.7535e-13
Flow Rate (L/hr): | 5 |  |  |  | 3343 | 600 |  |  |  | 50 | 7.0711 | 37862 | 194.5816 | 2.492e-12 | 8.1931e-14 | -4.5152e-11 | 3.1944e-13
HV Circuit R_Equiv (MOhm): | 5.579 |  |  |  | 3288 | 590 |  |  |  | 31 | 5.5678 | 27524 | 165.9036 | 2.8604e-12 | 8.4545e-14 | -3.0793e-11 | 2.3484e-13
Total HV Divider R (MOhm): | 4.579 |  |  |  | 3235 | 580 |  |  |  | 25 | 5 | 16729 | 129.3406 | 3.7164e-12 | 7.1786e-14 | -2.0897e-11 | 1.669e-13
R_Drift (MOhm): | 1.118 |  |  |  | 3179 | 570 |  |  |  | 16 | 4 | 4717 | 68.6804 | 2.6921e-12 | 7.636e-14 | -1.4052e-11 | 1.3312e-13
R_GEM1 (MOhm): | 0.56 |  |  |  | 3124 | 560 |  |  |  | 12 | 3.4641 | 359 | 18.9473 | 3.339e-12 | 7.8675e-14 | -9.7225e-12 | 1.106e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3067 | 550 |  |  |  | 7 | 2.6458 | 17 | 4.1231 | 3.5686e-12 | 7.0611e-14 | -5.3728e-12 | 9.6241e-14
R_GEM2 (MOhm): | 0.548
R_Transfer2 (MOhm): | 0.871 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.524 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.623 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3899 | 3205.3 | 1628.95 | 5.2296 | -1.702e-09 | 1.1445e-11 | 18850.3434 | 211.4023
Width (ns): | 400 |  |  | 690 | 3847 | 3159.51 | 1503.9333 | 5.0239 | -1.2008e-09 | 7.4333e-12 | 13299.2785 | 145.0017
Picoammeter Settings |  |  |  | 680 | 3790 | 3113.72 | 1470.8833 | 4.9688 | -8.4675e-10 | 5.9106e-12 | 9377.93 | 106.6292
|  |  |  | 670 | 3735 | 3067.93 | 1443.1 | 4.9188 | -5.792e-10 | 3.9253e-12 | 6414.7773 | 72.1442
Make & Model: | kiethley 6487 |  |  | 660 | 3679 | 3022.14 | 1352.8 | 4.7625 | -4.0125e-10 | 2.7069e-12 | 4443.9799 | 49.8964
Triax Red: | signal |  |  | 650 | 3624 | 2976.35 | 1300.65 | 4.6671 | -2.8185e-10 | 1.794e-12 | 3121.6118 | 34.3475
Triax Black: | shielding |  |  | 640 | 3567 | 2930.56 | 1276.3 | 4.6206 | -1.9469e-10 | 1.1169e-12 | 2156.2644 | 22.9686
Triax Green: | gnd |  |  | 630 | 3512 | 2884.77 | 1224.0167 | 4.5235 | -1.3371e-10 | 8.5371e-13 | 1480.8902 | 16.3114
Scalar Settings |  |  |  | 620 | 3454 | 2838.98 | 1162.8667 | 4.407 | -9.6143e-11 | 6.2988e-13 | 1064.8045 | 11.8322
|  |  |  | 610 | 3399 | 2793.19 | 1033.5833 | 4.1545 | -6.6976e-11 | 4.8153e-13 | 741.7797 | 8.5303
|  |  |  | 600 | 3343 | 2747.4 | 630.2 | 3.2452 | -4.7644e-11 | 3.2978e-13 | 527.668 | 5.9807
Make & Model: | CAEN N1145 |  |  | 590 | 3288 | 2701.61 | 458.2167 | 2.7666 | -3.3654e-11 | 2.4959e-13 | 372.7219 | 4.3396
Acquisition Time (s): | 60 |  |  | 580 | 3235 | 2655.82 | 278.4 | 2.1573 | -2.4613e-11 | 1.8169e-13 | 272.5974 | 3.1678
Source Settings |  |  |  | 570 | 3179 | 2610.03 | 78.35 | 1.1466 | -1.6744e-11 | 1.5346e-13 | 185.4418 | 2.3789
|  |  |  | 560 | 3124 | 2564.24 | 5.7833 | 0.32102 | -1.3061e-11 | 1.3573e-13 | 144.6592 | 1.9863
Source: | Ag X-Ray |  |  | 550 | 3067 | 2518.45 | 0.16667 | 0.08165 | -8.9415e-12 | 1.1937e-13 | 99.029 | 1.593
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,18850.3434190034,211.402298558903
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,13299.2784960155,145.001687865696
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 961 | [5 empty] | 680,9377.93001396759,106.629223171083
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,6414.77731539617,72.1442018280259
|  |  |  | Expo_fit_1_param_1 | 3.8265e-07 | [5 empty] | 660,4443.97990566041,49.896412384696
|  |  |  | Expo_fit_1_param_2 | 0.035126 | [5 empty] | 650,3121.61175317595,34.3474918444933
640,2156.26435451983,22.9685947546935
630,1480.89018542683,16.3113585804269
620,1064.80451569573,11.8322144935887
610,741.779729671857,8.53033922725291
600,527.667998031184,5.98074242169831
590,372.721866782262,4.33961250454831
580,272.597411921888,3.16782385499617
570,185.441789624026,2.37887829775455
560,144.659196812895,1.98628804710772
550,99.0290357827579,1.59302134576519

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On