## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | 474 Timing Filter Amp - ORTEC |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 7874.6 | 700 | 9:27 | 963 | 22.3 | 330 | 18.1659 | 87373 | 295.5892 | -9.6725e-12 | 1.1371e-12 | -9.9329e-10 | 7.4143e-12
Fine Gain: | 4.5 |  |  |  | 3819.2 | 690 | 9:29 | 963 | 22.3 | 382 | 19.5448 | 67541 | 259.8865 | -2.7853e-13 | 4.0801e-13 | -6.7578e-10 | 5.433e-12
Diff Time (ns): | 500 |  |  |  | 3764.4 | 680 | 9:33 | 963 | 22.3 | 343 | 18.5203 | 64670 | 254.303 | 1.3517e-12 | 2.3739e-13 | -4.7502e-10 | 3.8286e-12
Int Time (ns): | 500 |  |  |  | 3710 | 670 |  |  |  | 319 | 17.8606 | 61726 | 248.4472 | 4.1575e-12 | 1.7679e-13 | -3.252e-10 | 2.4359e-12
Detector Settings |  |  |  |  | 3654 | 660 |  |  |  | 274 | 16.5529 | 59948 | 244.8428 | 3.2833e-12 | 5.7729e-13 | -2.2627e-10 | 1.7197e-12
[5 empty] | 3599 | 650 |  |  |  | 213 | 14.5945 | 58616 | 242.1074 | 4.8476e-12 | 1.6231e-13 | -1.5671e-10 | 1.1689e-12
Serial Number: | GE11-X-L-CERN-0011 |  |  |  | 3543.8 | 640 |  |  |  | 198 | 14.0712 | 56572 | 237.8487 | 6.1368e-12 | 1.4818e-13 | -1.0659e-10 | 8.8901e-13
Position (ieta,iphi): | Enter Value |  |  |  | 3488.4 | 630 |  |  |  | 165 | 12.8452 | 54004 | 232.3876 | 6.8758e-12 | 1.5553e-13 | -7.3618e-11 | 6.2904e-13
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3433.4 | 620 |  |  |  | 132 | 11.4891 | 48391 | 219.9795 | 6.894e-12 | 1.5697e-13 | -4.8975e-11 | 4.3921e-13
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3378.4 | 610 |  |  |  | 133 | 11.5326 | 34184 | 184.8892 | 7.3896e-12 | 1.3606e-13 | -3.2813e-11 | 3.0477e-13
Flow Rate (L/hr): | 5 |  |  |  | 3323.4 | 600 |  |  |  | 98 | 9.8995 | 22323 | 149.4088 | 7.8455e-12 | 1.5718e-13 | -2.1055e-11 | 2.4698e-13
HV Circuit R_Equiv (MOhm): | 5.604 |  |  |  | 3268.4 | 590 |  |  |  | 89 | 9.434 | 15122 | 122.9715 | 7.8887e-12 | 1.3544e-13 | -1.2409e-11 | 1.9793e-13
Total HV Divider R (MOhm): | 4.604 |  |  |  | 3213 | 580 |  |  |  | 79 | 8.8882 | 5613 | 74.92 | 8.0774e-12 | 1.3257e-13 | -6.2062e-12 | 1.6644e-13
R_Drift (MOhm): | 1.12 |  |  |  | 3157.8 | 570 |  |  |  | 81 | 9 | 698 | 26.4197 | 8.6322e-12 | 1.2398e-13 | -1.8144e-12 | 1.6211e-13
R_GEM1 (MOhm): | 0.563 |  |  |  | 3102.8 | 560 |  |  |  | 70 | 8.3666 | 64 | 8 | 8.9153e-12 | 1.3087e-13 | 1.2597e-12 | 1.4455e-13
R_Transfer1 (MOhm): | 0.436 |  |  |  | 3047 | 550 |  |  |  | 64 | 8 | 62 | 7.874 | 9.1018e-12 | 1.3673e-13 | 3.5834e-12 | 1.5499e-13
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.526 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | QUAD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 140mv |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 7874.6 | 3222.8 | 1450.7167 | 4.9358 | -9.8361e-10 | 7.501e-12 | 12232.1691 | 144.7231
Width (ns): | 400 |  |  | 690 | 3819.2 | 3176.76 | 1119.3167 | 4.3437 | -6.755e-10 | 5.4483e-12 | 8400.4796 | 101.8082
Picoammeter Settings |  |  |  | 680 | 3764.4 | 3130.72 | 1072.1167 | 4.2496 | -4.7637e-10 | 3.836e-12 | 5924.1184 | 71.7452
|  |  |  | 670 | 3710 | 3084.68 | 1023.45 | 4.1515 | -3.2935e-10 | 2.4423e-12 | 4095.8305 | 47.9082
Make & Model: | kiethley 6487 |  |  | 660 | 3654 | 3038.64 | 994.5667 | 4.09 | -2.2955e-10 | 1.814e-12 | 2854.7091 | 34.2888
Triax Red: | signal |  |  | 650 | 3599 | 2992.6 | 973.3833 | 4.0424 | -1.6156e-10 | 1.1802e-12 | 2009.1416 | 23.3602
Triax Black: | shielding |  |  | 640 | 3543.8 | 2946.56 | 939.5667 | 3.9711 | -1.1273e-10 | 9.0127e-13 | 1401.8849 | 16.9243
Triax Green: | gnd |  |  | 630 | 3488.4 | 2900.52 | 897.3167 | 3.879 | -8.0494e-11 | 6.4799e-13 | 1001.0151 | 12.1214
Scalar Settings |  |  |  | 620 | 3433.4 | 2854.48 | 804.3167 | 3.6713 | -5.5869e-11 | 4.6642e-13 | 694.7853 | 8.5524
|  |  |  | 610 | 3378.4 | 2808.44 | 567.5167 | 3.0875 | -4.0203e-11 | 3.3376e-13 | 499.9632 | 6.1385
|  |  |  | 600 | 3323.4 | 2762.4 | 370.4167 | 2.4956 | -2.89e-11 | 2.9276e-13 | 359.4029 | 4.881
Make & Model: | CAEN N1145 |  |  | 590 | 3268.4 | 2716.36 | 250.55 | 2.0555 | -2.0298e-11 | 2.3983e-13 | 252.4204 | 3.7562
Acquisition Time (s): | 60 |  |  | 580 | 3213 | 2670.32 | 92.2333 | 1.2574 | -1.4284e-11 | 2.1279e-13 | 177.6302 | 3.0958
Source Settings |  |  |  | 570 | 3157.8 | 2624.28 | 10.2833 | 0.46518 | -1.0447e-11 | 2.0409e-13 | 129.9144 | 2.7969
|  |  |  | 560 | 3102.8 | 2578.24 | -0.1 | 0.19293 | -7.6557e-12 | 1.9499e-13 | 95.2055 | 2.5733
Source: | Ag X-Ray |  |  | 550 | 3047 | 2532.2 | -0.033333 | 0.18708 | -5.5184e-12 | 2.0668e-13 | 68.626 | 2.6441
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,12232.1691414753,144.723081186331
Filter Status: | 7 layers Cu tape/ rate @700uA |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,8400.47959137544,101.808244047689
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 963 | [5 empty] | 680,5924.11838156809,71.7451692419856
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,4095.83045409808,47.9082405650712
|  |  |  | Expo_fit_1_param_1 | 3.5005e-07 | [5 empty] | 660,2854.70910543691,34.2888444796518
|  |  |  | Expo_fit_1_param_2 | 0.034602 | [5 empty] | 650,2009.14163545315,23.3601678852218
640,1401.88490082172,16.9243305303463
630,1001.01511575721,12.1213917084541
620,694.785339086133,8.55242050831922
610,499.963245689224,6.13851218705434
600,359.402926177287,4.8809859713382
590,252.420435438278,3.75621854166356
580,177.630239192917,3.09584449573567
570,129.91438158113,2.7968639102995
560,95.2055134941763,2.57329522307944
550,68.6260146196129,2.64413217469381

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On