## Data Summary
QC5 Effective gain
Username: | Henning | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3493 | 700 | 11:15 | 988.7 | 26.48 | 537 | 23.1733 | 1543648 | 1242.4363 | -3.05e-12 | 5.66e-11 | -2.25e-08 | 4.73e-10
Fine Gain: | 4.5 |  |  |  | 3443.1 | 690 | 11:20 | 988.77 | 26.48 | 542 | 23.2809 | 1504964 | 1226.7697 | -2.57e-12 | 2.79e-12 | -1.51e-08 | 3.41e-10
Diff Time (ns): | 100 |  |  |  | 3393.2 | 680 | 11:24 | 988.66 | 26.48 | 380 | 19.4936 | 1476210 | 1214.9938 | -1.28e-12 | 7.16e-12 | -9.91e-09 | 2.04e-10
Int Time (ns): | 100 |  |  |  | 3343.3 | 670 | 11:30 | 988.91 | 26.48 | 322 | 17.9444 | 1450791 | 1204.4879 | -1.39e-12 | 9.7e-12 | -6.8e-09 | 1.39e-10
Detector Settings |  |  |  |  | 3293.4 | 660 | 11:34 | 988.89 | 26.48 | 316 | 17.7764 | 1426726 | 1194.4564 | -1.81e-12 | 1.69e-12 | -4.68e-09 | 9.18e-11
[5 empty] | 3243.5 | 650 | 11:39 | 988.89 | 26.48 | 240 | 15.4919 | 1398942 | 1182.7688 | -1.34e-12 | 1.78e-12 | -3.26e-09 | 6.71e-11
Serial Number: | GE11-X-L-CERN-0026 |  |  |  | 3193.6 | 640 | 11:47 | 989.08 | 26.48 | 232 | 15.2315 | 1348387 | 1161.2007 | -8.89e-13 | 1.74e-12 | -2.27e-09 | 4.28e-11
Position (ieta,iphi): | 4.2 |  |  |  | 3143.7 | 630 | 11:57 | 989.18 | 26.84 | 209 | 14.4568 | 1241861 | 1114.3882 | -1.04e-12 | 9.99e-12 | -1.59e-09 | 3.61e-11
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3093.8 | 620 | 12:05 | 989.48 | 26.84 | 188 | 13.7113 | 945611 | 972.4253 | -1.33e-12 | 1e-11 | -1.13e-09 | 2.61e-11
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3043.9 | 610 | 12:14 | 989.67 | 26.84 | 142 | 11.9164 | 543973 | 737.5453 | -7.84e-13 | 1.71e-12 | -7.94e-10 | 2.23e-11
Flow Rate (L/hr): | 5 |  |  |  | 2994 | 600 | 12:19 | 989.67 | 26.84 | 138 | 11.7473 | 350417 | 591.9603 | -7.94e-13 | 1.53e-12 | -5.71e-10 | 1.11e-11
HV Circuit R_Equiv (MOhm): | 4.99 |  |  |  | 2944.1 | 590 | 12:24 | 989.67 | 26.84 | 128 | 11.3137 | 154597 | 393.1882 | -1.32e-12 | 9.48e-12 | -4.07e-10 | 8.95e-12
Total HV Divider R (MOhm): | 4.7 |  |  |  | 2894.2 | 580 | 12:29 | 989.67 | 26.84 | 116 | 10.7703 | 31750 | 178.1853 | -6.65e-13 | 1.76e-12 | -2.9e-10 | 5.91e-12
R_Drift (MOhm): | 1.1 |  |  |  | 2844.3 | 570 | 12:33 | 989.67 | 26.84 | 100 | 10 | 3917 | 62.5859 | -6.55e-13 | 1.77e-12 | -2.09e-10 | 4.57e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 2794.4 | 560 | 12:38 | 989.68 | 26.84 | 91 | 9.5394 | 643 | 25.3574 | -6.06e-13 | 1.53e-12 | -1.51e-10 | 3.46e-12
R_Transfer1 (MOhm): | 0.44 |  |  |  | 2744.5 | 550 | 12:46 | 989.68 | 26.84 | 93 | 9.6437 | 159 | 12.6095 | -7.91e-13 | 1.89e-12 | -1.1e-10 | 2.6e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.87 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.66 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | LeCroy 623 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | -100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | <0.05 |  |  | 700 | 3493 | 3290 | 25718.5167 | 20.7109 | -2.2497e-08 | 4.7637e-10 | 15781.167 | 359.6173
Width (ns): | 200 |  |  | 690 | 3443.1 | 3243 | 25073.7 | 20.4498 | -1.5097e-08 | 3.4101e-10 | 10590.5496 | 255.2933
Picoammeter Settings |  |  |  | 680 | 3393.2 | 3196 | 24597.1667 | 20.2525 | -9.9087e-09 | 2.0413e-10 | 6950.7718 | 154.6891
|  |  |  | 670 | 3343.3 | 3149 | 24174.4833 | 20.077 | -6.7986e-09 | 1.3934e-10 | 4769.0909 | 105.6702
Make & Model: | Keithley 6485 |  |  | 660 | 3293.4 | 3102 | 23773.5 | 19.9098 | -4.6782e-09 | 9.1816e-11 | 3281.6581 | 70.0839
Triax Red: | Enter value |  |  | 650 | 3243.5 | 3055 | 23311.7 | 19.7145 | -3.2587e-09 | 6.7124e-11 | 2285.8858 | 50.8679
Triax Black: | Enter value |  |  | 640 | 3193.6 | 3008 | 22469.25 | 19.355 | -2.2691e-09 | 4.2835e-11 | 1591.7366 | 32.9017
Triax Green: | Enter value |  |  | 630 | 3143.7 | 2961 | 20694.2 | 18.5747 | -1.589e-09 | 3.7457e-11 | 1114.6241 | 27.901
Scalar Settings |  |  |  | 620 | 3093.8 | 2914 | 15757.05 | 16.2087 | -1.1287e-09 | 2.795e-11 | 791.7398 | 20.7088
|  |  |  | 610 | 3043.9 | 2867 | 9063.85 | 12.294 | -7.9322e-10 | 2.2365e-11 | 556.4254 | 16.3736
|  |  |  | 600 | 2994 | 2820 | 5837.9833 | 9.8679 | -5.7021e-10 | 1.1205e-11 | 399.9883 | 8.5512
Make & Model: | Custom |  |  | 590 | 2944.1 | 2773 | 2574.4833 | 6.5558 | -4.0568e-10 | 1.3037e-11 | 284.5765 | 9.4541
Acquisition Time (s): | 60 |  |  | 580 | 2894.2 | 2726 | 527.2333 | 2.9752 | -2.8933e-10 | 6.1665e-12 | 202.9628 | 4.651
Source Settings |  |  |  | 570 | 2844.3 | 2679 | 63.6167 | 1.0563 | -2.0834e-10 | 4.9008e-12 | 146.1499 | 3.6514
|  |  |  | 560 | 2794.4 | 2632 | 9.2 | 0.45154 | -1.5039e-10 | 3.7832e-12 | 105.4984 | 2.7986
Source: | AMPTEK MINI X |  |  | 550 | 2744.5 | 2585 | 1.1 | 0.26458 | -1.0921e-10 | 3.2144e-12 | 76.608 | 2.3453
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 299.8325 |  | P0 | 964.4 |  |  | 700,15781.1670054534,359.617265426458
Filter Status: | Open |  |  | Err temperature (C) | 0.17859 |  | T0 | 297.1 |  |  | 690,10590.549571526,255.293296359948
Collimator Status: | Open |  |  | Avrg pressure (mbar) | 989.2669 | [5 empty] | 680,6950.77177707539,154.689101775517
|  |  |  | Err pressure (mbar) | 0.40232 | [5 empty] | 670,4769.090912988,105.670217026438
|  |  |  | Expo_fit_1_param_1 | 2.5971e-07 | [5 empty] | 660,3281.65807690562,70.0839313378663
|  |  |  | Expo_fit_1_param_2 | 0.035302 | [5 empty] | 650,2285.8857611361,50.8678932719304
640,1591.73664185195,32.9016858074752
630,1114.62412126911,27.9010480376002
620,791.739758680402,20.7088432852961
610,556.425389548259,16.3735564704097
600,399.988270121574,8.55122427161142
590,284.57652396313,9.4541494759576
580,202.96279964719,4.6510267053692
570,146.149910976874,3.6514268284759
560,105.498426703093,2.79855454199073
550,76.6079609679783,2.34526100335187

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On