## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3897.4 | 700 |  | 970 | 22.3 | 312 | 17.6635 | 102075 | 319.4918 | 1.2724e-11 | 8.0802e-12 | -1.6046e-09 | 1.5171e-10
Fine Gain: | 4.5 |  |  |  | 3842.4 | 690 |  | 970 | 22.3 | 317 | 17.8045 | 96216 | 310.187 | 1.3035e-11 | 3.9745e-12 | -1.1128e-09 | 1.0266e-10
Diff Time (ns): | 100 |  |  |  | 3786.8 | 680 |  | 970 | 22.3 | 255 | 15.9687 | 91314 | 302.1821 | 1.3636e-11 | 3.5548e-12 | -7.7544e-10 | 7.2555e-11
Int Time (ns): | 100 |  |  |  | 3731.4 | 670 |  | 970 | 22.3 | 261 | 16.1555 | 86951 | 294.8745 | 1.4787e-11 | 2.9289e-12 | -5.2631e-10 | 4.9536e-11
Detector Settings |  |  |  |  | 3676 | 660 |  | 970 | 22.3 | 215 | 14.6629 | 83466 | 288.9048 | 1.4467e-11 | 2.5043e-12 | -3.6147e-10 | 3.3891e-11
[5 empty] | 3620.6 | 650 |  | 970 | 22.3 | 183 | 13.5277 | 81241 | 285.0281 | 1.4382e-11 | 2.5084e-12 | -2.5184e-10 | 2.3532e-11
Serial Number: | GE11-X-L-CERN-0027 |  |  |  | 3565 | 640 |  | 970 | 22.3 | 190 | 13.784 | 79148 | 281.3325 | 1.459e-11 | 2.4881e-12 | -1.7278e-10 | 1.7872e-11
Position (ieta,iphi): | 42 |  |  |  | 3509.2 | 630 |  | 970 | 22.3 | 135 | 11.619 | 76772 | 277.0776 | 1.5246e-11 | 2.0499e-12 | -1.1593e-10 | 1.327e-11
Gas (X/Y/Z): | Ar+CO2 |  |  |  | 3453.8 | 620 |  | 970 | 22.3 | 88 | 9.3808 | 74382 | 272.7306 | 1.5731e-11 | 2.2655e-12 | -7.6841e-11 | 8.5428e-12
Gas Frac (%X/%Y/%Z): | 70:30 |  |  |  | 3398.4 | 610 |  | 970 | 22.3 | 81 | 9 | 69031 | 262.7375 | 1.5076e-11 | 2.1205e-12 | -4.9381e-11 | 6.0735e-12
Flow Rate (L/hr): | 5 |  |  |  | 3343 | 600 |  | 970 | 22.3 | 40 | 6.3246 | 59209 | 243.329 | 1.5747e-11 | 1.9385e-12 | -3.1218e-11 | 5.0379e-12
HV Circuit R_Equiv (MOhm): | 5.6 |  |  |  | 3287.2 | 590 |  | 970 | 22.3 | 42 | 6.4807 | 37350 | 193.2615 | 1.5456e-11 | 2.1096e-12 | -1.7092e-11 | 3.5977e-12
Total HV Divider R (MOhm): | 4.71 |  |  |  | 3231.8 | 580 |  | 970 | 22.3 | 28 | 5.2915 | 26053 | 161.4094 | 1.5491e-11 | 1.9412e-12 | -8.3105e-12 | 2.8183e-12
R_Drift (MOhm): | 1.12 |  |  |  | 3176.2 | 570 |  | 970 | 22.3 | 21 | 4.5826 | 14607 | 120.8594 | 1.5315e-11 | 2.1334e-12 | -1.5916e-12 | 2.6064e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 3121 | 560 |  | 970 | 22.3 | 8 | 2.8284 | 4057 | 63.6946 | 1.5746e-11 | 2.2057e-12 | 3.0547e-12 | 2.3408e-12
R_Transfer1 (MOhm): | 0.438 |  |  |  | 3065.2 | 550 |  | 970 | 22.3 | 2 | 1.4142 | 350 | 18.7083 | 1.5792e-11 | 1.7822e-12 | 6.8627e-12 | 1.9443e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.875 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.626 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | ORTEC935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3897.4 | 3297 | 1696.05 | 5.333 | -1.6173e-09 | 1.5192e-10 | 17203.2694 | 1623.3376
Width (ns): | 400 |  |  | 690 | 3842.4 | 3249.9 | 1598.3167 | 5.1783 | -1.1258e-09 | 1.0274e-10 | 11975.5969 | 1098.0528
Picoammeter Settings |  |  |  | 680 | 3786.8 | 3202.8 | 1517.65 | 5.0434 | -7.8907e-10 | 7.2642e-11 | 8393.4275 | 776.3447
|  |  |  | 670 | 3731.4 | 3155.7 | 1444.8333 | 4.9219 | -5.411e-10 | 4.9623e-11 | 5755.7466 | 530.3483
Make & Model: | kiethley 6487 |  |  | 660 | 3676 | 3108.6 | 1387.5167 | 4.8213 | -3.7594e-10 | 3.3984e-11 | 3998.887 | 363.2573
Triax Red: | signal |  |  | 650 | 3620.6 | 3061.5 | 1350.9667 | 4.7558 | -2.6622e-10 | 2.3665e-11 | 2831.8509 | 253.0034
Triax Black: | shielding |  |  | 640 | 3565 | 3014.4 | 1315.9667 | 4.6945 | -1.8737e-10 | 1.8045e-11 | 1993.023 | 192.7719
Triax Green: | gnd |  |  | 630 | 3509.2 | 2967.3 | 1277.2833 | 4.622 | -1.3118e-10 | 1.3427e-11 | 1395.3327 | 143.371
Scalar Settings |  |  |  | 620 | 3453.8 | 2920.2 | 1238.2333 | 4.5482 | -9.2571e-11 | 8.8381e-12 | 984.6907 | 94.4237
|  |  |  | 610 | 3398.4 | 2873.1 | 1149.1667 | 4.3815 | -6.4457e-11 | 6.4331e-12 | 685.6377 | 68.704
|  |  |  | 600 | 3343 | 2826 | 986.15 | 4.0569 | -4.6965e-11 | 5.398e-12 | 499.5737 | 57.5928
Make & Model: | CAEN N1145 |  |  | 590 | 3287.2 | 2778.9 | 621.8 | 3.2228 | -3.2548e-11 | 4.1706e-12 | 346.2114 | 44.4712
Acquisition Time (s): | 60 |  |  | 580 | 3231.8 | 2731.8 | 433.75 | 2.6916 | -2.3801e-11 | 3.4221e-12 | 253.1774 | 36.4722
Source Settings |  |  |  | 570 | 3176.2 | 2684.7 | 243.1 | 2.0158 | -1.6907e-11 | 3.3682e-12 | 179.8397 | 35.8643
|  |  |  | 560 | 3121 | 2637.6 | 67.4833 | 1.0626 | -1.2691e-11 | 3.2162e-12 | 134.9948 | 34.2329
Source: | Ag X-Ray |  |  | 550 | 3065.2 | 2590.5 | 5.8 | 0.31269 | -8.9289e-12 | 2.6375e-12 | 94.9775 | 28.0684
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,17203.2694154096,1623.33764295621
Filter Status: | 9 layers Cu tape |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 690,11975.5969280387,1098.05275635959
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 970 | [5 empty] | 680,8393.42747951256,776.344747559738
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,5755.74656935302,530.348293580969
|  |  |  | Expo_fit_1_param_1 | 4.5835e-07 | [5 empty] | 660,3998.88703842583,363.257267822378
|  |  |  | Expo_fit_1_param_2 | 0.034712 | [5 empty] | 650,2831.85090572921,253.003373632024
640,1993.02295687276,192.771878488736
630,1395.33274084843,143.370959332484
620,984.69070177138,94.423664769498
610,685.637738838795,68.7040087383844
600,499.573749317968,57.5928050875493
590,346.211428874547,44.4712425800894
580,253.177359521533,36.4721801281426
570,179.839717671784,35.8642616320127
560,134.994820140505,34.2328575805963
550,94.9775267216164,28.0683580713422

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On