## Data Summary
QC5 Effective gain
Username: | IRFAN | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3897 | 700 |  | 969 | 22.3 | 38 | 6.1644 | 103455 | 321.6442 | 1.3076e-11 | 4.5828e-12 | -2.1295e-08 | 5.1158e-10
Fine Gain: | 4.5 |  |  |  | 3842 | 690 |  | 969 | 22.3 | 332 | 18.2209 | 101396 | 318.4274 | 1.6048e-11 | 2.5882e-12 | -1.3333e-10 | 3.7425e-12
Diff Time (ns): | 100 |  |  |  | 3786.6 | 680 |  | 969 | 22.3 | 298 | 17.2627 | 97277 | 311.8926 | 1.4035e-11 | 3.1719e-12 | -1.1152e-08 | 2.331e-10
Int Time (ns): | 100 |  |  |  | 3731 | 670 |  | 969 | 22.3 | 221 | 14.8661 | 94985 | 308.1964 | 1.3953e-11 | 2.6449e-12 | -7.9007e-09 | 1.5588e-10
Detector Settings |  |  |  |  | 3675.4 | 660 |  | 969 | 22.3 | 213 | 14.5945 | 93782 | 306.2385 | 1.4509e-11 | 2.953e-12 | -5.6446e-09 | 1.0878e-10
[5 empty] | 3620.2 | 650 |  | 969 | 22.3 | 162 | 12.7279 | 91776 | 302.9455 | 1.3898e-11 | 2.4837e-12 | -3.996e-09 | 8.5642e-11
Serial Number: | GE11-X-L-CERN-0027 |  |  |  | 3564.8 | 640 |  | 969 | 22.3 | 144 | 12 | 89302 | 298.8344 | 1.407e-11 | 2.6732e-12 | -2.8189e-09 | 1.6207e-10
Position (ieta,iphi): | 42 |  |  |  | 3509.4 | 630 |  | 969 | 22.3 | 98 | 9.8995 | 85638 | 292.6397 | 1.4142e-11 | 2.4635e-12 | -2.0138e-09 | 3.7486e-11
Gas (X/Y/Z): | Ar+CO2 |  |  |  | 3453.6 | 620 |  | 969 | 22.3 | 96 | 9.798 | 78716 | 280.5637 | 1.4865e-11 | 2.5062e-12 | -1.4309e-09 | 3.0673e-11
Gas Frac (%X/%Y/%Z): | 70:30 |  |  |  | 3398.2 | 610 |  | 969 | 22.3 | 70 | 8.3666 | 63245 | 251.4856 | 1.5194e-11 | 2.3334e-12 | -1.0188e-09 | 1.9429e-11
Flow Rate (L/hr): | 5 |  |  |  | 3342.6 | 600 |  | 969 | 22.3 | 58 | 7.6158 | 39525 | 198.809 | 1.5422e-11 | 2.2401e-12 | -7.2851e-10 | 1.4324e-11
HV Circuit R_Equiv (MOhm): | 5.6 |  |  |  | 3287 | 590 |  | 969 | 22.3 | 49 | 7 | 27781 | 166.6763 | 1.5666e-11 | 2.2354e-12 | -5.2052e-10 | 9.7247e-12
Total HV Divider R (MOhm): | 4.71 |  |  |  | 3231.4 | 580 |  | 969 | 22.3 | 33 | 5.7446 | 13703 | 117.0598 | 1.5423e-11 | 2.7222e-12 | -3.6938e-10 | 7.2911e-12
R_Drift (MOhm): | 1.12 |  |  |  | 3176 | 570 |  | 969 | 22.3 | 24 | 4.899 | 2946 | 54.2771 | 1.5497e-11 | 2.5825e-12 | -2.6437e-10 | 5.3964e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 3120.8 | 560 |  | 969 | 22.3 | 19 | 4.3589 | 177 | 13.3041 | 1.5992e-11 | 2.5153e-12 | -1.8887e-10 | 4.9374e-12
R_Transfer1 (MOhm): | 0.438 |  |  |  | 3065.2 | 550 |  | 969 | 22.3 | 11 | 3.3166 | 34 | 5.831 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.875 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.626 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | ORTEC935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3897 | 3297 | 1723.6167 | 5.3617 | -2.1308e-08 | 5.116e-10 | 223032.6753 | 5714.0643
Width (ns): | 400 |  |  | 690 | 3842 | 3249.9 | 1684.4 | 5.3158 | -1.4938e-10 | 4.5503e-12 | 1563.5442 | 49.6366
Picoammeter Settings |  |  |  | 680 | 3786.6 | 3202.8 | 1616.3167 | 5.2062 | -1.1166e-08 | 2.3312e-10 | 116875.2787 | 2654.3569
|  |  |  | 670 | 3731 | 3155.7 | 1579.4 | 5.1426 | -7.9147e-09 | 1.5591e-10 | 82842.6392 | 1792.0585
Make & Model: | kiethley 6487 |  |  | 660 | 3675.4 | 3108.6 | 1559.4833 | 5.1098 | -5.6591e-09 | 1.0882e-10 | 59233.6257 | 1256.1247
Triax Red: | signal |  |  | 650 | 3620.2 | 3061.5 | 1526.9 | 5.0535 | -4.0099e-09 | 8.5678e-11 | 41971.2678 | 972.1257
Triax Black: | shielding |  |  | 640 | 3564.8 | 3014.4 | 1485.9667 | 4.9846 | -2.833e-09 | 1.6209e-10 | 29652.4316 | 1717.189
Triax Green: | gnd |  |  | 630 | 3509.4 | 2967.3 | 1425.6667 | 4.8801 | -2.0279e-09 | 3.7567e-11 | 21225.9364 | 436.6078
Scalar Settings |  |  |  | 620 | 3453.6 | 2920.2 | 1310.3333 | 4.6789 | -1.4458e-09 | 3.0776e-11 | 15133.1424 | 349.386
|  |  |  | 610 | 3398.2 | 2873.1 | 1052.9167 | 4.1937 | -1.034e-09 | 1.9569e-11 | 10822.9387 | 226.5302
|  |  |  | 600 | 3342.6 | 2826 | 657.7833 | 3.3159 | -7.4393e-10 | 1.4498e-11 | 7786.7344 | 166.9536
Make & Model: | CAEN N1145 |  |  | 590 | 3287 | 2778.9 | 462.2 | 2.7804 | -5.3619e-10 | 9.9783e-12 | 5612.2289 | 115.8691
Acquisition Time (s): | 60 |  |  | 580 | 3231.4 | 2731.8 | 227.8333 | 1.9533 | -3.848e-10 | 7.7827e-12 | 4027.7243 | 89.0646
Source Settings |  |  |  | 570 | 3176 | 2684.7 | 48.7 | 0.9083 | -2.7987e-10 | 5.9825e-12 | 2929.4045 | 67.8751
|  |  |  | 560 | 3120.8 | 2637.6 | 2.6333 | 0.23333 | -2.0486e-10 | 5.5412e-12 | 2144.254 | 61.0854
Source: | Ag X-Ray |  |  | 550 | 3065.2 | 2590.5 | 0.38333 | 0.1118 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,223032.675313765,5714.06425267156
Filter Status: | 8 layers Cu tape |  |  | Err temperature (C) | 7.1054e-15 |  | T0 | 297.1 |  |  | 690,1563.54420648237,49.6366204216137
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 969 | [5 empty] | 680,116875.278745221,2654.35691360014
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,82842.6392372555,1792.05845330138
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | 660,59233.6256651219,1256.12466932521
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | 650,41971.2677774329,972.125653524132
640,29652.4316207628,1717.18895734051
630,21225.9363779821,436.607820140478
620,15133.1424467272,349.385990608682
610,10822.9387016275,226.530207092884
600,7786.7344096895,166.953611095015
590,5612.22894511505,115.869080243024
580,4027.72430454413,89.0646286349263
570,2929.4044774319,67.8751024283675
560,2144.25402648599,61.08541005013
#DIV/0!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On