## Data Summary
QC5 Effective gain
Username: |  | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3897 | 700 |  | 960 | 22.5 | 384 | 19.5959 | 101407 | 318.4447 | 1.451e-11 | 6.1648e-12 | -2.1447e-09 | 2.0626e-10
Fine Gain: | 4.5 |  |  |  | 3842 | 690 |  | 960 | 22.5 | 360 | 18.9737 | 94523 | 307.4459 | 1.548e-11 | 3.86e-12 | -1.4963e-09 | 1.4262e-10
Diff Time (ns): | 100 |  |  |  | 3786.6 | 680 |  | 960 | 22.5 | 314 | 17.72 | 89671 | 299.4512 | 1.5776e-11 | 3.3058e-12 | -1.0377e-09 | 1.0343e-10
Int Time (ns): | 100 |  |  |  | 3731 | 670 |  | 960 | 22.5 | 306 | 17.4929 | 84880 | 291.3417 | 1.6334e-11 | 2.5009e-12 | -7.0427e-10 | 6.3358e-11
Detector Settings |  |  |  |  | 3675.4 | 660 |  | 960 | 22.5 | 280 | 16.7332 | 82210 | 286.7229 | 1.6704e-11 | 2.1186e-12 | -4.8863e-10 | 4.9631e-11
[5 empty] | 3620.2 | 650 |  | 960 | 22.5 | 241 | 15.5242 | 79228 | 281.4747 | 1.7126e-11 | 1.9693e-12 | -3.3444e-10 | 3.3088e-11
Serial Number: | GE11-X-L-CERN-0027 |  |  |  | 3564.8 | 640 |  | 960 | 22.5 | 203 | 14.2478 | 77502 | 278.3918 | 1.7049e-11 | 1.7697e-12 | -2.2772e-10 | 2.192e-11
Position (ieta,iphi): | 42 |  |  |  | 3509.4 | 630 |  | 960 | 22.5 | 156 | 12.49 | 76225 | 276.0888 | 1.6634e-11 | 1.6915e-12 | -1.5354e-10 | 1.6239e-11
Gas (X/Y/Z): | Ar+CO2 |  |  |  | 3453.6 | 620 |  | 960 | 22.5 | 129 | 11.3578 | 73575 | 271.2471 | 1.7293e-11 | 1.5216e-12 | -1.0044e-10 | 1.1484e-11
Gas Frac (%X/%Y/%Z): | 70:30 |  |  |  | 3398.2 | 610 |  | 960 | 22.5 | 79 | 8.8882 | 70292 | 265.1264 | 1.7127e-11 | 1.554e-12 | -6.7017e-11 | 7.6005e-12
Flow Rate (L/hr): | 5 |  |  |  | 3342.6 | 600 |  | 960 | 22.5 | 85 | 9.2195 | 65440 | 255.8124 | 1.7288e-11 | 1.7663e-12 | -4.0746e-11 | 6.2455e-12
HV Circuit R_Equiv (MOhm): | 5.6 |  |  |  | 3287 | 590 |  | 960 | 22.5 | 63 | 7.9373 | 52529 | 229.1921 | 1.7536e-11 | 1.7054e-12 | -2.4504e-11 | 4.1704e-12
Total HV Divider R (MOhm): | 4.71 |  |  |  | 3231.4 | 580 |  | 960 | 22.5 | 48 | 6.9282 | 33431 | 182.8415 | 1.7318e-11 | 2.0653e-12 | -1.2125e-11 | 3.5946e-12
R_Drift (MOhm): | 1.12 |  |  |  | 3176 | 570 |  | 960 | 22.5 | 27 | 5.1962 | 23321 | 152.7121 | 1.7341e-11 | 1.6919e-12 | -3.924e-12 | 2.5119e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 3120.8 | 560 |  | 960 | 22.5 | 30 | 5.4772 | 11844 | 108.8301 | 1.7537e-11 | 1.5015e-12 | 2.0047e-12 | 2.0542e-12
R_Transfer1 (MOhm): | 0.438 |  |  |  | 3065.2 | 550 |  | 960 | 22.5 | 15 | 3.873 | 2761 | 52.5452 | 6.3228e-12 | 2.0397e-12 | 1.7791e-11 | 1.6191e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.876 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.525 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.626 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | ORTEC935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3897 | 3297 | 1683.7167 | 5.3175 | -2.1592e-09 | 2.0635e-10 | 23135.9476 | 2220.7109
Width (ns): | 400 |  |  | 690 | 3842 | 3249.9 | 1569.3833 | 5.1338 | -1.5118e-09 | 1.4268e-10 | 16198.6234 | 1535.6339
Picoammeter Settings |  |  |  | 680 | 3786.6 | 3202.8 | 1489.2833 | 4.9996 | -1.0535e-09 | 1.0348e-10 | 11288.5163 | 1113.4327
|  |  |  | 670 | 3731 | 3155.7 | 1409.5667 | 4.8644 | -7.206e-10 | 6.3408e-11 | 7721.282 | 682.9233
Make & Model: | kiethley 6487 |  |  | 660 | 3675.4 | 3108.6 | 1365.5 | 4.7868 | -5.0533e-10 | 4.9676e-11 | 5414.6562 | 534.486
Triax Red: | signal |  |  | 650 | 3620.2 | 3061.5 | 1316.45 | 4.6984 | -3.5156e-10 | 3.3147e-11 | 3767.0078 | 356.7658
Triax Black: | shielding |  |  | 640 | 3564.8 | 3014.4 | 1288.3167 | 4.6459 | -2.4477e-10 | 2.1992e-11 | 2622.6976 | 236.8087
Triax Green: | gnd |  |  | 630 | 3509.4 | 2967.3 | 1267.8167 | 4.6062 | -1.7017e-10 | 1.6327e-11 | 1823.3727 | 175.7072
Scalar Settings |  |  |  | 620 | 3453.6 | 2920.2 | 1224.1 | 4.5247 | -1.1773e-10 | 1.1584e-11 | 1261.4768 | 124.6361
|  |  |  | 610 | 3398.2 | 2873.1 | 1170.2167 | 4.4213 | -8.4144e-11 | 7.7578e-12 | 901.5986 | 83.5159
|  |  |  | 600 | 3342.6 | 2826 | 1089.25 | 4.2663 | -5.8033e-11 | 6.4904e-12 | 621.8275 | 69.7675
Make & Model: | CAEN N1145 |  |  | 590 | 3287 | 2778.9 | 874.4333 | 3.8222 | -4.204e-11 | 4.5057e-12 | 450.4615 | 48.4465
Acquisition Time (s): | 60 |  |  | 580 | 3231.4 | 2731.8 | 556.3833 | 3.0495 | -2.9443e-11 | 4.1457e-12 | 315.4862 | 44.5111
Source Settings |  |  |  | 570 | 3176 | 2684.7 | 388.2333 | 2.5467 | -2.1265e-11 | 3.0286e-12 | 227.8525 | 32.5153
|  |  |  | 560 | 3120.8 | 2637.6 | 196.9 | 1.8161 | -1.5533e-11 | 2.5445e-12 | 166.4322 | 27.3051
Source: | Ag X-Ray |  |  | 550 | 3065.2 | 2590.5 | 45.7667 | 0.87813 | 1.1468e-11 | 2.6042e-12 | 122.8838 | 27.9257
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.65 |  | P0 | 964.4 |  |  | 700,23135.9475862787,2220.71090913622
Filter Status: | 9 layers Cu tape |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,16198.6233610399,1535.6339394958
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 960 | [5 empty] | 680,11288.516298791,1113.43272580432
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,7721.28198621069,682.923292958717
|  |  |  | Expo_fit_1_param_1 | 4.2382e-07 | [5 empty] | 660,5414.65624450345,534.486009833648
|  |  |  | Expo_fit_1_param_2 | 0.035262 | [5 empty] | 650,3767.00779379881,356.765776046416
640,2622.69756544633,236.808712314009
630,1823.3727262531,175.707215597194
620,1261.476837648,124.636051588281
610,901.598606299352,83.5158555954655
600,621.827494306591,69.767549415673
590,450.461468215253,48.446485256999
580,315.486210995476,44.5110754350703
570,227.852548843775,32.515299662049
560,166.432178885008,27.3051152491407
550,122.883770957712,27.9256642873816

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On